## Sheet1
0.01415
13.1326
7.9365
4.0497
2.035
1.1708

## NewFluoro
Cruise: | [5 empty] | Calibration Info: Turner Designs model 10-AU
[6 empty] | Cal. Date: | 2006-05-11
[6 empty] | Fs = | 0.3799
[6 empty] | Fo/Fa max | 1.9072
[14 empty] | (solid std info) |  | room
2003-07-25 | Analysis | Vol. Filt. | Tube | Station | Nom. Depth | Dilution | Fo | Fa | Chl | Phaeo | Fo/Fa | average | comments | QA-initials | QA-date | temp
Filtr. Date | Date | [L] | # | ID | [m] | Factor | [FSU] | [FSU] | [ug/L] | [ug/L] |  | Chl |  |  |  | deg C
2002-08-12 | 2002-08-12 | 0.066 | 1 | Example | 0.5 | 1 | 4.35 | 2.33 | 0.12222 | 0.011352 | 1.867 | MKT
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
Use this spreadsheet for analyses done with the new Turner Designs model 10-AU fluorometer. Assumes 5 ml extracts.