## Sheet1
SpectraSuite Data File
++++++++++++++++++++++++++++++++++++
Date: Fri Jul 15 22:06:37 EDT 2011
User: Tlaloc
Dark Spectrum Present: No
Reference Spectrum Present: No
Number of Sampled Component Spectra: 1
Spectrometers: USB2E2051
Integration Time (usec): 300000 (USB2E2051)
Spectra Averaged: 1 (USB2E2051)
Boxcar Smoothing: 10 (USB2E2051)
Correct for Electrical Dark: Yes (USB2E2051)
Strobe/Lamp Enabled: Yes (USB2E2051)
Correct for Detector Non-linearity: No (USB2E2051)
Correct for Stray Light: No (USB2E2051)
Number of Pixels in Processed Spectrum: 2048 |  | 650 | 0
>>>>>Begin Processed Spectral Data<<<<< |  | 650 | 160
191.23 | 0.72
191.59 | 0.72
191.94 | -0.28
192.3 | 3.72
192.66 | -2.28
193.02 | 0.72
193.38 | 5.72
193.74 | 5.72
194.1 | 5.72
194.46 | 2.72
194.82 | 5.1
195.18 | 5.43
195.54 | 5.62
195.9 | 6.14
196.26 | 6.33
196.62 | 6.76
196.98 | 6.95
197.34 | 6.95
197.7 | 6.95
198.06 | 6.86
198.42 | 7.1
198.77 | 6.95
199.13 | 7.05
199.49 | 6.62
199.85 | 6.86
200.21 | 7.14
200.57 | 7.19
200.93 | 7.38
201.29 | 8.05
201.65 | 7.81
202.01 | 8.05
202.37 | 8.1
202.73 | 8
203.08 | 8.19
203.44 | 7.81
203.8 | 7.62
204.16 | 7.72
204.52 | 7.81
204.88 | 8.62
205.24 | 8.57
205.6 | 8.72
205.96 | 8.53
206.31 | 8.72
206.67 | 8.86
207.03 | 9.05
207.39 | 9.19
207.75 | 8.76
208.11 | 8.86
208.47 | 9
208.83 | 8.05
209.18 | 8.53
209.54 | 8.43
209.9 | 8.53
210.26 | 8.72
210.62 | 8.91
210.98 | 9.19
211.34 | 9.38
211.69 | 9.33
212.05 | 9.43
212.41 | 8.76
212.77 | 8.95
213.13 | 9.29
213.49 | 9.14
213.84 | 9.05
214.2 | 9
214.56 | 8.72
214.92 | 8.81
215.28 | 9
215.64 | 9
215.99 | 8.91
216.35 | 9
216.71 | 8.57
217.07 | 8.57
217.43 | 8.62
217.79 | 8.43
218.14 | 8.05
218.5 | 8.1
218.86 | 7.86
219.22 | 7.86
219.58 | 7.86
219.93 | 7.62
220.29 | 7.62
220.65 | 7.33
221.01 | 7.67
221.37 | 7.76
221.72 | 7.86
222.08 | 7.91
222.44 | 7.72
222.8 | 7.53
223.16 | 7.57
223.51 | 8.48
223.87 | 8.33
224.23 | 8.29
224.59 | 8.38
224.94 | 8.29
225.3 | 8.19
225.66 | 8.38
226.02 | 8.14
226.37 | 8.33
226.73 | 8.33
227.09 | 8.38
227.45 | 8.72
227.8 | 9.14
228.16 | 9.05
228.52 | 8.91
228.88 | 8.95
229.23 | 8.91
229.59 | 8.62
229.95 | 8.43
230.31 | 8.24
230.66 | 8.05
231.02 | 7.1
231.38 | 7.14
231.74 | 7.29
232.09 | 7.29
232.45 | 7.33
232.81 | 7.43
233.16 | 7.19
233.52 | 7.76
233.88 | 8.05
234.24 | 7.95
234.59 | 8
234.95 | 8
235.31 | 7.33
235.66 | 7.53
236.02 | 7.81
236.38 | 8.05
236.74 | 7.91
237.09 | 7.91
237.45 | 8
237.81 | 8.29
238.16 | 8.43
238.52 | 8.33
238.88 | 8.33
239.23 | 8.38
239.59 | 8.43
239.95 | 8.48
240.3 | 8.38
240.66 | 8.29
241.02 | 7.62
241.37 | 7
241.73 | 7.05
242.09 | 6.86
242.44 | 6.62
242.8 | 6.72
243.16 | 6.67
243.51 | 6.53
243.87 | 6.48
244.23 | 6.48
244.58 | 6.81
244.94 | 6.95
245.3 | 6.95
245.65 | 7.1
246.01 | 7.14
246.36 | 7
246.72 | 7.1
247.08 | 6.76
247.43 | 6.81
247.79 | 6.67
248.15 | 6.95
248.5 | 7.24
248.86 | 7.38
249.21 | 7.1
249.57 | 7.1
249.93 | 7.19
250.28 | 7.24
250.64 | 7.29
250.99 | 7.19
251.35 | 7.14
251.71 | 7.24
252.06 | 7.19
252.42 | 7.1
252.77 | 6.95
253.13 | 6.72
253.49 | 6.62
253.84 | 6.57
254.2 | 6.24
254.55 | 6.43
254.91 | 6.1
255.26 | 6.38
255.62 | 6.48
255.98 | 6.43
256.33 | 6.62
256.69 | 6.91
257.04 | 6.86
257.4 | 6.81
257.75 | 6.95
258.11 | 7
258.47 | 7.05
258.82 | 6.67
259.18 | 6.67
259.53 | 6.62
259.89 | 6.62
260.24 | 6.48
260.6 | 6.57
260.95 | 6.67
261.31 | 6.67
261.66 | 6.62
262.02 | 6.29
262.37 | 6.38
262.73 | 6.48
263.08 | 6.53
263.44 | 6.67
263.8 | 6.62
264.15 | 6.72
264.51 | 6.91
264.86 | 6.91
265.22 | 7
265.57 | 6.72
265.93 | 6.72
266.28 | 6.95
266.64 | 6.91
266.99 | 6.72
267.35 | 6.53
267.7 | 6.91
268.05 | 6.91
268.41 | 6.86
268.76 | 6.91
269.12 | 7.62
269.47 | 7.95
269.83 | 7.86
270.18 | 7.86
270.54 | 7.72
270.89 | 7.86
271.25 | 7.86
271.6 | 7.81
271.96 | 7.76
272.31 | 7.76
272.67 | 7.53
273.02 | 8
273.37 | 8
273.73 | 8.14
274.08 | 8.38
274.44 | 8.72
274.79 | 9.33
275.15 | 9.19
275.5 | 9
275.85 | 9.24
276.21 | 9.19
276.56 | 8.62
276.92 | 8.57
277.27 | 8.81
277.63 | 8.86
277.98 | 9
278.33 | 8.86
278.69 | 9
279.04 | 9
279.4 | 8.91
279.75 | 8.86
280.1 | 8.91
280.46 | 8.53
280.81 | 8.62
281.17 | 8.43
281.52 | 7.95
281.87 | 7.72
282.23 | 6.95
282.58 | 6.81
282.94 | 6.86
283.29 | 6.67
283.64 | 6.72
284 | 6.81
284.35 | 6.86
284.7 | 6.86
285.06 | 6.81
285.41 | 6.72
285.76 | 6.43
286.12 | 6.24
286.47 | 6.29
286.83 | 6.62
287.18 | 6.86
287.53 | 6.91
287.89 | 7.05
288.24 | 6.95
288.59 | 6.86
288.95 | 7.19
289.3 | 7.14
289.65 | 7.48
290.01 | 7.76
290.36 | 8.19
290.71 | 8.19
291.06 | 8.33
291.42 | 8.29
291.77 | 8.43
292.12 | 8.33
292.48 | 8.43
292.83 | 8.33
293.18 | 8.33
293.54 | 8.57
293.89 | 8.53
294.24 | 8.14
294.6 | 8
294.95 | 7.95
295.3 | 7.81
295.65 | 7.72
296.01 | 7.72
296.36 | 7.62
296.71 | 8.14
297.06 | 8
297.42 | 7.81
297.77 | 7.53
298.12 | 7.48
298.48 | 7.48
298.83 | 7.62
299.18 | 7.53
299.53 | 7.53
299.89 | 7.48
300.24 | 7.53
300.59 | 7.53
300.94 | 7.57
301.3 | 7.67
301.65 | 7.62
302 | 7.53
302.35 | 7.24
302.7 | 7.19
303.06 | 7.33
303.41 | 7.62
303.76 | 7.67
304.11 | 7.38
304.47 | 7.38
304.82 | 7.38
305.17 | 7.62
305.52 | 7.67
305.87 | 7.57
306.23 | 7.62
306.58 | 7.76
306.93 | 7.86
307.28 | 8
307.63 | 8.05
307.99 | 8.19
308.34 | 8.29
308.69 | 8.43
309.04 | 8.67
309.39 | 9.24
309.74 | 9.48
310.1 | 9.43
310.45 | 9.29
310.8 | 9.1
311.15 | 9.1
311.5 | 9
311.85 | 9.1
312.21 | 9.29
312.56 | 9.14
312.91 | 9.24
313.26 | 9.29
313.61 | 9.24
313.96 | 9.24
314.31 | 9.05
314.67 | 8.81
315.02 | 8.53
315.37 | 8.48
315.72 | 8.14
316.07 | 7.95
316.42 | 7.91
316.77 | 7.38
317.12 | 7.29
317.48 | 7.48
317.83 | 7.57
318.18 | 7.48
318.53 | 7.43
318.88 | 7.33
319.23 | 7.29
319.58 | 7.14
319.93 | 6.95
320.28 | 6.95
320.63 | 6.95
320.99 | 7.24
321.34 | 6.91
321.69 | 7
322.04 | 6.86
322.39 | 7.19
322.74 | 7.67
323.09 | 7.81
323.44 | 7.72
323.79 | 7.67
324.14 | 7.57
324.49 | 7.76
324.84 | 7.48
325.19 | 7.38
325.54 | 7.43
325.89 | 7.48
326.24 | 7.29
326.59 | 6.95
326.95 | 7.43
327.3 | 7.43
327.65 | 7.33
328 | 7.24
328.35 | 6.72
328.7 | 7
329.05 | 7.14
329.4 | 7.33
329.75 | 7.29
330.1 | 6.72
330.45 | 6.57
330.8 | 7.24
331.15 | 7.33
331.5 | 7.33
331.85 | 8.57
332.2 | 8.91
332.55 | 9.19
332.9 | 9.19
333.25 | 9
333.6 | 9.19
333.95 | 9.53
334.3 | 9
334.65 | 8.81
335 | 8.86
335.34 | 8.95
335.69 | 9.19
336.04 | 9.1
336.39 | 9.1
336.74 | 9.05
337.09 | 9.24
337.44 | 9.24
337.79 | 9.29
338.14 | 8.67
338.49 | 8.24
338.84 | 8.24
339.19 | 6.86
339.54 | 6.76
339.89 | 6.67
340.24 | 6.91
340.59 | 7
340.94 | 7
341.28 | 6.91
341.63 | 7.1
341.98 | 7.29
342.33 | 7.29
342.68 | 7.29
343.03 | 6.86
343.38 | 6.67
343.73 | 6.57
344.08 | 6.67
344.43 | 6.53
344.77 | 6.81
345.12 | 6.91
345.47 | 7.05
345.82 | 7.38
346.17 | 7.48
346.52 | 7.72
346.87 | 7.67
347.22 | 7.62
347.56 | 7.38
347.91 | 7.43
348.26 | 7.48
348.61 | 7.72
348.96 | 7.81
349.31 | 8.1
349.66 | 8.24
350 | 8.14
350.35 | 8.48
350.7 | 8.57
351.05 | 8.48
351.4 | 8.05
351.75 | 7.81
352.09 | 7.72
352.44 | 7.57
352.79 | 7.33
353.14 | 7.33
353.49 | 7.19
353.83 | 6.81
354.18 | 6.67
354.53 | 6.72
354.88 | 6.91
355.23 | 7.05
355.57 | 7.14
355.92 | 7.1
356.27 | 6.86
356.62 | 6.72
356.97 | 6.48
357.31 | 6.48
357.66 | 6.48
358.01 | 6.67
358.36 | 6.72
358.7 | 6.91
359.05 | 7
359.4 | 7
359.75 | 7.19
360.09 | 7.38
360.44 | 7.33
360.79 | 7.57
361.14 | 7.81
361.48 | 8.05
361.83 | 8.48
362.18 | 8.33
362.53 | 8.53
362.87 | 8.48
363.22 | 8.57
363.57 | 8.53
363.91 | 8.53
364.26 | 8.67
364.61 | 9
364.96 | 9.19
365.3 | 9.14
365.65 | 9.43
366 | 9.62
366.34 | 9.67
366.69 | 9.67
367.04 | 9.67
367.38 | 9.57
367.73 | 9.62
368.08 | 9.62
368.42 | 9.76
368.77 | 9.76
369.12 | 9.43
369.46 | 9.72
369.81 | 9.72
370.16 | 9.72
370.5 | 9.62
370.85 | 9.72
371.2 | 9.62
371.54 | 9.76
371.89 | 9.67
372.24 | 9.48
372.58 | 9.33
372.93 | 9.24
373.28 | 9.38
373.62 | 9.57
373.97 | 9.62
374.31 | 9.38
374.66 | 9.43
375.01 | 9.38
375.35 | 9.1
375.7 | 9
376.05 | 9
376.39 | 8.76
376.74 | 8.48
377.08 | 8.1
377.43 | 8.19
377.78 | 8.24
378.12 | 8.19
378.47 | 8.05
378.81 | 7.67
379.16 | 7.29
379.5 | 7.24
379.85 | 7.29
380.2 | 7.1
380.54 | 6.86
380.89 | 6.57
381.23 | 6.62
381.58 | 6.72
381.92 | 6.72
382.27 | 6.72
382.61 | 6.95
382.96 | 6.81
383.31 | 6.67
383.65 | 6.81
384 | 6.81
384.34 | 6.95
384.69 | 7
385.03 | 6.76
385.38 | 6.86
385.72 | 7
386.07 | 8.48
386.41 | 9.1
386.76 | 9.05
387.1 | 9.19
387.45 | 9.29
387.79 | 9.29
388.14 | 9.24
388.48 | 9.43
388.83 | 9.43
389.17 | 9.48
389.52 | 9.62
389.86 | 9.53
390.21 | 9.48
390.55 | 9.67
390.9 | 9.53
391.24 | 9.57
391.59 | 9.43
391.93 | 9.33
392.27 | 9.48
392.62 | 9.29
392.96 | 9.57
393.31 | 8.33
393.65 | 7.95
394 | 8.1
394.34 | 8.29
394.69 | 8.33
395.03 | 8.48
395.37 | 8.38
395.72 | 8.19
396.06 | 8.38
396.41 | 8.29
396.75 | 7.95
397.09 | 8.48
397.44 | 8.76
397.78 | 8.57
398.13 | 8.86
398.47 | 8.67
398.81 | 8.76
399.16 | 8.62
399.5 | 8.43
399.85 | 8.57
400.19 | 8.1
400.53 | 7.86
400.88 | 7.91
401.22 | 7.95
401.56 | 7.62
401.91 | 7.57
402.25 | 7.43
402.59 | 7.67
402.94 | 7.67
403.28 | 7.53
403.63 | 7.53
403.97 | 7.76
404.31 | 7.33
404.66 | 7.29
405 | 7.1
405.34 | 7
405.69 | 7.1
406.03 | 7.33
406.37 | 7.38
406.71 | 7.53
407.06 | 7.38
407.4 | 7.48
407.74 | 7.62
408.09 | 7.43
408.43 | 7.29
408.77 | 7.29
409.12 | 7.43
409.46 | 7.53
409.8 | 7.33
410.14 | 7.33
410.49 | 7.43
410.83 | 7.43
411.17 | 7.48
411.51 | 7.29
411.86 | 7.24
412.2 | 8.38
412.54 | 8.29
412.89 | 8.29
413.23 | 8.05
413.57 | 8.1
413.91 | 7.86
414.25 | 8.1
414.6 | 8.19
414.94 | 8.05
415.28 | 8.1
415.62 | 8.24
415.97 | 8.29
416.31 | 8.14
416.65 | 8
416.99 | 8.38
417.33 | 8.19
417.68 | 7.91
418.02 | 8
418.36 | 8.05
418.7 | 8.05
419.04 | 8.05
419.39 | 7.43
419.73 | 7.33
420.07 | 7.24
420.41 | 7.19
420.75 | 7.24
421.1 | 7.43
421.44 | 7.14
421.78 | 7.29
422.12 | 7.62
422.46 | 7.57
422.8 | 7.29
423.14 | 7.33
423.49 | 7.1
423.83 | 7.05
424.17 | 6.81
424.51 | 6.86
424.85 | 6.86
425.19 | 6.95
425.53 | 6.95
425.87 | 7.29
426.22 | 6.91
426.56 | 6.86
426.9 | 7
427.24 | 7.29
427.58 | 7.53
427.92 | 7.43
428.26 | 7.48
428.6 | 7.91
428.94 | 7.76
429.28 | 7.76
429.63 | 7.95
429.97 | 8.1
430.31 | 8.05
430.65 | 8.14
430.99 | 8.24
431.33 | 8.19
431.67 | 8.48
432.01 | 8.86
432.35 | 8.81
432.69 | 9.1
433.03 | 9.1
433.37 | 9.43
433.71 | 9.14
434.05 | 9.19
434.39 | 9.1
434.73 | 8.81
435.07 | 8.81
435.41 | 8.91
435.75 | 8.72
436.09 | 9.05
436.43 | 9.05
436.77 | 9.14
437.11 | 9.19
437.45 | 9.29
437.79 | 9.48
438.13 | 9.57
438.47 | 9.38
438.81 | 9.05
439.15 | 8.95
439.49 | 8.81
439.83 | 8.57
440.17 | 8.48
440.51 | 8.29
440.85 | 8.24
441.19 | 8.33
441.53 | 8.24
441.87 | 8.33
442.21 | 8.43
442.55 | 8.24
442.89 | 8.14
443.23 | 7.91
443.57 | 7.76
443.91 | 7.81
444.25 | 7.76
444.59 | 7.91
444.92 | 7.67
445.26 | 7.67
445.6 | 8.05
445.94 | 8.1
446.28 | 7.91
446.62 | 8
446.96 | 8
447.3 | 7.95
447.64 | 8
447.98 | 8.14
448.31 | 7.72
448.65 | 7.53
448.99 | 7.62
449.33 | 7.62
449.67 | 7.86
450.01 | 8.1
450.35 | 8.1
450.68 | 8.05
451.02 | 7.86
451.36 | 7.91
451.7 | 7.53
452.04 | 7.43
452.38 | 7.33
452.72 | 7.24
453.05 | 7.33
453.39 | 7.76
453.73 | 7.62
454.07 | 7.67
454.41 | 7.38
454.74 | 7.53
455.08 | 7.53
455.42 | 7.81
455.76 | 8
456.1 | 7.81
456.43 | 7.62
456.77 | 8.1
457.11 | 7.95
457.45 | 7.81
457.79 | 7.76
458.12 | 7.81
458.46 | 7.72
458.8 | 7.81
459.14 | 8.1
459.47 | 8.19
459.81 | 8.24
460.15 | 8.19
460.49 | 8
460.82 | 8
461.16 | 7.76
461.5 | 7.95
461.84 | 7.95
462.17 | 7.95
462.51 | 7.95
462.85 | 7.86
463.19 | 7.86
463.52 | 8.1
463.86 | 7.57
464.2 | 7.57
464.53 | 7.62
464.87 | 7.81
465.21 | 7.67
465.54 | 7.76
465.88 | 7.91
466.22 | 7.91
466.55 | 7.81
466.89 | 7.81
467.23 | 7.81
467.57 | 7.72
467.9 | 7.81
468.24 | 7.86
468.57 | 7.86
468.91 | 7.95
469.25 | 8.1
469.58 | 8.14
469.92 | 8.05
470.26 | 8.29
470.59 | 8.33
470.93 | 8.76
471.27 | 9
471.6 | 9
471.94 | 8.91
472.27 | 9.1
472.61 | 8.86
472.95 | 8.67
473.28 | 9.05
473.62 | 9.14
473.95 | 8.91
474.29 | 9
474.63 | 8.91
474.96 | 9
475.3 | 9.05
475.63 | 9.05
475.97 | 9
476.31 | 8.91
476.64 | 8.81
476.98 | 9.33
477.31 | 9.19
477.65 | 9.14
477.98 | 8.57
478.32 | 8.38
478.65 | 8.43
478.99 | 8.29
479.32 | 8.14
479.66 | 8.29
480 | 8.29
480.33 | 7.95
480.67 | 7.91
481 | 8.05
481.34 | 7.95
481.67 | 7.91
482.01 | 7.76
482.34 | 7.72
482.68 | 7.81
483.01 | 7.67
483.35 | 7.81
483.68 | 7.86
484.02 | 7.57
484.35 | 7.67
484.68 | 7.67
485.02 | 7.67
485.35 | 7.57
485.69 | 7.72
486.02 | 7.57
486.36 | 7.67
486.69 | 7.95
487.03 | 8
487.36 | 7.81
487.7 | 7.91
488.03 | 8.1
488.36 | 8.19
488.7 | 8.24
489.03 | 8.43
489.37 | 8.29
489.7 | 8.48
490.03 | 8.67
490.37 | 8.33
490.7 | 8.29
491.04 | 8.33
491.37 | 8.24
491.7 | 8.14
492.04 | 8
492.37 | 8.48
492.71 | 8.48
493.04 | 8.76
493.37 | 8.72
493.71 | 8.48
494.04 | 8.53
494.37 | 9.05
494.71 | 9
495.04 | 8.86
495.37 | 9.05
495.71 | 9
496.04 | 8.81
496.37 | 9.05
496.71 | 8.72
497.04 | 8.67
497.37 | 8.72
497.71 | 8.86
498.04 | 8.86
498.37 | 8.76
498.71 | 8.91
499.04 | 9.29
499.37 | 8.86
499.71 | 8.62
500.04 | 8.62
500.37 | 8.57
500.7 | 8.53
501.04 | 8.48
501.37 | 8.14
501.7 | 8.29
502.03 | 8.19
502.37 | 7.95
502.7 | 8.43
503.03 | 8.53
503.36 | 8.57
503.7 | 8.91
504.03 | 8.91
504.36 | 9
504.69 | 9.86
505.03 | 10
505.36 | 10
505.69 | 10.1
506.02 | 9.95
506.36 | 9.81
506.69 | 9.76
507.02 | 9.76
507.35 | 9.81
507.68 | 9.91
508.02 | 10.1
508.35 | 10.1
508.68 | 9.43
509.01 | 9.62
509.34 | 9.57
509.67 | 9.29
510.01 | 9.19
510.34 | 9.05
510.67 | 8.86
511 | 8.91
511.33 | 8.95
511.66 | 8.1
512 | 7.91
512.33 | 8
512.66 | 7.62
512.99 | 7.62
513.32 | 7.72
513.65 | 8
513.98 | 7.95
514.31 | 7.91
514.64 | 8
514.98 | 7.67
515.31 | 7.53
515.64 | 8.33
515.97 | 8.38
516.3 | 8.14
516.63 | 8
516.96 | 8.43
517.29 | 8.57
517.62 | 8.48
517.95 | 8.24
518.28 | 8.14
518.61 | 8.05
518.95 | 7.95
519.28 | 8.1
519.61 | 8.14
519.94 | 8.1
520.27 | 8.14
520.6 | 8.19
520.93 | 8.57
521.26 | 8.76
521.59 | 8.76
521.92 | 8.91
522.25 | 9.1
522.58 | 8.95
522.91 | 8.67
523.24 | 9.05
523.57 | 9.24
523.9 | 8.86
524.23 | 8.67
524.56 | 8.72
524.89 | 9
525.22 | 8.91
525.55 | 8.76
525.88 | 8.91
526.21 | 8.76
526.54 | 8.76
526.87 | 8.76
527.2 | 8.67
527.52 | 8.43
527.85 | 8.1
528.18 | 7.95
528.51 | 7.72
528.84 | 7.86
529.17 | 7.67
529.5 | 7.57
529.83 | 7.53
530.16 | 7.43
530.49 | 7.24
530.82 | 7.19
531.15 | 7.24
531.48 | 7.1
531.8 | 6.95
532.13 | 7.19
532.46 | 7.19
532.79 | 7.19
533.12 | 7.14
533.45 | 7.38
533.78 | 7.38
534.11 | 7.29
534.43 | 7.14
534.76 | 6.81
535.09 | 6.76
535.42 | 6.81
535.75 | 6.72
536.08 | 6.91
536.4 | 6.95
536.73 | 7
537.06 | 7.14
537.39 | 7.33
537.72 | 7.38
538.05 | 7.53
538.37 | 8.1
538.7 | 8.43
539.03 | 8.57
539.36 | 8.72
539.68 | 8.95
540.01 | 9.19
540.34 | 9.19
540.67 | 9.33
541 | 9.67
541.32 | 10.14
541.65 | 10.53
541.98 | 10.76
542.31 | 10.86
542.63 | 10.91
542.96 | 10.95
543.29 | 10.95
543.62 | 11.33
543.94 | 11.1
544.27 | 11.1
544.6 | 11.14
544.93 | 11.1
545.25 | 10.72
545.58 | 10.38
545.91 | 10.33
546.23 | 10.48
546.56 | 10.29
546.89 | 10.1
547.21 | 10.14
547.54 | 10
547.87 | 9.67
548.19 | 9.43
548.52 | 9.38
548.85 | 9.33
549.17 | 9.38
549.5 | 9.33
549.83 | 9.1
550.15 | 8.86
550.48 | 8.76
550.81 | 8.76
551.13 | 8.53
551.46 | 8.53
551.79 | 8.76
552.11 | 8.72
552.44 | 8.67
552.76 | 8.72
553.09 | 8.62
553.42 | 8.48
553.74 | 8.48
554.07 | 8.29
554.39 | 8.43
554.72 | 8.57
555.05 | 8.53
555.37 | 8.48
555.7 | 8.53
556.02 | 8.67
556.35 | 8.81
556.68 | 8.86
557 | 8.91
557.33 | 8.81
557.65 | 8.81
557.98 | 8.76
558.3 | 8.53
558.63 | 8.19
558.95 | 8
559.28 | 8.29
559.6 | 8.33
559.93 | 8.24
560.25 | 8.05
560.58 | 8.14
560.9 | 8.24
561.23 | 8.24
561.55 | 8.1
561.88 | 8
562.2 | 7.81
562.53 | 7.62
562.85 | 7.48
563.18 | 7.72
563.5 | 7.86
563.83 | 8.24
564.15 | 8.19
564.48 | 8.19
564.8 | 8.53
565.13 | 8.62
565.45 | 8.62
565.77 | 8.91
566.1 | 8.57
566.42 | 8.53
566.75 | 8.53
567.07 | 8.72
567.4 | 8.67
567.72 | 8.53
568.04 | 8.38
568.37 | 8.53
568.69 | 8.76
569.02 | 9
569.34 | 9.05
569.66 | 9.1
569.99 | 9.05
570.31 | 8.86
570.63 | 8.72
570.96 | 8.81
571.28 | 8.72
571.61 | 8.62
571.93 | 8.57
572.25 | 8.57
572.58 | 8.62
572.9 | 8.76
573.22 | 8.53
573.55 | 8.53
573.87 | 8.53
574.19 | 8.57
574.52 | 8.57
574.84 | 8.91
575.16 | 8.76
575.48 | 8.53
575.81 | 9.19
576.13 | 9.29
576.45 | 9.29
576.78 | 8.95
577.1 | 8.91
577.42 | 8.81
577.74 | 8.76
578.07 | 8.76
578.39 | 8.86
578.71 | 8.86
579.03 | 8.72
579.36 | 8.62
579.68 | 8.38
580 | 8.24
580.32 | 8.24
580.65 | 8.29
580.97 | 8.1
581.29 | 7.95
581.61 | 7.57
581.94 | 7.72
582.26 | 7.72
582.58 | 7.14
582.9 | 6.91
583.22 | 6.76
583.55 | 6.48
583.87 | 6.62
584.19 | 6.53
584.51 | 6.53
584.83 | 6.72
585.15 | 6.72
585.48 | 6.95
585.8 | 7.48
586.12 | 7.48
586.44 | 7.81
586.76 | 7.76
587.08 | 7.81
587.4 | 8
587.73 | 8.14
588.05 | 8.72
588.37 | 8.81
588.69 | 8.62
589.01 | 8.33
589.33 | 8.48
589.65 | 8.95
589.97 | 8.95
590.29 | 9.33
590.61 | 9.14
590.94 | 8.95
591.26 | 9.05
591.58 | 9
591.9 | 8.91
592.22 | 9
592.54 | 8.81
592.86 | 9
593.18 | 9.05
593.5 | 9.38
593.82 | 9.57
594.14 | 9.57
594.46 | 9.48
594.78 | 9.29
595.1 | 9.38
595.42 | 9.43
595.74 | 9.81
596.06 | 9.67
596.38 | 9.24
596.7 | 9.14
597.02 | 9.24
597.34 | 9.72
597.66 | 10.1
597.98 | 9.86
598.3 | 9.76
598.62 | 9.48
598.94 | 9.1
599.26 | 9.05
599.58 | 8.76
599.9 | 8.57
600.22 | 8.48
600.54 | 8.33
600.86 | 8.19
601.18 | 8.1
601.5 | 7.81
601.82 | 7.86
602.13 | 8.1
602.45 | 8.19
602.77 | 8.19
603.09 | 8.24
603.41 | 8.43
603.73 | 8.53
604.05 | 8.19
604.37 | 8.33
604.69 | 8.72
605 | 8.81
605.32 | 9.24
605.64 | 9.29
605.96 | 9.24
606.28 | 9.29
606.6 | 9.81
606.92 | 10.14
607.23 | 10.38
607.55 | 11.24
607.87 | 11.86
608.19 | 12.14
608.51 | 12.14
608.83 | 12.57
609.14 | 12.91
609.46 | 13.14
609.78 | 13.48
610.1 | 13.67
610.42 | 13.57
610.73 | 13.81
611.05 | 13.91
611.37 | 13.67
611.69 | 13.76
612 | 13.76
612.32 | 14.14
612.64 | 14.19
612.96 | 14.48
613.28 | 14.1
613.59 | 14.14
613.91 | 14.19
614.23 | 13.81
614.54 | 13.33
614.86 | 13.38
615.18 | 13.38
615.5 | 13.05
615.81 | 12.81
616.13 | 12.86
616.45 | 12.86
616.76 | 12.95
617.08 | 13.1
617.4 | 13.29
617.71 | 13.05
618.03 | 13.24
618.35 | 13.57
618.66 | 13.86
618.98 | 13.95
619.3 | 14.19
619.61 | 14.24
619.93 | 14.67
620.25 | 14.67
620.56 | 14.91
620.88 | 14.81
621.2 | 15.24
621.51 | 15.72
621.83 | 16.33
622.15 | 16.91
622.46 | 17.29
622.78 | 17.91
623.09 | 18.05
623.41 | 18.29
623.73 | 18.57
624.04 | 18.95
624.36 | 19.43
624.67 | 19.95
624.99 | 20.38
625.3 | 20.67
625.62 | 21.14
625.93 | 21.62
626.25 | 22
626.57 | 22.24
626.88 | 22.72
627.2 | 23.05
627.51 | 23.81
627.83 | 24.43
628.14 | 24.86
628.46 | 25.24
628.77 | 25.91
629.09 | 26.72
629.4 | 26.86
629.72 | 27.33
630.03 | 27.91
630.35 | 28.57
630.66 | 29.14
630.98 | 29.95
631.29 | 30.95
631.61 | 31.62
631.92 | 32.19
632.24 | 33.19
632.55 | 34.05
632.86 | 34.81
633.18 | 35.95
633.49 | 37.76
633.81 | 38.24
634.12 | 39.43
634.44 | 40.62
634.75 | 41.48
635.06 | 42.05
635.38 | 42.76
635.69 | 43.72
636.01 | 44.95
636.32 | 46.33
636.63 | 47.43
636.95 | 48.72
637.26 | 50.1
637.58 | 51.67
637.89 | 52.86
638.2 | 54
638.52 | 55.95
638.83 | 57.57
639.14 | 58.95
639.46 | 60.53
639.77 | 62.19
640.08 | 63.05
640.4 | 65.33
640.71 | 67
641.02 | 69.24
641.34 | 71.24
641.65 | 73.86
641.96 | 75.76
642.28 | 78
642.59 | 80.57
642.9 | 82.43
643.21 | 84.86
643.53 | 87.86
643.84 | 90.1
644.15 | 92.33
644.46 | 94.53
644.78 | 97.43
645.09 | 99.86
645.4 | 101.91
645.71 | 104.81
646.03 | 107.67
646.34 | 109.76
646.65 | 111.95
646.96 | 114.53
647.28 | 116.33
647.59 | 118.24
647.9 | 120.72
648.21 | 122.67
648.52 | 124.91
648.84 | 126.86
649.15 | 128.29
649.46 | 130
649.77 | 131.62
650.08 | 132
650.39 | 133.14
650.71 | 134.86
651.02 | 135.67
651.33 | 135.95
651.64 | 136.53
651.95 | 136.76
652.26 | 136.76
652.57 | 136.62
652.89 | 136.67
653.2 | 136.57
653.51 | 135.33
653.82 | 134.86
654.13 | 133.62
654.44 | 132
654.75 | 130.33
655.06 | 129
655.37 | 127
655.68 | 124.72
656 | 123.19
656.31 | 121.14
656.62 | 119.1
656.93 | 116.81
657.24 | 113.38
657.55 | 110.72
657.86 | 107.72
658.17 | 104.38
658.48 | 101.72
658.79 | 98.67
659.1 | 95.91
659.41 | 92.33
659.72 | 89.1
660.03 | 86.33
660.34 | 83.1
660.65 | 80.1
660.96 | 77.48
661.27 | 74.81
661.58 | 71.62
661.89 | 68.91
662.2 | 66.53
662.51 | 64.05
662.82 | 61.29
663.13 | 60.29
663.44 | 57.95
663.75 | 55.76
664.06 | 53.91
664.37 | 52.24
664.68 | 50.29
664.98 | 48.29
665.29 | 46.38
665.6 | 44.38
665.91 | 43.1
666.22 | 41.67
666.53 | 40.1
666.84 | 38.72
667.15 | 37.53
667.46 | 35.86
667.77 | 34.57
668.07 | 34.1
668.38 | 32.67
668.69 | 31.33
669 | 30.05
669.31 | 29
669.62 | 26.72
669.93 | 25.48
670.23 | 24.53
670.54 | 23.33
670.85 | 22.43
671.16 | 21.81
671.47 | 21.05
671.77 | 20.38
672.08 | 19.81
672.39 | 19.19
672.7 | 18.57
673.01 | 18.1
673.31 | 17.62
673.62 | 17
673.93 | 16.81
674.24 | 16.57
674.55 | 15.62
674.85 | 15.53
675.16 | 15.33
675.47 | 15
675.78 | 14.67
676.08 | 14.19
676.39 | 14.05
676.7 | 13.76
677 | 13.95
677.31 | 13.67
677.62 | 13.53
677.93 | 13.29
678.23 | 13.29
678.54 | 13.24
678.85 | 12.95
679.15 | 12.67
679.46 | 12.67
679.77 | 12.81
680.07 | 12.62
680.38 | 12.29
680.69 | 11.81
680.99 | 11.53
681.3 | 11.53
681.61 | 11.33
681.91 | 11.05
682.22 | 10.95
682.52 | 10.86
682.83 | 10.72
683.14 | 10.67
683.44 | 10.48
683.75 | 10.33
684.06 | 9.95
684.36 | 9.81
684.67 | 9.33
684.97 | 8.86
685.28 | 8.86
685.58 | 8.81
685.89 | 8.57
686.2 | 8.24
686.5 | 8.05
686.81 | 7.95
687.11 | 7.81
687.42 | 7.76
687.72 | 7.38
688.03 | 7.53
688.33 | 7.67
688.64 | 7.72
688.94 | 7.57
689.25 | 7.38
689.55 | 7.1
689.86 | 7.05
690.16 | 7.1
690.47 | 7.29
690.77 | 7.29
691.08 | 7.24
691.38 | 7.62
691.69 | 7.67
691.99 | 7.48
692.3 | 7.38
692.6 | 7.38
692.91 | 7.33
693.21 | 7.53
693.51 | 7.72
693.82 | 7.62
694.12 | 7.95
694.43 | 7.86
694.73 | 7.76
695.03 | 7.62
695.34 | 7.62
695.64 | 7.81
695.95 | 7.86
696.25 | 7.67
696.55 | 7.76
696.86 | 7.57
697.16 | 8.29
697.46 | 8.33
697.77 | 8.72
698.07 | 8.81
698.38 | 8.72
698.68 | 8.86
698.98 | 8.81
699.29 | 9.05
699.59 | 9.05
699.89 | 8.95
700.19 | 9.29
700.5 | 9
700.8 | 9.05
701.1 | 8.86
701.41 | 9
701.71 | 9.24
702.01 | 9.38
702.32 | 9.53
702.62 | 9.57
702.92 | 10.48
703.22 | 10.57
703.53 | 9.76
703.83 | 9.95
704.13 | 9.24
704.43 | 9.24
704.74 | 9.72
705.04 | 9.53
705.34 | 9.48
705.64 | 9.38
705.94 | 9.53
706.25 | 9.38
706.55 | 9.24
706.85 | 9.29
707.15 | 9.05
707.45 | 9.19
707.76 | 9.24
708.06 | 9.29
708.36 | 9.05
708.66 | 9.05
708.96 | 9.24
709.26 | 8.38
709.56 | 8.67
709.87 | 8.72
710.17 | 8.86
710.47 | 9
710.77 | 8.95
711.07 | 8.86
711.37 | 9.1
711.67 | 9.24
711.97 | 9.33
712.27 | 9.24
712.58 | 9.48
712.88 | 9.33
713.18 | 9.33
713.48 | 10.38
713.78 | 10.29
714.08 | 10.33
714.38 | 10.29
714.68 | 10.53
714.98 | 10.62
715.28 | 10.43
715.58 | 10.33
715.88 | 10.14
716.18 | 10.24
716.48 | 10.14
716.78 | 10.05
717.08 | 10.1
717.38 | 10.24
717.68 | 10.19
717.98 | 10.1
718.28 | 9.91
718.58 | 9.91
718.88 | 10.05
719.18 | 10.1
719.48 | 10
719.78 | 9.05
720.08 | 9.05
720.38 | 8.91
720.68 | 8.81
720.98 | 8.62
721.28 | 8.24
721.58 | 8.14
721.87 | 8.24
722.17 | 7.95
722.47 | 7.95
722.77 | 7.86
723.07 | 7.76
723.37 | 7.57
723.67 | 7.33
723.97 | 7.38
724.27 | 7.33
724.56 | 7.38
724.86 | 7.1
725.16 | 6.91
725.46 | 6.91
725.76 | 6.72
726.06 | 6.91
726.35 | 6.91
726.65 | 6.91
726.95 | 6.76
727.25 | 6.62
727.55 | 6.91
727.85 | 7
728.14 | 6.86
728.44 | 7.76
728.74 | 7.81
729.04 | 7.57
729.33 | 7.72
729.63 | 7.62
729.93 | 7.67
730.23 | 7.67
730.53 | 8.05
730.82 | 8.14
731.12 | 8.19
731.42 | 8.29
731.71 | 8.29
732.01 | 8.53
732.31 | 8.43
732.61 | 8.53
732.9 | 8.48
733.2 | 8.57
733.5 | 8.86
733.79 | 8.86
734.09 | 8.72
734.39 | 8.91
734.68 | 8.1
734.98 | 8.1
735.28 | 8.29
735.57 | 8.1
735.87 | 8.38
736.17 | 8.29
736.46 | 8.29
736.76 | 7.86
737.06 | 8.29
737.35 | 8.29
737.65 | 8.29
737.94 | 8.29
738.24 | 8.24
738.54 | 8.14
738.83 | 8.19
739.13 | 8.19
739.42 | 8.19
739.72 | 7.91
740.01 | 8
740.31 | 8.19
740.61 | 8.29
740.9 | 8.43
741.2 | 8.19
741.49 | 8.19
741.79 | 8.33
742.08 | 8.33
742.38 | 8.1
742.67 | 7.86
742.97 | 8.05
743.26 | 7.72
743.56 | 7.95
743.85 | 7.86
744.15 | 7.86
744.44 | 8
744.74 | 8.14
745.03 | 8.33
745.33 | 8.48
745.62 | 8.57
745.92 | 8.86
746.21 | 8.95
746.5 | 8.86
746.8 | 8.43
747.09 | 8.38
747.39 | 8.57
747.68 | 8.76
747.98 | 12.67
748.27 | 12.38
748.56 | 12.57
748.86 | 12.72
749.15 | 12.62
749.45 | 12.38
749.74 | 12.38
750.03 | 12.29
750.33 | 12.57
750.62 | 12.53
750.91 | 12.33
751.21 | 12.1
751.5 | 12.14
751.79 | 11.91
752.09 | 11.62
752.38 | 11.33
752.67 | 11.1
752.97 | 11.33
753.26 | 11.48
753.55 | 11.43
753.85 | 11.24
754.14 | 7.43
754.43 | 7.57
754.72 | 7.57
755.02 | 7.48
755.31 | 7.33
755.6 | 7.29
755.89 | 6.86
756.19 | 6.81
756.48 | 6.67
756.77 | 6.67
757.06 | 6.72
757.36 | 6.62
757.65 | 6.19
757.94 | 6.33
758.23 | 6.43
758.52 | 6.62
758.82 | 7.05
759.11 | 7
759.4 | 6.76
759.69 | 6.86
759.98 | 6.76
760.28 | 6.62
760.57 | 6.62
760.86 | 6.67
761.15 | 6.86
761.44 | 7.14
761.73 | 7.53
762.02 | 7.53
762.32 | 7.62
762.61 | 7.53
762.9 | 7.48
763.19 | 7.43
763.48 | 7.48
763.77 | 7.72
764.06 | 7.53
764.35 | 7.57
764.64 | 7.33
764.93 | 7.14
765.22 | 7.29
765.52 | 7.67
765.81 | 7.72
766.1 | 7.86
766.39 | 8.67
766.68 | 8.86
766.97 | 8.95
767.26 | 8.86
767.55 | 8.67
767.84 | 8.19
768.13 | 8.38
768.42 | 8.48
768.71 | 8.62
769 | 8.91
769.29 | 9.29
769.58 | 9.57
769.87 | 9.67
770.16 | 9.91
770.45 | 9.95
770.74 | 10.19
771.02 | 10
771.31 | 9.76
771.6 | 9.38
771.89 | 9.24
772.18 | 9.57
772.47 | 8.72
772.76 | 8.86
773.05 | 8.57
773.34 | 8.67
773.63 | 8.62
773.92 | 8.91
774.2 | 8.91
774.49 | 8.81
774.78 | 8.53
775.07 | 8.38
775.36 | 8.67
775.65 | 8.24
775.94 | 8.1
776.22 | 7.95
776.51 | 8.14
776.8 | 8.19
777.09 | 9.05
777.38 | 9.24
777.67 | 9.48
777.95 | 9.57
778.24 | 9.24
778.53 | 9.24
778.82 | 8.67
779.1 | 8.95
779.39 | 8.91
779.68 | 9.05
779.97 | 9.05
780.26 | 9.05
780.54 | 9.33
780.83 | 9.38
781.12 | 9.33
781.4 | 8.95
781.69 | 9.38
781.98 | 9.76
782.27 | 9.86
782.55 | 9.67
782.84 | 9.38
783.13 | 8.72
783.41 | 8.53
783.7 | 8.48
783.99 | 8.38
784.27 | 8.43
784.56 | 8.67
784.85 | 9.14
785.13 | 9.05
785.42 | 9.14
785.71 | 8.95
785.99 | 8.62
786.28 | 8.76
786.57 | 8.57
786.85 | 8.76
787.14 | 8.67
787.42 | 8.53
787.71 | 8.33
788 | 8.19
788.28 | 8.48
788.57 | 8.33
788.85 | 8.38
789.14 | 8.43
789.42 | 8.48
789.71 | 8.24
789.99 | 8.33
790.28 | 8.19
790.57 | 8.33
790.85 | 8.14
791.14 | 8.1
791.42 | 7.91
791.71 | 7.91
791.99 | 8.53
792.28 | 8.62
792.56 | 8.62
792.85 | 8.53
793.13 | 8.57
793.41 | 8.29
793.7 | 8.1
793.98 | 7.95
794.27 | 7.76
794.55 | 7.86
794.84 | 8.05
795.12 | 8.05
795.41 | 8.1
795.69 | 8.05
795.97 | 8
796.26 | 7.95
796.54 | 7.62
796.83 | 7.48
797.11 | 7.72
797.39 | 7.57
797.68 | 7.72
797.96 | 8
798.25 | 7.72
798.53 | 7.62
798.81 | 7.38
799.1 | 7.29
799.38 | 7.33
799.66 | 7.38
799.95 | 7.19
800.23 | 6.91
800.51 | 6.72
800.8 | 6.86
801.08 | 6.95
801.36 | 6.95
801.64 | 7.19
801.93 | 7.14
802.21 | 7.19
802.49 | 7.24
802.78 | 7.24
803.06 | 7.19
803.34 | 7.24
803.62 | 7.33
803.91 | 6.72
804.19 | 6.81
804.47 | 6.81
804.75 | 6.76
805.03 | 6.67
805.32 | 6.72
805.6 | 7
805.88 | 7.33
806.16 | 7.62
806.44 | 7.72
806.73 | 7.33
807.01 | 7.19
807.29 | 7.38
807.57 | 7.29
807.85 | 7.43
808.13 | 7.57
808.42 | 7.62
808.7 | 7.57
808.98 | 7.53
809.26 | 7.57
809.54 | 7.81
809.82 | 7.81
810.1 | 7.86
810.38 | 8.19
810.66 | 8.53
810.94 | 8.72
811.23 | 9
811.51 | 8.86
811.79 | 8.72
812.07 | 8.53
812.35 | 8.86
812.63 | 9.19
812.91 | 9.05
813.19 | 9.29
813.47 | 9.57
813.75 | 9.43
814.03 | 9.29
814.31 | 9.1
814.59 | 9.19
814.87 | 8.91
815.15 | 8.91
815.43 | 8.62
815.71 | 8.53
815.99 | 8.38
816.27 | 8.29
816.55 | 8
816.83 | 7.91
817.11 | 7.81
817.39 | 7.62
817.67 | 7.76
817.94 | 8.1
818.22 | 8.05
818.5 | 7.91
818.78 | 8
819.06 | 7.62
819.34 | 7.33
819.62 | 7.48
819.9 | 7.72
820.18 | 8.1
820.46 | 8.19
820.73 | 8.33
821.01 | 8.38
821.29 | 8.05
821.57 | 7.95
821.85 | 7.81
822.13 | 8.1
822.4 | 8.29
822.68 | 8.48
822.96 | 8.43
823.24 | 8.76
823.52 | 8.67
823.79 | 8.33
824.07 | 8.29
824.35 | 8.24
824.63 | 9.1
824.91 | 9.05
825.18 | 9.19
825.46 | 9.24
825.74 | 9.38
826.02 | 9.1
826.29 | 9.14
826.57 | 9.1
826.85 | 9.29
827.12 | 9.48
827.4 | 9.72
827.68 | 9.81
827.96 | 9.43
828.23 | 9.57
828.51 | 9.43
828.79 | 9.53
829.06 | 9.19
829.34 | 9.33
829.62 | 9.24
829.89 | 9.29
830.17 | 9.48
830.44 | 8.76
830.72 | 8.72
831 | 8.57
831.27 | 8.33
831.55 | 7.76
831.83 | 7.86
832.1 | 7.76
832.38 | 7.76
832.65 | 7.53
832.93 | 7.38
833.2 | 7.33
833.48 | 7.57
833.76 | 7.48
834.03 | 7.33
834.31 | 7.33
834.58 | 7.14
834.86 | 7.24
835.13 | 6.91
835.41 | 7.62
835.68 | 7.53
835.96 | 7.38
836.23 | 7.24
836.51 | 7.24
836.78 | 7.33
837.06 | 7.43
837.33 | 7.72
837.61 | 7.72
837.88 | 7.53
838.16 | 7.81
838.43 | 7.81
838.71 | 8
838.98 | 7.86
839.25 | 7.72
839.53 | 7.91
839.8 | 8
840.08 | 8.19
840.35 | 8.29
840.62 | 8.14
840.9 | 8.38
841.17 | 7.91
841.45 | 7.81
841.72 | 7.57
841.99 | 7.62
842.27 | 7.53
842.54 | 7.24
842.81 | 7.29
843.09 | 7.29
843.36 | 7.29
843.63 | 7.62
843.91 | 7.38
844.18 | 7.43
844.45 | 7.33
844.73 | 7.57
845 | 7.72
845.27 | 7.57
845.54 | 7.38
845.82 | 7.43
846.09 | 7.43
846.36 | 7.81
846.63 | 7.86
846.91 | 8.1
847.18 | 8.05
847.45 | 8.14
847.72 | 8.19
848 | 8.33
848.27 | 8.62
848.54 | 8.53
848.81 | 8.72
849.08 | 8.67
849.36 | 8.48
849.63 | 8.38
849.9 | 8.29
850.17 | 8.33
850.44 | 8.72
850.71 | 7.72
850.99 | 8.72
851.26 | 6.72
851.53 | 12.72
851.8 | 6.72
852.07 | 6.72
852.34 | 4.72
852.61 | 4.72
852.88 | 6.72
>>>>>End Processed Spectral Data<<<<<