## Sheet1
0.01415
13.1326
7.9365
4.0497
2.035
1.1708

## NewFluoro
Cruise: | [5 empty] | Calibration Info: Turner Designs model 10-AU
[6 empty] | Cal. Date: | 2011-07-06
[6 empty] | Fs = | 0.3668
[6 empty] | Fo/Fa max | 1.8696
[14 empty] | (solid std info) |  | room
| Analysis | Vol. Filt. | Tube | Station | Nom. Depth | Dilution | Fo | Fa | Chl | Phaeo | Fo/Fa | average | comments | QA-initials | QA-date | temp
Filtr. Date | Date | [L] | # | ID | [m] | Factor | [FSU] | [FSU] | [ug/L] | [ug/L] |  | Chl |  |  |  | deg C | FO | FA | BLANKFO | BLANKFA | STD
|  | 0.2 | 1 |  |  | 1 | 556.818 | 331.827 | 4.4358 | 1.253 | 1.678 | 4.6067 |  |  |  |  | 557 | 332 | 0.182 | 0.173 | 0.20234
|  | 0.2 | 2 |  |  | 1 | 608.818 | 363.827 | 4.8301 | 1.4073 | 1.6734 | [5 empty] | 609 | 364 | 0.182 | 0.173
|  | 0.2 | 3 |  |  | 1 | 579.818 | 348.827 | 4.5541 | 1.4262 | 1.6622 | [5 empty] | 580 | 349 | 0.182 | 0.173
|  | 0.05 | 7 |  |  | 1 | 588.818 | 350.827 | 18.7684 | 5.2897 | 1.6784 | 19.3993 |  |  |  |  | 589 | 351 | 0.182 | 0.173 | 0.8957
|  | 0.05 | 8 |  |  | 1 | 593.818 | 352.827 | 19.005 | 5.1903 | 1.683 | [5 empty] | 594 | 353 | 0.182 | 0.173
|  | 0.05 | 9 |  |  | 1 | 634.818 | 375.827 | 20.4245 | 5.348 | 1.6891 | [5 empty] | 635 | 376 | 0.182 | 0.173
|  | 0.2 | 13 |  |  | 1 | 552.818 | 286.827 | 5.2441 | -0.32681 | 1.9274 | 5.3624 |  |  |  |  | 553 | 287 | 0.182 | 0.173 | 0.18807
|  | 0.2 | 14 |  |  | 1 | 553.818 | 286.827 | 5.2639 | -0.34652 | 1.9308 | [5 empty] | 554 | 287 | 0.182 | 0.173
|  | 0.2 | 15 |  |  | 1 | 591.818 | 308.827 | 5.5793 | -0.28481 | 1.9163 | [5 empty] | 592 | 309 | 0.182 | 0.173
|  | 0.2 | SP50 |  |  | 1 | 513.802 | 337.792 | 3.4701 | 2.321 | 1.5211 | 3.6474 |  |  |  |  | 514 | 338 | 0.198 | 0.208 | 0.18798
|  | 0.2 | SP49 |  |  | 1 | 529 | 345 | 3.6277 | 2.287 | 1.5333 | [5 empty] | 529 | 345 | 0 | 0
|  | 0.2 | SP48 |  |  | 1 | 562 | 367 | 3.8445 | 2.4473 | 1.5313 | [5 empty] | 562 | 367 | 0 | 0
|  | 0.05 | C55 |  |  | 1 | 351.802 | 196.792 | 12.2244 | 1.2707 | 1.7877 | 12.3293 |  |  |  |  | 352 | 197 | 0.198 | 0.208 | 0.090835
|  | 0.05 | C55 |  |  | 1 | 353 | 196 | 12.3813 | 1.0595 | 1.801 | [5 empty] | 353 | 196 | 0 | 0
|  | 0.05 | CO57 |  |  | 1 | 354.802 | 197.792 | 12.3821 | 1.1816 | 1.7938 | [5 empty] | 355 | 198 | 0.198 | 0.208
|  | 0.1 | D63 |  |  | 1 | 356 | 226 | 5.126 | 2.623 | 1.5752 | 5.0999 |  |  |  |  | 356 | 226 | 0 | 0 | 0.08224
|  | 0.1 | D64 |  |  | 1 | 355 | 228 | 5.0077 | 2.8099 | 1.557 | [5 empty] | 355 | 228 | 0 | 0
|  | 0.1 | D65 |  |  | 1 | 357.802 | 226.792 | 5.1659 | 2.6103 | 1.5777 | [5 empty] | 358 | 227 | 0.198 | 0.208
Use this spreadsheet for analyses done with the new Turner Designs model 10-AU fluorometer. Assumes 5 ml extracts.