## Slide 1: ac-9/ac-s absorption (a tube) and beam attenuation (c tube)
Measuring CDOM absorption coefficients
July 13, 2011

## Slide 2: Things we are comparing: sample sources, instruments, filters
Open ocean
Dockside
Biscay pond, and Biscay pond dilution series
ac-9 (0.2 m Sartoris plastic filter)
ac-9 (0.7 m Whatman GF/F)
ac-s (0.7 m Whatman GF/F)

## Slide 5: Table of slope comparisons (absorption, using Excel)
 | Open ocean | Dockside | Biscay Pond
ac-9 (0.2 µm filter) | 0.0113 | 0.008 | 0.011
ac-9 (0.7 µm filter) | 0.0155 | 0.009 | 0.0101
ac-s (0.7 µm filter) | NaN | 0.0124 | 0.0138
aCDOM () = aCDOM (REF) e – SCDOM(- REF)

## Slide 6: Standard error Biscay Pond ac-9 0.2 filter
412 nm | 532 nm | 676 nm
4.02 +/- 0.019 | 0.801 +/- 0.0043 | 0.195 +/- 0.003
Propagated error was low

## Slide 7: Is (a) a function of concentration?
Chart: Dilution
| 0 | 2 | 4 | 8
412 | 3.6018 | 1.8922 | 1.0999 | 0.50428
440 | 2.2337 | 1.1714 | 0.73289 | 0.3312
488 | 1.1782 | 0.61383 | 0.46943 | 0.17471
510 | 0.92309 | 0.4504 | 0.3917 | 0.12665
532 | 0.68032 | 0.35029 | 0.34296 | 0.10488
555 | 0.50947 | 0.25989 | 0.32006 | 0.089335
650 | 0.12432 | 0.062391 | 0.23242 | 0.03837
676 | 0.066082 | 0.031945 | 0.21711 | 0.029151
715 | 0 | 0 | 0.19665 | 0.022743
ac-s ac-s ac-9 #1 ac-9 #2

## Slide 8: Absorption vs. attenuation