## data
Cruise: |  |  |  | DMC ESTUARY |  |  | Calibration Info: Turner Designs model 10-AU |  |  |  | Calibration Info: Turner Designs model 10-AU
[7 empty] | Cal. Date: | 2006-05-11 | 2007-11-20 |  | Cal. Date: | 2009-06-11 | 2010-02-10 | 2011-07-06 | 2012-04-27
[7 empty] | Fs = | 0.3799 | 0.3767 |  | Fs = | 0.3832 | 0.3502 | 0.3668 | 0.3578
[7 empty] | Fo/Fa max | 1.9072 | 1.8406 |  | 0.289 | 1.866 | 1.9 | 1.87 | 1.88
(solid std info)
| time | station | depth (m) | Sample | Tube # | 0 | Dilution | Fo | Fa | Chl | Phaeo | Fo/Fa | average | average | SD Chl | SD phaeo | QA-initials | room temperature
Filtr. Date | [5 empty] | [L] | Factor | [FSU] | [FSU] | [ug/L] | [ug/L] |  | Chl | phaeo
2013-07-23 |  |  |  | standard | low |  |  |  |  | #REF! | #REF! | #REF! |  |  |  |  | 24.4 | 15
2013-07-23 |  |  |  | standard | high | [11 empty] | 116
2013-07-23 |  |  |  | blank | 90% acetone |  |  | 0.2 | 0.19 |  |  | 1.0526
2013-07-23 | 11h56 | 1 | surf | open ocean | 1 | 0.2 | 1 | 63.9 | 36 | 0.53316 | 0.072235 | 1.775 | [6 empty] | medium
2013-07-23 | 11h56 | 1 | surf | open ocean | 2 | 0.2 | 1 | 61.9 | 35.1 | 0.51214 | 0.078121 | 1.7635
2013-07-23 | 11h56 | 1 | surf | open ocean | 3 | 0.2 | 1 | 69.6 | 38.8 | 0.58858 | 0.063903 | 1.7938 | 0.54463 | 0.07142 | 0.039488 | 0.0071438
2013-07-23 | 12h06 | 1 | 4m | open ocean | 4 | 0.2 | 1 | 69.6 | 39.5 | 0.5752 | 0.089052 | 1.762
2013-07-23 | 12h06 | 1 | 4m | open ocean | 5 | 0.2 | 1 | 80.2 | 44.1 | 0.68986 | 0.051749 | 1.8186
2013-07-23 | 12h06 | 1 | 4m | open ocean | 6 | 0.2 | 1 | 80.8 | 45 | 0.68413 | 0.072617 | 1.7956 | 0.64973 | 0.071139 | 0.064607 | 0.018695 |  |  | medium
2013-07-23 | 14h49 | 2 | surf | Damariscotta river | 7 | 0.2 | 1 | 390 | 236 | 2.9429 | 1.0258 | 1.6525
2013-07-23 | 14h49 | 2 | surf | Damariscotta river | 8 | 0.2 | 1 | 390 | 239 | 2.8856 | 1.1336 | 1.6318 | [5 empty] | high
2013-07-23 | 14h49 | 2 | surf | Damariscotta river | 9 | 0.2 | 1 | 383 | 233 | 2.8665 | 1.0518 | 1.6438 | 2.8983 | 1.0704 | 0.03978 | 0.056246 |  | high | high
2013-07-23 | 14h56 | 2 | 4m | Damariscotta river | 10 | 0.2 | 1 | 337 | 213 | 2.3696 | 1.2123 | 1.5822 | [5 empty] | high | high
2013-07-23 | 14h56 | 2 | 4m | Damariscotta river | 11 | 0.2 | 1 | 339 | 209 | 2.4843 | 1.0304 | 1.622 | [5 empty] | high | high
2013-07-23 | 14h56 | 2 | 4m | Damariscotta river | 12 | 0.2 | 1 | 343 | 214 | 2.4652 | 1.1336 | 1.6028 | 2.4397 | 1.1254 | 0.061429 | 0.091236 |  | high | high
2013-07-25 |  |  |  | standard | low |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  |  | 24.3 | 20
2013-07-25 |  |  |  | standard | high |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  |  | 117
2013-07-25 |  |  |  | blank | 90% acetone |  |  | 0.184 |  | #DIV/0! | #DIV/0! | #DIV/0!
2013-07-25 |  | 1 | surf | Damariscotta river | 20 | 0.2 | 1 | 275 | 169 | 2.0256 | 0.81637 | 1.6272
2013-07-25 |  | 1 | surf | Damariscotta river | 21 | 0.2 | 1 | 296 | 189 | 2.0447 | 1.1336 | 1.5661
2013-07-25 |  | 1 | surf | Damariscotta river | 22 | 0.2 | 1 | 300 | 192 | 2.0639 | 1.1649 | 1.5625 | 2.0447 | 1.0383 | 0.01911 | 0.19283
2013-07-25 |  | 1 | 5m | Damariscotta river | 23 | 0.2 | 1 | 252 | 162 | 1.7199 | 1.0044 | 1.5556
2013-07-25 |  | 1 | 5m | Damariscotta river | 24 | 0.2 | 1 | 264 | 171 | 1.7772 | 1.0984 | 1.5439
2013-07-25 |  | 1 | 5m | Damariscotta river | 25 | 0.2 | 1 | 197 | 193 | 0.076439 | 3.1692 | 1.0207 | 1.1912 | 1.7573 | 0.96582 | 1.2236
2013-07-25 |  | 2 | surf | open ocean | 26 | 0.2 | 1 | 174 | 102 | 1.3759 | 0.33939 | 1.7059
2013-07-25 |  | 2 | surf | open ocean | 27 | 0.2 | 1 | 172 | 97.7 | 1.4199 | 0.22313 | 1.7605
2013-07-25 |  | 2 | surf | open ocean | 28 | 0.2 | 1 | 177 | 102 | 1.4332 | 0.28206 | 1.7353 | 1.4097 | 0.28153 | 0.029993 | 0.058134
2013-07-25 |  | 2 | 4.5m | open ocean | 29 | 0.2 | 1 | 377 | 218 | 3.0385 | 0.62756 | 1.7294
2013-07-25 |  | 2 | 4.5m | open ocean | 30 | 0.2 | 1 | 397 | 225 | 3.2869 | 0.49685 | 1.7644
2013-07-25 |  | 2 | 4.5m | open ocean | 31 | 0.2 | 1 | 372 | 213 | 3.0385 | 0.54348 | 1.7465 | 3.1213 | 0.55597 | 0.14343 | 0.066244
[10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[10 empty] | #DIV/0! | #DIV/0! | #DIV/0!
Use this spreadsheet for analyses done with the new Turner Designs model 10-AU fluorometer. Assumes 5 ml extracts.

## table
Chl | depth/station | 1 (ocean) | 2 (river) | 3 | 4
| 0 | 0.54 ± 0.04 | 2.90 ± 0.04
| 4 | 0.65 ± 0.06 | 2.44 ± 0.06
Phaeo | depth/station | 1 | 2 | 3 | 4
| 0 | 0.07 ± 0.01 | 1.07 ± 0.06
| 4 | 0.07 ± 0.02 | 1.13 ± 0.09

## a_part
station | depth (m) | filter_diameter (mm) | absorbance | a_part (m-1) | a_NAP (m-1) | a_phyt (m-1)
1 | 0 | 35.5
1 | 4 | 35.3
2 | 0 | 34
2 | 4 | 33.7
3 | 0
3 | 0
4 | 4
4 | 4