## Slide 1
SAMPLE | Turb [NTU] | Transmissometer (c) | AC9 (c) | Unbiased Percent Difference
 |  | 650 nm [1/m] | 650 nm [1/m] | [%]
Arizona Dust | 13.6 | 9.1 | 9.0 | 1
Chaetoceros | 1.0 | 3.1 | 3.8 | 20
Platymonas | 0.7 | 0.3 | 1.0 | 111
DRE-Unfiltered | 2.7 | 1.5 | 2.1 | 35
DRE-Filtered | 0.3 | 0 (4.2) | - | -
DIW | 0.5 | 0 (4.4) | - | -
Hooker et al., 2002
Notes: When you compare two methods or instruments, and you are not sure which one gives an accurate measurement you use UPD to determine uncertainty
Low UPD means you have good agreement in instruments or methods
High UPD means many sources of errors