## Sheet1
Cruise: |  |  | DMC ESTUARY |  |  | Calibration Info: Turner Designs model 10-AU |  |  |  | Calibration Info: Turner Designs model 10-AU
[6 empty] | Cal. Date: | 2006-05-11 | 2007-11-20 |  | Cal. Date: | 2009-06-11 | 2010-02-10 | 2011-07-06 | 2012-04-27
[6 empty] | Fs = | 0.3799 | 0.3767 |  | Fs = | 0.3832 | 0.3502 | 0.3668 | 0.3578
[6 empty] | Fo/Fa max | 1.9072 | 1.8406 |  | 0.289 | 1.866 | 1.9 | 1.87 | 1.88
(solid std info)
2003-07-25 | station | depth | Sample | Tube # | 0 | Dilution | Fo | Fa | Chl | Phaeo | Fo/Fa | average | average | SD | QA-initials
Filtr. Date |  |  | DRE dock |  | [L] | Factor | [FSU] | [FSU] | [ug/L] | [ug/L] |  | Chl | phaeo
2013-01-28 |  |  | examples |  | 0.288 | 1 | 252 | 138 | 1.5129 | 0.098734 | 1.8261
2013-07-12 | DRE Dock |  | 2-MM | 46 | 0.1 | 1 | 166 | 108 | 2.2167 | 1.4157 | 1.537
2013-07-12 | DRE Dock |  | 2-MM | 47 | 0.1 | 1 | 171 | 111 | 2.2932 | 1.4401 | 1.5405
2013-07-12 | DRE Dock |  | 2-MM | 48 | 0.1 | 1 | 178 | 114 | 2.4461 | 1.3881 | 1.5614
2013-07-12 | DRE Dock |  | 2-GK | 43 | 0.1 | 1 | 161.5 | 103.5 | 2.2167 | 1.2643 | 1.5604
2013-07-12 | DRE Dock |  | 2-GK | 44 | 0.1 | 1 | 164 | 105 | 2.255 | 1.2765 | 1.5619
2013-07-12 | DRE Dock |  | 2-GK | 45 | 0.1 | 1 | 161 | 103 | 2.2167 | 1.2475 | 1.5631
- | - |  | 2-MM/GK | blank |  |  | 0.175 | - | #VALUE! | #VALUE! | #VALUE!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | #DIV/0! | #DIV/0! | #DIV/0!
Use this spreadsheet for analyses done with the new Turner Designs model 10-AU fluorometer. Assumes 5 ml extracts.
Note on H13: Grace: folded in quarters
Note on H14: Grace: Double sample divided by 2
Note on I14: Grace: Double sample divided by 2
Note on H16: Grace: filtered few minutes later than others