## Sheet1
Cruise: |  |  | DMC ESTUARY |  |  | Calibration Info: Turner Designs model 10-AU |  |  |  | Calibration Info: Turner Designs model 10-AU
[6 empty] | Cal. Date: | 2006-05-11 | 2007-11-20 |  | Cal. Date: | 2009-06-11 | 2010-02-10 | 2011-07-06 | 2012-04-27
[6 empty] | Fs = | 0.3799 | 0.3767 |  | Fs = | 0.3832 | 0.3502 | 0.3668 | 0.3578
Samplers | [5 empty] | Fo/Fa max | 1.9072 | 1.8406 |  | 0.289 | 1.866 | 1.9 | 1.87 | 1.88
Matt and Shungu
(solid std info)
2003-07-25 | station | depth | Sample | Tube # | 0 | Dilution | Fo | Fa | Chl | Phaeo | Fo/Fa | average | average | SD | QA-initials
Filtr. Date |  |  | DRE dock |  | [L] | Factor | [FSU] | [FSU] | [ug/L] | [ug/L] |  | Chl | phaeo
2013-01-28 |  |  | examples |  | 0.288 | 1 | 252 | 138 | 1.5129 | 0.098734 | 1.8261
2013-07-12 | DRE Dock |  | 2-MM | 19 | 0.1 | 1 | 158 | 101 | 2.1785 | 1.2184 | 1.5644
2013-07-12 | DRE Dock |  | 2-MM | 20 | 0.1 | 1 | 151 | 90.4 | 2.3161 | 0.72434 | 1.6704
2013-07-12 | DRE Dock |  | 2-MM | 21 | 0.1 | 1 | 151 | 95.9 | 2.1059 | 1.1195 | 1.5746
2013-07-12 | DRE Dock |  | 2-GK | 22 | 0.1 | 1 | 156 | 98.6 | 2.1938 | 1.1224 | 1.5822
2013-07-12 | DRE Dock |  | 2-GK | 23 | 0.1 | 1 | 157 | 99.3 | 2.2053 | 1.1345 | 1.5811
2013-07-12 | DRE Dock |  | 2-GK | 24 | 0.1 | 1 | 158 | 100 | 2.2167 | 1.1466 | 1.58
[8 empty] | Mean | 2.2027 | 1.0776 | 1.5921
[8 empty] | Std | 0.067969 | 0.17686 | 0.038906
[8 empty] | Min | 2.1059 | 0.72434 | 1.5644
[8 empty] | Max | 2.3161 | 1.2184 | 1.6704
Use this spreadsheet for analyses done with the new Turner Designs model 10-AU fluorometer. Assumes 5 ml extracts.