Previous Labs

---
LISST Calibration
AC9
- The LISST-VSF integrated from the angle of the LISST to the angle of the AC9 will give the forward scattering.
- The AC9 does not consider this scattering (bAC9), while the LISST does (bL). The difference in scattering will give forward scattering (bF).
- The LISST measures attenuation, but not absorption (which is angle independent). Use the AC9 absorption to find the LISST scattering.
- Solve for A scaling factor
- Assumptions:
  - AC9 and LISST have the same absorption.
  - LISST beam C is calibrated
  - Scaling Factor is is angle independent.
LISST
Particle	AZ	Chaet	Plat	DRE
A	5.4e-7	1.4e-6	5.0e-7	1.3e-5