## Slide 1: Rrs Sensitivity to Azimuth Angle
Rrs measured at the theoretical optimum angle of 35˚, 135˚ falls in between measurements made at other zenith angles

## Slide 2
Rrs Sensitivity to Zenith Angle
Measurements at multiple zenith angles was limited (only two at the same azimuth angle).
Zenith appears to cause a much larger difference at 45˚ degree azimuth then at a 90 ˚ azimuth

## Slide 3: HyperSAS and WISP Comparison
WISP compares well to HyperSAS data for common zenith and azimuth angles
WISP underestimates Rrs for long wavelengths in both cases
35˚, 135˚
35˚, 180˚