## Slide 1: Sky radiance distribution
Figure give a example of simulated sky radiance distribution with solar zenith angle at 300, in the azimuth planes 00-1800.
The radiance peak occurs in the solar zenith angle and radiance decreased at both directions away the sun.
(Liang and Lewis, 1996)

## Slide 2: Ocean Optic Spectrometer
Detector range: 200-1100 nm
Integration time: 3.8 ms - 10 seconds
Dark noise: 50 RMS counts

## Slide 3: Calibration results
Radiance = Irradiance *R/PI