## Slide 1: An Introduction to Radiometry: Taking Measurements, Getting Closure, and Data Applications
Part I: Guide to Radiometric Measurements

## Slide 2: An Introduction to Radiometry: Taking Measurements, Getting Closure, and Data Applications
Part II: Data Processing and Analysis

## Slide 3: An Introduction to Radiometry: Taking Measurements, Getting Closure, and Data Applications
Part III: Closure and Application

## Slide 4: Dock Test, 07-27-13
A REMIND…

## Slide 5: Dock Test, 07-27-13

## Slide 6: WISP and HyperPro ‘Transformation’
Assumed Dock Test was the most ‘ideal’ control conditions
Assumed HyperSAS was accurate enough to be the ‘right’ system
Used Dock Test spectra for SAS, Pro, and WISP to get ratios Pro/SAS and WISP/SAS for all wavelengths (3 nm bins)
Applied Dock Test ratios to transform cruise data
Assumed ρsky= 0.028

## Slide 7
Cruise 1: River Station

## Slide 10: Before transformation

## Slide 11: After transformation

## Slide 12: After transformation

## Slide 13
Three Lw’s can match if we use ρsky=0.021 instead of 0.028. Therefore, this means we overcorrected sky radiance initially (?).

## Slide 14
Three Rrs’s can match if we use ρsky=0.021 instead of 0.028. Therefore, this means we overcorrected sky radiance initially (?).

## Slide 15: Cruise 1: Ocean Station

## Slide 20
Chlorophyll (mg/m3) |  | 
Date | Lab | Inversed
Jul 15 | ~2.1 | 2.47
Jul 27 | ~2.2 | 1.88
Interesting fact is that inversed results are always better when using WISP-measured Rrs(λ). The estimated non-water absorption anw(λ) and Chl concentration with WISP Rrs(λ) is shown above for dock test on Jul 15 and Jul 27.
Inversion Application Example
Rrs(λ) anw(λ), bbp(λ) Pigments

## Slide 21: CLOSURE ANALYSIS

## Slide 22: Differences between instruments’ response could be explained by:
Offsets between sensors,
Spatial variations during deployment,
Not accurate information about atmospheric conditions and sea level state,
Inappropriate angle corrections,
Handling errors (especially for WISP),
…
Incorrect values of sea-surface reflectance factor, ρ
Due to the lack of more information, some of the corrections we can perform are only assumptions and we can’t justify them.
Hydrolight model provides a very useful tool which can be used for this purpose.

## Slide 23: CRUISE 2- “OFFSHORE” STATION
HyperPRO, noisy and useless signal

## Slide 24: ECOLIGHT SIMULATIONS:
Simulations under different cloud coverage and wind speeds
Inputs: IOPs (aP,bb,aCDOM)
16%
10%

## Slide 25
Same shape between spectra, different magnitude.
1) The measured Rrs at [720-750] significantly higher than zero  open ocean  “dark pixel” correction
2) Imprecise sky and measurement conditions, unknown  try with another rho values

## Slide 26
Mobley (1999)
ρ≈0.034 when φ ≈ 135º, θ ≈43º and U=5 m/s
 | EUCLIDEAN DISTANCE
Without corrections | 0.0076
Forcing Rrs[720-750] = 0 | 8.05E-04
Sea-surface reflectance factor= 0.034 | 0.0014
.

## Slide 27: CRUISE 2- RIVER STATION
Full overcast (no “dark pixel” corrections nor change of sea-surface reflectance factor).
EUCL. DISTANCE | HyperSAS | HyperPRO | WISP | Ecolight
HyperSAS | 0 | 0.0138 | 0.0134 | 0.0215
HyperPRO | 0.0138 | 0 | 0.027 | 0.008
WISP | 0.0134 | 0.027 | 0 | 0.0346
Ecolight | 0.0215 | 0.008 | 0.0346 | 0

## Slide 28
Lab/ Dock test using the Ed sensors under the same light conditions  EdPRO= 1.1Ed SAS
Euclidean_dist [Ecolight-HyperPRO]= 0.0036

## Slide 29: THANK YOU!