## Slide 1: Backscattering sensors
BB9
&
ECO VSF

## Slide 2: ECO VSF
Last week…
After checking the code...

## Slide 3: Comparison VSF vs scattering angles for both instruments

## Slide 4: bb coefficient (all the casts)
Before removing the spikes
After removing the spikes
River station (black and yellow lines) value of bb coefficient much higher

## Slide 5: bb comparison between ECO VSF & BB9 for the Cruise 2
CLOSURE
More differences on the river station. Check again after absorption corrections

## Slide 6
Next steep:
absorption corrections based on AC-S data