## Slide 1
Scattering:
What is it? Who does it?
A few demos to get us going
Why should you care about it?
*includes materials by C. Roesler and C. Mobley

## Slide 2: Scattering Measurement Theory
Ft
Fa
Fb Scattered Radiant Flux
Fo
b = fractional scatterance
per unit distance
b = (-1/x) ln [Ft /Fo] –
(-1/x) ln [Fa /Fo]
= c - a

## Slide 3
Dimensionally, what should scattering dependent on?
When dealing with a single particles, presented as:
Ratio of optical cross section / Geometrical cross section (non-dimensional)
Size (cross-section, volume)
Index of refraction (difference with medium)
Wavelength (in medium)
To get back to scattering units [m-1]:
Optical cross section x concentration of particles

## Slide 4
What physical properties determine the optical properties of particles?
Size, composition (refractive index), shape, internal structure.
These properties interact…

## Slide 5: Small Particle Scattering follows Rayleigh Theory
0 30 60 90 120 150 180
q
b(q)
VSF
500 600 700
Wavelength (nm)
b(l)
Example for water
~ l-4
Similar results for viruses (Balch et al. 2000)

## Slide 6
Scattering by water
Density inhomogeneities:
Water clusters
Water clusters with salt
Spectral dependence: Unlike Rayleigh ~ l-4.32 (e.g. Morel, 1974)
Salts: increase scattering (~30% for 37psu).
Weaker dependence on Temperature and Pressure.
Latest works X. Zhang and co., Optics Express 2009.
Phase function: symmetric and similar
to Rayleigh (D<<l):

## Slide 7
Scattering by CDOM:
Scattering by molecules whose D<<l. Rayleigh scattering:
No evidence in the literature that scattering is significant (the only place I have ever found significant dissolved scattering (cg>ag) was in pore water).

## Slide 8: Large Particle Scattering
Three effects: refraction, reflection and diffraction

## Slide 9: refraction
Changes the speed of propagation leading to directional changes and phase changes

## Slide 10
Backscattering and scattering sensitivity to size:
Based on Mie theory (homogeneous spheres)
Boss et al., 2004, TOS

## Slide 11: b(q) response to particle size distribution
Stramski and Kiefer 1989
r-3
r-5
First let’s talk about particle size distributions

## Slide 12: b(q) and response to particle size distribution
b(q) / Vp
Roesler and Boss, 2008

## Slide 13: b(q) response to index of refraction
b(q) / Vp
Roesler and Boss, 2008

## Slide 14
Light within the ocean is scattered by:
H2O+salts
Colloids
Inorganic particles
Organic particles (bacteria, phytoplankton)
bubbles
What scatters in the oceans:

## Slide 15
What particles scatter in the ocean?
Phytoplankton:
Variable in shape, size and pigment composition.
 Variable in scattering and absorption properties

## Slide 16
What particles scatter in the ocean?
Non-algal particles: Organic and inorganic.
Sand
http://www.aad.gov.au/default.asp
Aggregates:
Silt
Variable in scattering and absorption properties
clay

## Slide 17
Scattering in the oceans (~60,000 1km2 data):

## Slide 18
The bb enigma:
Morel and Ahn, 1991: ‘Algal cells in open ocean, and to lesser extent small heterotrophs, dominate the scattering coefficients; …On the contrary, these organisms are definitely insignificant contributors to the backscattering coefficient.’
Stramski et al., 2001
Stramski et al., 2001: simulating open-ocean (oligotrophic, 0.18mg Chl/m3) 2-3% of the backscattering coefficient is due to plankton. 50% from particles <0.2mm.

## Slide 19
Phase functions:
Stramski et al., 2001

## Slide 20
The bb enigma (or paradox):
Based on Mie theory, backscattering should be dominated by inorganic particles and sub-micron particles (the least known of the bunch).
Yet bbp correlates well with [chl] and POC (>0.7mm):
Huot et al., 2008
Stramski et al., 2008

## Slide 21
An important aside about modeling (using homogeneous O):

## Slide 22
From Clavano et al., 2007
Shape matters:
VSF of large particles depends on <G>.

## Slide 23: Shape approximations for light scattering calculations
Particle radius (mm)
Axis ratio
1
0.1
10
0.1
1
10
oblate
prolate
2
0.5
Mie-Theory
T-matrix
Axis ratios up to convergence limit
T-matrix
Moderate Axis ratios (0.5<AR<2)
Size limit
Slide From Volten

## Slide 24
Meyer, 1979
Relative intensity
An other approach,
Coated spheres:
Backscattering dominated by membrane.

## Slide 25
Measurements across the equatorial Pacific (Dall’olmo et al., 2009):
bbp(D<0.2mm)
bbp(D>0.2mm)
<0.1
No filter effect visible
Uncertainty dominated by uncertainty in bb(H2O)
bbp well correlated with cp

## Slide 26
Angular scattering:
Lo
Incident
Radiance
Lt
Transmitted
Radiance
q
dW
Dx
Ls
Volume scattering function [m-1sr-1]:
Most often assume azymuthal isotropy (only q dependence).
Scattered
Radiance

## Slide 27
Volume Scattering Function (b)
source
detector
Fo
Fb/DW
Fa
b(q) = (-1/x dW) ln[Fb(q)/Fo]

## Slide 28: Back-Scattering Measurements
Fb (q)
Detected flux measurement must correct for attenuated flux along pathlength inner-filter effect x
Define shape of detection area
  Calibration with known substance
  mathematically
b(q) = (-1/x dW) ln[Fb(q)/Fo]
Fo
source
detector
q

## Slide 29
Scattering by phytoplankton
Whitmire et al., 2010
In cultures (watch out for NAP)
Comparison with Mie theory of Stramski et al., 2001
bb+Fchl

## Slide 30
Sullivan and Twardowski (2009):
Consistency from 90->150degrees (except for one study…).
Using one angle to infer backscattering

## Slide 31
Another commercial design: Eco-VSF
Nominal angles: 104, 131, 151degrees
Fit a 3rd order polynomial of bsin(q) including at q=p.
Integrate from p/2 to p.

## Slide 32
New designs to measure backscattering:
Independent of VSF !!!
Gainusa-Bogdan and Boss, 2011
Haubrich et al., 2011, Applied Optics

## Slide 33
Whitmire et al. (2010):
Phytoplankton cultures (5 l):

## Slide 34
Clean
With surfactant
Theory (clean)
Zhang et al., 2002, L&O
Phase function of a population of bubbles:
Scattering by bubbles:

## Slide 35
Scattering by aggregates (and what happen with handling)
For particles with D>>l:
When scattering centers are far enough, IOPs are additive.
Optical properties  cross-sectional area, additive
Depends on aggregate packaging (‘fractal’ dimension).
Spectral dependence of scattering  l0
Aggregates:
Boss et al., 2009

## Slide 36
Summary:
Scattering measurements are useful but are not trivial.
Beware of models…
There still is no consensus about what dominates backscattering -> ocean color.