## calibration
14 | <--- Number of header rows
This is RUNLIST.XLS. This file matches bead calibration runs with their corresponding zscats and Mie theory VSF
| Column A |  | Bead type index
| Column B |  | Marker color
| Column C |  | Marker style
| Column D |  | Bead run ID
| Column E |  | Bead data file (.LOG)
| Column F |  | ZSCAT data file (.ASC or .LOG)
| Column G |  | DCAL file
| Column H |  | BADROWS
| Column I |  | BADRINGS
| Column J |  | Mie data file
1 | [0 0 1] | o | 2a | beads_dec04\beads_2u_3.log | beads_dec04\zsc_diw_122104_1.asc | Ringarea_1102.asc | [] | [1:6] | miebeads/miemonte_4K-02(25322)
1 | [0 0 1] | o | 2b | beads_dec04\beads_2u_4.log | beads_dec04\zsc_diw_122104_1.asc | Ringarea_1102.asc | [] | [1:6] | miebeads/miemonte_4K-02(25322)
1 | [0 0 1] | o | 2c | beads_dec04\beads_2u_5.log | beads_dec04\zsc_diw_122104_1.asc | Ringarea_1102.asc | [] | [1:6] | miebeads/miemonte_4202A(26544)
1 | [0 0 1] | o | 2e | beads_dec04\beads_2u_7.log | beads_dec04\zsc_diw_122104_1.asc | Ringarea_1102.asc | [] | [1:6] | miebeads/miemonte_4202A(26544)
1 | [0 0 1] | o | 2f | beads_dec04\beads_2u_8.log | beads_dec04\zsc_diw_122104_1.asc | Ringarea_1102.asc | [] | [1:6] | miebeads/miemonte_4202A(26544)
3 | [0 1 0] | o | 20d | beads_dec04\beads_20u_4.log | beads_dec04\zsc_diw_122004_2.LOG | Ringarea_1102.asc | [] | [15:32] | miebeads/miemonte_4220A(26484)
3 | [0 1 0] | o | 20e | beads_dec04\beads_20u_5.log | beads_dec04\zsc_diw_122004_2.LOG | Ringarea_1102.asc | [] | [15:32] | miebeads/miemonte_4220A(26484)
3 | [0 1 0] | o | 20f | beads_dec04\beads_20u_6.log | beads_dec04\zsc_diw_122004_2.LOG | Ringarea_1102.asc | [] | [15:32] | miebeads/miemonte_4220A(26484)
3 | [0 1 0] | o | 20g | beads_dec04\beads_20u_7.log | beads_dec04\zsc_diw_122004_2.LOG | Ringarea_1102.asc | [] | [15:32] | miebeads/miemonte_4220A(26484)
3 | [0 1 0] | o | 20h | beads_dec04\beads_20u_8.log | beads_dec04\zsc_diw_122004_2.LOG | Ringarea_1102.asc | [] | [15:32] | miebeads/miemonte_4220A(26484)
3 | [0 1 0] | o | 20i | beads_dec04\beads_20u_9.log | beads_dec04\zsc_diw_122004_2.LOG | Ringarea_1102.asc | [] | [15:32] | miebeads/miemonte_4220A(26484)
3 | [0 1 0] | o | 20j | beads_dec04\beads_20u_10.log | beads_dec04\zsc_diw_122004_2.LOG | Ringarea_1102.asc | [] | [15:32] | miebeads/miemonte_4220A(26484)
3 | [0 1 0] | o | 20k | beads_dec04\beads_20u_11.log | beads_dec04\zsc_diw_122004_2.LOG | Ringarea_1102.asc | [] | [15:32] | miebeads/miemonte_4220A(26484)
5 | [1 0 0] | o | 100g | beads_dec04\beads_100u_7.log | beads_dec04\zsc_diw_122004_1.asc | Ringarea_1102.asc | [] | [9:32] | miebeads/miemonte_4K100(25342)
5 | [1 0 0] | o | 100h | beads_dec04\beads_100u_8.log | beads_dec04\zsc_diw_122004_1.asc | Ringarea_1102.asc | [] | [9:32] | miebeads/miemonte_4K100(25342)
5 | [1 0 0] | o | 100i | beads_dec04\beads_100u_9.log | beads_dec04\zsc_diw_122004_1.asc | Ringarea_1102.asc | [] | [9:32] | miebeads/miemonte_4K100(25342)

## Experiments
Date | Duke Catalog Number | Duke Lot Number | Filename |  | beam-c [1/m] | ID | Notes
2004-12-20 | DIW |  | zsc_diw_122004_1 | ASC |  |  | peristaltic pump running for all zscat and bead experiments 20 Dec
| 4K100 | 25342 | beads_100u_1 | LOG | 0.38 | 100a | Addition series (added ~1 drop)
| 4K100 | 25342 | beads_100u_2 | LOG | 0.67 | 100b | (~2 drop)
| 4K100 | 25342 | beads_100u_3 | LOG | 0.81 | 100c
| 4K100 | 25342 | beads_100u_4 | LOG | 1.48 | 100d
| 4K100 | 25342 | beads_100u_5 | LOG | 1.89 | 100e
| 4K100 | 25342 | beads_100u_6 | LOG | 2.42 | 100f
| 4K100 | 25342 | beads_100u_7 | LOG | 3.45 | 100g
| 4K100 | 25342 | beads_100u_8 | LOG | 4.2 | 100h
| 4K100 | 25342 | beads_100u_9 | LOG | 6.7 | 100i
| 4K100 | 25342 | beads_100u_10 | LOG | ~9
Cleaned
| DIW |  | zsc_diw_122004_2 | ASC
| DIW |  | zsc_diw_122004_2 | LOG
| 4220A | 26484 | beads_20u_1 | LOG | 0.08 | 20a | Addition series
| 4220A | 26484 | beads_20u_2 | LOG | 0.39 | 20b
| 4220A | 26484 | beads_20u_3 | LOG | 0.91 | 20c
| 4220A | 26484 | beads_20u_4 | LOG | 1.49 | 20d
| 4220A | 26484 | beads_20u_5 | LOG | 1.97 | 20e
| 4220A | 26484 | beads_20u_6 | LOG | 2.55 | 20f
| 4220A | 26484 | beads_20u_7 | LOG | 3.15 | 20g
| 4220A | 26484 | beads_20u_8 | LOG | 3.61 | 20h
| 4220A | 26484 | beads_20u_9 | LOG | 4.51 | 20i
| 4220A | 26484 | beads_20u_10 | LOG | 5.53 | 20j
| 4220A | 26484 | beads_20u_11 | LOG | 6.49 | 20k
| 4220A | 26484 | beads_20u_12 | LOG | 7.23 | 20l
Cleaned
| DIW |  | zsc_diw_122004_3 | ASC
| DIW |  | zsc_diw_122004_3 | LOG
| 4K-02 | 25322 | beads_2u_1 | LOG | 11.1 |  | Added ~5 drops (bottle almost empty)
| 4K-02 | 25322 | beads_2u_2 | LOG | 4.7 |  | Diluted by approximately half
Cleaned
| DIW |  | zsc_diw_122004_4 | ASC
2004-12-21 | DIW |  | zsc_diw_122104_1 | ASC |  |  | peristaltic pump running for all zscat and bead experiments 21 Dec
| 4202A | 26544 | beads_2u_3 | LOG | 4.91 | 2a | Dilution series
| 4202A | 26544 | beads_2u_4 | LOG | 1.78 | 2b
| 4202A | 26544 | beads_2u_5 | LOG | 0.99 | 2c
| 4202A | 26544 | beads_2u_6 | LOG | 0.38 | 2d
| 4202A | 26544 | beads_2u_7 | LOG | 8.19 | 2e | Addition series
| 4202A | 26544 | beads_2u_8 | LOG | 11.56 | 2f
| 4202A | 26544 | beads_2u_9 | LOG | 19.24 | 2g
| 4202A | 26544 | beads_2u_10 | LOG | ~28
Cleaned
| DIW |  | zsc_diw_122104_2 | ASC
| 4220A | 26484 | beads_20u_13 | LOG | 0.81 |  | Addition series
| 4220A | 26484 | beads_20u_14 | LOG | 0.95
| 4220A | 26484 | beads_20u_15 | LOG | 1.25
Cleaned
| DIW |  | zsc_diw_122104_3 | ASC
| 6050 | 25307 | beads_50u_1 | LOG | 3.6 | 50a | EZY-CAL; added what was left in bottle and added DIW to fill chamber
| 6050 | 25307 | beads_50u_2 | LOG | 2.4 | 50b | diluted to roughly half concentration