http://www.seabird.com/sites/all/themes/satlantic/images/navigation/286x60-main-logo.png

**Radiometer Service Report**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Date** | 12/1/17 | **SR #:** | 1005502876 | **Sensor Type:** | HyperOCR I |

|  |  |  |  |
| --- | --- | --- | --- |
| **S/N** | 186 | **Customer** | University of Maine |

**Problems Found:**

**No Problems Found.**

**Services Performed:**

**Did Post Calibration and Reality Check.**

**Passed Calibration and Reality Check.**