Profiler II Service Report

| Date | 12/15/17 | SR#: | 1005502876 | Sensor Type: | Profiler II |
| --- | --- | --- | --- | --- | --- |

| S/N | 068 | Customer | University of Maine |
| --- | --- | --- | --- |

Problems Found:

No Problems Found.

Services Performed:

Tested with HyperOCRs that came in for Post Calibration.

Created new SIP file.