

**Profiler II Service Report**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Date** | 12/15/17 | **SR#:** | 1005502876 | **Sensor Type:** | Profiler II |

|  |  |  |  |
| --- | --- | --- | --- |
| **S/N** | 068 | **Customer** | University of Maine |

**Problems Found:**

**No Problems Found.**

**Services Performed:**

**Tested with HyperOCRs that came in for Post Calibration.**

**Created new SIP file.**