## Events
DateTime | Latitude | Longitude | Station | Water Source | Context | Target Depth | Event Type | description | RBR Filename | IFCB filename(s) | Event | Notes
2022-07-08 20:45 | 78.2628 | 11.3133 |  | Peristaltic Pump | TSG | 10 m | IOP |  |  |  | Start IOPs Underway
2022-07-09 06:45 | 80.54 | 13.9299 |  | Peristaltic Pump | TSG | 10 m | IOP |  |  |  | Replace ACS 279 by 091 as 279 had fog on lense and placed ACS091 in bucket
2022-07-09 15:25 | 81.0189 | 26.7968 |  | Peristaltic Pump | TSG | 10 m | IOP |  |  |  | Stop IOPs Underway as ice clogged the pump
2022-07-10 08:20 | 82.5682 | 37.6862 | SU1 | Stern | No | 2, 5 m | Filtration |  |  |  | Sampled HPLC, POC, 18S, IFCB | RBR froze, Nuts failed
2022-07-11 10:32 | 85.5307 | 44.8242 | SU2 | Stern | RBR | 1, 5 m | Filtration |  | 210196_20220711_1249 |  | Sampled HPLC, POC, 18S, Nuts | IFCB Error
2022-07-11 10:32 | 85.5307 | 44.8242 | SU2 | Stern | RBR | 5 m | IOP |  | 210196_20220711_1249 |  | Sampled ACS, LISST with DIW (22.6ºC), FSW (15.8ºC), TSW (15.8ºC)
2022/07/11 ??:?? |  |  | SH1 | NA | NA | NA | Albedo |  |  |  | Albedo measurement on ice, dropped from helicopter
2022-07-12 07:09 | 87.5483 | 67.1534 | SU3 | Peristaltic Pump | No | 10 m | Filtration |  |  |  | HPLC, POC, 18S, Nuts, IFCB, IOPs | Weather did not permit deployment from stern, Impeller pump was clogged due to ice so no TSG data, rust on filters
2022-07-12 07:09 | 87.5483 | 67.1534 | SU3 | Peristaltic Pump | No | 10 m | IOP |  |  |  | Run ACS, LISST, BB3, SUVF with DIW, FSW(14.5ºC), TSW (14.7ºC) | ACS lenses didn't fog despite increasing signal over time with FSW and TSW
2022-07-13 11:10 | 89.8593 | 75.7504 | S01 | Hole | RBR | 40 m | Filtration |  | 210196_20220713_morning |  | Sampled HPLC, POC, 18S | Niskin stuck under ice for a bit, blizard coming so no time for other depth and nuts on ice
2022-07-14 04:40 | 89.9788 | -85.8794 | S02 | Stern | RBR | 5, 20, 40 m | Filtration |  | 210196_20220714_0851 |  | Sampled HPLC, POC, 18S, Nuts, IFCB
2022-07-14 12:12 | 89.9764 | 23.6236 | S02 | Peristaltic Pump | No | 10 m | IOP |  |  |  | Run ACS, LISST, BB3, SUVF with DIW, FSW, TSW | Water was ran 8 hours after being collected, run 20L of each jar. No foggy lenses on ACS or LISST after run.
2022-07-14 13:00 | 89.9737 | 29.2851 | S02 | Hole | RBR |  | Context |  | 210196_20220714_1710_bis |  | Cast on ice to compare with morning cast from stern
2022-07-15 07:28 | 88.0673 | 55.1711 |  | Peristaltic Pump | No | 10 m | IOP |  |  |  | Run ACS, LISST, BB3, SUVF with DIW, FSW, TSW | According to ship GPS we should be at 88º 3' 57.27" N & 55º 12' 0.96" E
2022-07-15 09:32 | 87.9774 | 57.737 | SU4 | Stern | RBR | 5, 20, 40 m | Filtration |  | 210196_20220715_1157 |  | Sampled HPLC, POC, Nuts, IFCB
2022-07-16 06:32 | 85.7384 | 58.9433 | SU5 | Stern | RBR | 5, 20, 40 m | Filtration |  | 210196_20220716 |  | Sampled HPLC, POC, 18S, Nuts, IFCB | Touched ice between deployment of 40m and 20m niskins, ship turned props back on, we waited a bit but still some mixing due to ship, beautiful sky
2022-07-16 11:25 | 85.5508 | 55.9783 | S03 | Peristaltic Pump | No | 10 m | IOP |  |  |  | Sampled sea-ice for IFCB and IOP with pump from 11:19 to 11:31
2022-07-17 07:20 | 84.3365 | 42.7629 | SU6 | Stern | RBR | 5, 20, 40 m | Filtration |  | 210196_20220717_1130 |  | Sampled HPLC, POC, 18S, Nuts, IFCB
2022-07-17 08:19 | 84.2869 | 41.4606 |  | Peristaltic Pump | No | 10 m | IOP |  |  |  | Sampled for IOPs TSW and FSW from 8:11 to 8:27
2022-07-18 13:28 | 80.2484 | 33.5431 | SU7 | Stern | RBR | 5, 20, 35 m | Filtration |  | 210196_20220718_1554 |  | Sampled HPLC, POC, 18S, Nuts, IFCB | Coastal waters, 54 m deep, front of turbid water came closer as we sampled. Started sampling in fog with viz < 100m
2022-07-18 13:45 | 80.2485 | 33.5395 | SU7 | Peristaltic Pump | No | 10 m | IOP |  |  |  | Sampled for IOPs TSW and FSW from 8:11 to 8:27
2022-07-19 14:20 | 79.6216 | 17.8669 | SU8 | Peristaltic Pump | TSG | 10 m | Filtration |  |  |  | Sampled HPLC, POC, 18S, and Nuts | Glacier water
2022-07-20 09:20 | 78.0858 | 20.7498 | SU9 | Peristaltic Pump | TSG | 10 m | Filtration |  |  |  | Sampled HPLC, POC, 18S, Nuts, IFCB | No glaciers near by
2022-07-20 09:32 | 78.0854 | 20.7508 | SU9 | Peristaltic Pump | TSG | 10 m | IOP |  |  |  | Sampled IOPs DIW, FSW, & TSW + BB3 Dark | Sampled from 9:25 to 9:40
2022-07-21 11:15 | 77.0704 | 15.978 |  | Peristaltic Pump | TSG | 10 m | IOP |  |  |  | Start IOPSs Underway
2022-07-21 14:38 | 76.8004 | 14.9935 | SU10 | Stern | RBR | 5, 20, 40 m | Filtration |  | 210196_20220721_1658 |  | Sampled HPLC, POC, 18S, and Nuts
2022-07-21 22:41 | 77.982 | 12.0648 |  | Peristaltic Pump | TSG | 10 m | IOP |  |  |  | Stop IOPS Underway
|  |  |  | Leg 2 (note perisaltic stations are not listed separately here) | [5 empty] | station count
2022-08-23 08:44 | 81.0367 | 14.7917 | SU11 | stern |  | 5,20,40 |  | open water |  | 1 | IOP underway, HPLC, POC, 18S, IFCB, nuts | depths of 20 & 40m uncertain due to rope issue with deployment
2022-08-23 14:30 | 82.1181 | 19.6769 | SU12 | stern |  | 5,20,40 |  | sea ice edge |  | 2 | IOP underway, HPLC, POC, 18S, IFCB (sort of)
2022-08-24 10:34 | 83.9745 | 31.0173 | SU13 | stern |  | 5,20,40 |  | sea ice lead |  | 3 | IOP underway, HPLC, POC, 18S, IFCB, nuts
2022-08-24 14:00 | 86.5781 | 49.1661 | SU14 | stern |  | 5.20.40 |  | polyna |  | 4 | HPLC, POC, 18S, nuts | eric collected for us, no iop
2022-08-25 08:20 | 86.1196 | 41.8996 | SU15 | stern |  | 5,20,40 |  | frazil ice / refreezing lead |  | 5 | HPLC, POC, 18S, IFCB, nuts | peristaltic pump broken (too much air in intake)
2022-08-26 | 90 | na | SU16 | stern |  | 5,20,40 |  | north pole ice station (water came from behind ship after cutting thru ice) |  | 6
2022-08-27 | 89.95 | 34 | S1P1 | on ice |  | 0 |  | drilled through crack in sea ice and got water |  | 7
2022-08-27 | 89.95 | 34 | S2P1 | on ice |  | 0 |  | interface samples below ice (what we thought was melt pond initially) |  | 8 | ifcb
2022-08-27 | 89.95 | 34 | S1C1 |  |  |  |  | core sample from station one (0-3cm, 3-10cm) |  | 9
2022-08-27 | 89.95 | 34 | S2C1 |  |  |  |  | core sample from station two (0-3cm, 3-10cm) |  | 10
2022-08-29 | 84.7383 | 34.7533 | SU17 | stern | [5 empty] | 11 | ifcb
2022-08-29 |  |  | z1 | zodiac sample |  |  |  | see notes for site description |  | 12 | ifcb
2022-08-29 |  |  | z2 | zodiac sample |  |  |  | see notes for site description |  | 13 | ifcb
2022-08-29 |  |  | z3 | zodiac sample |  |  |  | see notes for site description |  | 14
2022-08-29 |  |  | z4 | zodiac sample |  |  |  | see notes for site description |  | 15
2022-08-29 |  |  | z5 | zodiac sample |  |  |  | see notes for site description |  | 16
2022-08-29 |  |  | z6 | zodiac sample |  |  |  | see notes for site description |  | 17
2022-08-29 |  |  | z7 | zodiac sample |  |  |  | see notes for site description |  | 18
2022-08-29 |  |  | z8 | zodiac sample |  |  |  | see notes for site description |  | 19
2022-08-29 |  |  | z9 | zodiac sample |  |  |  | see notes for site description |  | 20
2022-08-29 |  |  | z bonus | zodiac | [5 empty] | 21
2022-08-29 |  |  | s3c | ice core |  |  |  | ice core taken simultaneously as zodiac (0-3,3-10, top ten cm) |  | 22
2022-08-29 |  |  | s4c | ice core |  |  |  | ice core taken simultaneously as zodiac (0-3,3-10, top ten cm) |  | 23
2022-08-30 |  |  | zz1 | zodiac sample | [5 empty] | 24
2022-08-30 |  |  | zz2 | zodiac sample | [5 empty] | 25
2022-08-30 |  |  | zz3 | zodiac sample | [5 empty] | 26
2022-08-30 |  |  | zz4 | zodiac sample | [5 empty] | 27
2022-08-30 |  |  | zz bonus | zodiac | [5 empty] | 28
2022-08-31 |  |  | SU18 | stern sample | 0630 utc |  |  |  |  | 29
2022-09-01 |  |  | FF 1 | zodiac fjord | [5 empty] | 30
2022-09-01 |  |  | FF 2 | zodiac fjord | [5 empty] | 31
2022-09-01 |  |  | FF 3 | zodiac fjord | [5 empty] | 32
2022-09-01 |  |  | FF 4 | zodiac fjord | [5 empty] | 33
2022-09-01 |  |  | FF 5 | zodiac fjord | [5 empty] | 34
2022-09-01 |  |  | FF 6 | zodiac fjord | [5 empty] | 35
2022-09-01 |  |  | FF 7 | zodiac fjord | [5 empty] | 36
2022-09-01 |  |  | FF 8 | zodiac fjord | [5 empty] | 37
2022-09-01 |  |  | FF 9 | zodiac fjord | [5 empty] | 38
2022-09-01 |  |  | SU19 | fjord stern | note ctd hit bottom ….. No niskins collected |  |  |  |  | 39