## Event log
Date | Hours (UTC) | Event | Comments | Filters cleaned (medium and thin) | 0,2µm filter changed | Cleaning optics and sensors | Niskin bottles cleaned & carousel
2023-08-13 |  | Stopover | Cleaning optics, TSG, filters, Fluoroprobe, sensors above wet-lab / 0,2µm filter not changed because cleaned / Niskin bottles cleaned and carousel rinsed | x |  | x | x
2023-08-13 |  | Stopover | Lisst 100x installation, HyperBB calibration
2023-08-14 | 8:25 | Start UDW ship (GPS, BATOS, girouette, compas SAT / PAR)
2023-08-14 | 9:00 | Departure from Bergen
2023-08-14 | 10:00 | UDW Forepeak ON
2023-08-14 | 103:10 | UDW Ulab ON
2023-08-15 |  | Station 063
2023-08-16 |  | UDW ship frozen - data gap from 9:13 to 10:39 | LAN problem during a generator change
2023-08-17 | 6:45 | UDW Ulab OFF
2023-08-17 | 7:00 | Arrival at anchorage
2023-08-17 | 7:00 | UDW Forepeak OFF
2023-08-17 | 7:15 | UDW Forepeak ON again | To see the tide effect
2023-08-17 | 16:07 | UDW Forepeak OFF
2023-08-18 | 5:00 | Arrival at Edinburgh
2023-08-18 | 5:20 | UDW Ship OFF
2023-08-18 |  | Stopover | Cleaning optics, TSG, filters, Fluoroprobe, sensors above wet-lab / 0,2µm filter not changed because it's clean | x | x | x
2023-08-18 |  | Stopover | Cleaning cytosense debubbler / Change tubbing in Ulab / cal check TSG
2023-08-19 | 8:05 | UDW ship ON
2023-08-19 | 8:25 | Departure from Edinburgh
2023-08-19 | 8:50 | UDW Forepeak ON , excepted flowcontrol | It's an oversight
2023-08-19 | 9:10 | UDW Ulab ON, excepted the IFCB | Beam C > 2
2023-08-19 | 9:12 | Flowcontrol (UDW Forepeak) ON
2023-08-19 |  | Station 064
2023-08-20 |  | Station 065
2023-08-20 | 13:57 | UDW ship (SC701, BATOS, girouette, GP32) frozen - data gap from 12:37 to 13:55 | LAN problem during a generator change
2023-08-20 | 14:12 | UDW ship frozen - data gap from 14:12 to 14:36 | LAN problem during a generator change
2023-08-20 | 16:00 | IFCB OFF | Debbuble procedure
2023-08-20 | 18:57 | IFCB ON
2023-08-21 |  | Station 066
2023-08-21 | 9:50 | IFCB OFF | Beam C > 2
2023-08-21 | 14:40 | APC underway found OFF with all instruments and computers plugged on it | Data gap from 12:53 to 14:45
2023-08-21 | 18:30 | IFCB ON | Beam C < 2
2023-08-22 |  | UDW ship (SC701, BATOS, girouette, GP32) frozen - data gap from 19:25 to 19:50 | LAN problem during a generator change
2023-08-22 | 19:50 | Moxa connected on an inverter plug and inverter run all the time
2023-08-23 |  | Station 067
2023-08-23 | 5:55 | Cytosense off for Procline flushing
2023-08-23 | 7:22 | Cytosense ON
2023-08-23 | 7:50 | IFCB OFF for cleaning
2023-08-23 | 20:30 | UDW ship (SC701, BATOS, girouette, GP32) frozen - data gap from 15:58 to 19:35 | LAN problem during a generator change
2023-08-24 | 7:30 | UDW Forepeak OFF for cleaning
2023-08-24 | 7:55 | UDW ULAB OFF for cleaning
2023-08-24 |  | Cleaning | Cleaning optics, TSG, filters, Fluoroprobe, sensors above wet-lab / 0,2µm filter changed / caroussel rinsed but not Niskin bottles | x | x | x | x
2023-08-24 |  | Cleaning | Tubing changed from Debubbler to SUVF by new ones / debubbler cleaned
2023-08-24 | 15:40 | PAR OFF for cleaning | Cleaning sensors above wet-lab
2023-08-24 | 15:46 | PAR ON
2023-08-24 | 16:10 | Fluoroprobe
2023-08-24 | 16:15 | UDW Forepeak ON
2023-08-24 | 16:20 | Cytosense ON for laser adjustment
2023-08-24 | 19:38 | IFCB ON
2023-08-24 | 20:20 | Cytosense OFF | for the night because opened it makes too much noise
2023-08-25 |  | Station 068
2023-08-25 | 6:43 | Cytosense ON | to finish the laser adjustment
2023-08-25 | 9:55 | Cytosense OFF | To remove it in its housing
2023-08-25 | 10:13 | Cytosense ON
2023-08-26 |  | Station 069
2023-08-26 | 7:25 | IFCB OFF for maintenance (camera position adjustment)
| 20:01 | IFCB ON
2023-08-27 |  | Station 070
2023-08-27 | 5:58 | IFCB OFF | Beam C > 2
2023-08-27 | 9:06
2023-08-28 | 9:02 | IFCB ON | Beam C < 2
2023-08-28 | 11:34 | ACS frozen - data gap from 10:39 to 11:34
2023-08-29 |  | Station 071
2023-08-29 | 4:25 | UDW Forepeak OFF for optics cleaning
2023-08-29 | 6:15 | UDW ULAB OFF for cleaning
2023-08-29 |  | Cleaning |  | x | x | x
2023-08-29 | 6:43 | UDW Forepeak ON
2023-08-29 | 8:50 | Fluoroprobe and Cytosense ON
2023-08-29 | 12:10 | IFCB ON
2023-08-29 | 12:15 | UDW Forepeak OFF for changing pump | which make much noise
2023-08-29 | 13:32 | UDW Forepeak ON with a new pump
2023-08-29 | 13:48 | Fluoroprobe OFF for changing tubing
2023-08-29 | 14:16 | Fluoroprobe ON
2023-08-30 | 4:00 | UDW OFF | Transfo 220V-12V burnt and APC removed
2023-08-30 | 9:30 | EDM264 OFF | To remove its APC and plug it on inverter too
2023-08-30 | 9:55 | UDW ship ON | on 24 V…
2023-08-30 | 250:01 | UDW Forepeak ON and fluoroprobe | Excepted Lisst, it doesn't work
2023-08-30 | 10:45 | Cytosense and IFCB ON
2023-08-30 | 12:20 | SUVF OFF
2023-08-30 | 13:20 | UDW forepeak OFF except TSG to install a transfo 220-12V
2023-08-30 | 13:55 | UDW Forepeak ON
2023-08-30 | 22:30 | EDM264 ON
2023-08-31 |  | Station 072
2023-09-01 | 20:00 | UDW ship (SC701, BATOS, girouette, GP32) frozen - data gap from 19:35 to 20:03
2023-09-02 | 10:40 | Stop IFCB for debbubling procedure
2023-09-03 |  | Station 073
2023-09-03 | 18:11 | UDW Forepeak OFF
2023-09-03 | 18:13 | UDW Ulab OFF
2023-09-03 | 19:15 | Arrival to Galway
2023-09-04 |  | Stopover | Cleaning optics, TSG, filters, Fluoroprobe, sensors above wet-lab / 0,2µm filter changed | x | x | x | x
2023-09-04 | 13:13 | PAR OFF
2023-09-05 | 8:50 | Departure from Galway
2023-09-05 |  | Station 074
2023-09-05 | 8:53 | PAR ON
2023-09-05 | 9:00 | UDW Forepeak ON
2023-09-05 | 9:15 | UDW Ulab ON except IFCB | Beam C > 2
2023-09-05 | 9:52 | IFCB ON
2023-09-05 | 14:30 | No communication with IFCB and Cytosense | But cytosense is still sampling
2023-09-05 | 19:45 | IFCB ON
2023-09-05 | 20:10 | pump 1 OFF | It doesn't work
2023-09-05 | 20:15 | UDW Forepeak OFF
2023-09-06 |  | Station 075
2023-09-06 | 5:40 | Pump changed
2023-09-06 | 5:53 | UDW Forepeak ON
2023-09-07 |  | Station 076
2023-09-08 | 8:57 | IFCB and Cytosense OFF
2023-09-08 | 9:04 | UDW Forepeak and Fluoroprobe OFF
2023-09-08 | 9:50 | Arrival to Galway
2023-09-08 | 11:48 | UDW ship OFF
2023-09-09 |  | Stopover | Cleaning optics, TSG, filters, Fluoroprobe, sensors above wet-lab / 0,2µm filter changed
|  | Stopover | cleaning of pumps, flowmeters, debubblers, clarinet under floor, tubing / installation Flora's experiment / new pumps support / TSG and HyperBB calibrations | x | x | x | x
2023-09-15 | 4:45 | UDW Ship ON except PAR / So-Rad / HSP
2023-09-15 | 5:18 | PAR / So-Rad and HSP ON
2023-09-15 | 6:20 | UDW Forepeak ON except Lisst which doesn't work since 30/08
2023-09-15 | 6:25 | Fluoroprobe ON
2023-09-15 | 6:37 | Cytosense ON
2023-09-15 | 7:00 | IFCB ON
2023-09-17 | 21:08 | UDW ship (SC701, BATOS, girouette, GP32) frozen - data gap from 18:05 to 21:08
2023-09-19 | 8:31 | UDW Forepeak OFF | For sealing of the waterproof bulkhead
2023-09-19 | 15:02 | UDW Forepeak ON
2023-09-20 |  | IFCB no recorded files since 18/09 : no trigger and no ROI
2023-09-20 |  | Station 077
2023-09-21 |  | Station 078
2023-09-21 | 15:40 | IFCB ok and ON
2023-09-21 | 22:57 | IFCB OFF | Beam C > 2
2023-09-22 |  | Station 079
2023-09-22 | 8:00 | Cytosense OFF
2023-09-22 | 8:42 | UDW Forepeak and UDW Ulab OFF
2023-09-22 | 9:00 | Arrival to Lorient (commercial port)
2023-09-22 | 14:00 | Arrival to Lorient (right place)
2023-09-22 | 14:08 | UDW ship OFF
|  | Stopover | Cleaning optics, TSG, filters, Fluoroprobe, sensors above wet-lab / 0,2µm filter changed | x | x | x | x
new APC installed in the Ulab
2023-09-24 | 10:09 | UDW Forepeak/ship start qcauisition
2023-09-24 | 10:30 | UDW ULAB start qcauisition
2023-09-24 | 15:07 | UDW forepeak stop acquisition
2023-09-24 | 16:00 | UDW ULAB stop acquisitoion
2023-09-24 | 17:53 | UDW ship stop acquisition
2023-09-25 | 4:15 | UDW ship start acquisition
2023-09-25 | 5:20 | UDW ULAB start acquisition
2023-09-25 | 18:30 | Stop Cytosense acquisition | After discussing with Hugo we realize that the instrument is not performing well. Some tets have been done and apparently the instrument is not dirty. Hugo will have a look on the issue in the following days. In the meantime we will keep the instrument working as usual
2023-09-25 | 19:41 | Stop IFCB because ACS value is higher than 2
2023-09-26 | 15:34 | Start IFCB acquisition
2023-09-27 | 5:55 | Stop IFCB because ACS value is higher than 2
2023-09-27 | 5:55 | Stop Fluroprobe because ACS value is higher than 2
2023-09-27 | 6:42 | Start IFCB acquisition
2023-09-27 | 6:42 | Start Fluoroprobe acquisition
2023-09-27 | 13:55 | Stop IFCB because ACS value is higher than 2
2023-09-27 | 13:55 | Stop Fluroprobe because ACS value is higher than 2
2023-09-27 | 16:56 | Start IFCB acquisition
2023-09-27 | 16:56 | Start Fluoroprobe acquisition
2023-09-28 | 3:50 | Stop UDW Forepeak and ULAB
2023-09-29 | 11:12 | Stop UDW ship acquisition
2023-09-30 | 16:30 | UDW ship start acquisition
2023-10-01 | 2:00 | Start Cytosense acquisition
2023-10-01 | 7:30 | Stop IFCB, Cytosense and Fluorobe | Station inside the river
2023-10-01 | 11:00 | Station 83
2023-10-02 | 11:00 | Station 84
2023-10-03 | 6:50 | Start Cytosense, Fluoroprobe and IFCB acquisition | Open waters, out of the river
2023-10-03 | 11:00 | Station 85
2023-10-04 | 16:00 | Lost conection with the Cytosense
2023-10-04 | 19:34 | Contact with the Cytosense | Start Cytosense acquisition
2023-10-05 | 6:11 | Flowcontrol, the program is not responding, I close the program
2023-10-05 | 6:12 | Flowcontrol ON
2023-10-06 | 7:39 | Stop UDW ship acquisition | Clean the filters and change the filters
2023-10-06 | 8:30 | Start UDW ship acquisition
2023-10-06 | 16:32 | Flowcontrol, the program is not responding, I close the program
2023-10-06 | 16:33 | Flowcontrol ON
2023-10-08 | 18:30 | Stop UDW ship acquisition | ACS value is higher than 2
Cleaning and solve the water leaks
2023-10-09 | 7:00 | Lost communication with SBE9+
Termination problem - termination redone
2023-10-09 | 5:16 | Start UDW ship acquisition
2023-10-11 | 11:44 | Stop UDW ship acquisition

## Note
UDW : | All instruments
UDW Forepeak (with pump SCI1) : | TSG/FlowControl/LISST/ACS/HyperBB/SUVF
UDW U-Lab (with pump SCI2) : | Fluoroprobe/Cytosense/IFCB
UDW ship : | PAR/BATOS/GPS SC701/GPS GP32/Girouette/Compas sat
Other : | EDM (aerosol) in continious