## Event log
Date | Hours (UTC) | Event | Comments | Filters cleaned (medium and thin) | 0,2µm filter changed | Cleaning optics and sensors | Niskin bottles cleaned & carousel
2023-10-18 | 6:50 | Start of acquisition | No GPS32 feed - GPS32 only giving heading data
| 8:00 | Leaks on ACS sleeves | Tubing not appropriate and silicone grease applied a way too much around o-rings
| 9:36 | PUMP Sci2 stopped | IFCB, Cytosense and Fluroprobe acquisition stopped
Evacutaion in the clarinet blocked
2023-10-19 | 12:44 | Science Pump 1&2 stopped | Entering harbour for shelter -36h std by scheduled
| 13:30 | Tara docked - Portside
| 13:44 | IFCB crashed after 3 samples of ASW | Button on IFCB acquire do nothing. I can click on it but nothing happen.
IFCB Acquire stopped and IFCB computer restarted.
2023-10-21 | 16:08 | System restarted
2023-10-23 | 7:46 | IFCB stopped, ACs beam C>2
| 19:26 | IFCB restarted, Acs beam C=2
2023-10-24 | 8:30 | Weather too bad, heading to shelter
| 10:23 | Systems stopped | Entering Porto harbour
|  | Ifcb Stopped | Rinsed with 4 sample of ASW+ biocide
| 16:17 | Underway filters cleaned | Sleeves for Acs still leaking, tried to reduce leaks with sikaflex. | x | x | x
2023-10-25 | 7:15 | Tara leaves Harbour
| 7:26 | Systems restarted
| 10:15 | Ifcb restarted
| 12:00 | Ifcb Stopped. | IFCB Rinsed with 4 samples of ASW+biocide
2023-10-26 | 8:19 | HyperBB8005 new plaque file loaded | Hbb_Cal_Plaque_20230909_162620_avg.mat
2023-10-30 | 8:00 | Systems restarted
2023-10-31 | 13:24 | Pump sci1 stopped | ACS has weird curves
|  |  | Acs tubes and lens cleaned - |  |  | Only ACS
| 14:39 | Pump sci1 stopped again | Curves even weirder…
|  |  | prefilters cleaned | x
After several hours, ACS data look good - we were sailing in very wavy sea, maybe there is a link.
2023-11-01 |  | CytoUSB with error message for aborted measurements | CytoUSB and computer rebooted several time a day.
2023-11-02 |  | CytoUSB with error message for aborted measurements | CytoUSB and computer rebooted several time a day.
2023-11-03 | 7:50 | CytoUSB stopped to back-up data before the station
| 7:57 | IFCB "error in recording files" | I discovered it after 36hours… Last files recorded D20231103T190056_IFCB107
| 8:05 | IFCB rebooted
| 11:48 | All network crashed | IFCB seemed to create a conflict. Once IFCB has been shutdown, network connection back on.
| 11:54 | IFCB rebooted.
| 16:03 | IFCB Stopped | ACS beam c>2
2023-11-04 | 7:58 | IFCB was not stopped… So IFCB stopped | IFCB Rinsed with 4 samples of ASW+micro 90 + 4 sample of ASW
| 12:55 | ACS curves with strange shape agin | We are sailing, wavy sea, not that much, waves arriving from hips aft-starboard, wind at 130° from starboard side,
| 12:57 | IFCB Restarted
2023-11-06 | 9:14 | Both systems stopped for cleaning. | Problem with SUVF top cover, out fittings damaged, leaks a lot. | x |  | x
| 11:56 | Both systems restarted for cruising to ST96
| 19:12 | Pump Sci1 stopped to re-install SUVF
| 19:37 | Pump Sci 1 restarted, without SUVF, still leaking a lot
2023-11-07 | 9:26 | IFCB Stopped | ACS beam c>2
| 10:54 | Pump Sci1 stopped to re-install SUVF
| 11:01 | Pump Sci1 restarted | No more leaks on SUVF
2023-11-08 | 10:52 | IFCB restarted | ACS beam c<2
| 19:25 | Ifcb Stopped. | ACS beam c>2
2023-11-09 | 18:10 | Systems stopped | Arrival at Puerto Sherry
Cytosense rinced with FSW
IFCB rinced and cleaned with ASW, Micro 90 and Biocide.
2023-11-12 | 14:00 | UDW cleaned | " Boite à vase "cleanned as well | x | x | x
During the last week, we fished cattlefish and squid; I found in the filter residual ink… It might have affected measurement between Faro (6/11) and cadiz
2023-11-13 | 17:00 | Calibration done for HyperBB | 3 times
| 22:15 | Both system restarted
2023-11-14 | 5:55 | Recording stopped, entering Morrocan waters
| 12:23 | GPS SC701 - Moxa2 unplugged | Moxa 2 unplugged during the Cadiz stopover and was not re-plugged,
| 13:25 | Both systems restarted
2023-11-15 | 13:01 | ACS curve C spiky | I squeeze tubing close to the pump and filter under the Ulab to remove bubbles. From what I saw, filters medium and thin charged with lot of algaes.
| 14:14 | Same thing | I did the same squeezing

## Note
UDW : | All instruments
UDW Forepeak (with pump SCI1) : | TSG/FlowControl/ACS/HyperBB/SUVF
UDW U-Lab (with pump SCI2) : | Fluoroprobe/Cytosense/IFCB
UDW ship : | PAR/BATOS/GPS SC701/GPS GP32/Girouette/Compas sat
Other : | EDM (aerosol) in continious