## Feuil1
Date | Hours (UTC) | Event | Comments | Filters cleaned | 0,2µm filter changed | Cleaning optics and sensors | Niskin bottles cleaned & carousel
2024-02-28 | 11:23 | Underway system started | Except IFCB, ACS beam C>2
2024-02-28 | 17:50 | IFCB started, ACS beam C~2 | Wanted to test IFCB before the first station on the 29th morning.
2024-02-29 | 13:36 | IFCB stopped, ACS beam c>2
2024-03-01 | 6:41 | IFCB started, ACS beam C~2
2024-03-01 | 14:30 | IFCB stopped, ACS beam c>2
2024-03-01 | 18:05 | IFCB started, ACS beam C~2
2024-03-02 | 20:55 | IFCB stopped, ACS beam c>2,8 | @anchorage for the 24h
2024-03-05 |  | Computer UDW crashed and restarted
2024-03-05 | 6:15 | Instrument restarted | Except HYPER BB, software issue "unhandled exception in the script"
2024-03-05 | 11:19 | HyperBB restarted | Had to add an instruemnt an re-do an HyperBB 8005 configuration in inlinino
2024-03-05 | 21:41 | Computer UDW restarted for update without notice…
2024-03-06 | 1:05 | All ystem restarted
2024-03-06 | 13:00 | Flow control badly set after last restart | Probably 50min of filtrated for 10 minutes of total….
2024-03-07 | 16:36 | Underway system stopped for cleaning |  | x | x | x
2024-03-07 | 18:05 | Underway system restarted
2024-03-10 | around 11:00 | GPS32 not recorded for few hours | Work in progress on the NMEA buffer / GP33 lost com.
2024-03-10 | 12:48 | IFCB Restarted, ACS Beam C~2,6 | Whats app message in the underway group saying OK to restart it even with beam C>2
2024-03-13 | 4:03 | Computer UDW restarted for update without notice… | During a night @ anchorage
2024-03-13 | 6:40 | All system restarted, | Except GPS32, work in progress in the PC Com
2024-03-13 | 8:33 | GPS32 restarted
2024-03-13 | 14:37 | Flowcontrol restarted after a Low flow alert | We are @ anchorage in a bay full of jellyfish, maybe one get caught in the "boite à vase"
2024-03-14 | 6:30 | IFCB Stopped for cleaning
2024-03-14 | 7:30 | Force Filtered for the forepeak before cleaning
2024-03-14 | 7:41 | Underway system stopped for cleaning |  | x | x | x | x
2024-03-14 | 10:22 | System restarted | Flow a bit low, we still cross sea with a lot of jellyfish, we'll check the mud box.
2024-03-14 | 14:24 | Flow too low : +/- 2L/min, system stopped to clean mudbox | Filtered event ran for 10min before stopping the instruments.
2024-03-14 | 15:37 | System restarted, mudbox cleaned |  | x
2024-03-14 | 16:45 | Still have bubbles in the system, Tubing IN for SBE45 was pinched
2024-03-15 | 7:30 | IFCB not recording data | Error message appeared on the software
2024-03-15 | 8:12 | IFCB stopped and restarted after the last sample
2024-03-18 | 4:49 | Systems stopped, Arriving in Barcelona Harbour
2024-03-19 | 13:30 | Underway cleaned |  | x | x | x
2024-03-20 | 5:15 | System restarted
2024-03-20 | 6:37 | IFCB restarted
2024-03-22 | 7:30 | IFCB stopped recording during the night | Error message appeared on the software, last file T202403T041605
2024-03-22 | 7:48 | IFCB software rebooted
2024-03-24 | 7:12 | System stopped to check filter, no difference between Filtered/Total
2024-03-24 | 7:43 | System restarted | Maybe the filter was not well in place in the holder. Purge on top of the filter holder need to be changed (for the IN)