## Feuil1
Date | Hours (UTC) | Event | Comments | Filters cleaned (medium and thin) | 0,2µm filter changed | Cleaning optics and sensors | Niskin bottles cleaned & carousel
2024-03-28 | 11:00 | start cytosense | with thomas
2024-03-28 | 12:30 | Cleen underway system |  | x | x | x
2024-03-30 | 11:00 | Cleen carrusel |  |  |  |  | x
2024-03-30 | 13:30 | Start EDM
2024-03-31 | 9:00 | TARA leave to the Barcelona port
2024-03-31 | 12:30 | start underway system
2024-03-31 | 12:35 | start ifcb | ACS beam c<2
2024-04-01 | 6:37 | do rossete without nmea
2024-04-01 | 17:00 | changue in tightVNC program | un-select debubble before sample
2024-04-01 | betwen 18 - 20 | Ifcb Stopped. | ACS beam c>2
2024-04-02 | 6:14 | do rossete without nmea
2024-04-03 | 6:06 | Do rossete with nmea data | solution found
2024-04-03 | 6:30 | Do not take sample of salinity | Morgan (scienctific cheeif) told me
2024-04-03 | 6:42 | I have been unable establish connection with cytosense for 1 day and a half | theres no data from cyto 02/04/2024
2024-04-03 | 11:00 | System of ifcb cleened | (Biocide procces)
2024-04-03 | 13:15 | Cytosense computer is crasehd, shut down and restart
2024-04-03 | 14:30 | cleen CTD and carrusel |  |  |  |  | x
2024-04-03 | 17:30 | Cytosense computer is crasehd.
2024-04-03 | 18:25 | cytosense restard
2024-04-04 | 1:00 | Leaks in the underway system | metalic rings
2024-04-04 | 3:30 | underway system shut down
2024-04-04 | during nigth | Cytosense computer crash
2024-04-04 | 4:00 | Cytosense shut down
2024-04-04 | 5:00 | TARA arrives to Marsella port
2024-04-04 | 5:30 | Put EDM in standby mode
2024-04-04 | 7:00 | Cleen all underway system |  |  | x | x
2024-04-05 | 7:00 | Try to diqgnostic and repair the So-Rad system | with Stephan
2024-04-05 | 10:00 | Cytosens find solution | follow the steps for find a solution with Hugo.
2024-04-05 | 11:15 | diagnostic and repair so-rad system | I have done everything stephan told me to do (do no find solution), now I must wait to hear from stephan
2024-04-05 | 11:30 | Cytosense take samples for verify the cytosense system | (ALL SAMPLES BETWEEN 03/04/2024 TO 06/04/2024 ARE TESTS) Laser is shifted to the right side (about 40), but hugo told me that it is better if Solen or Thomas do it....
2024-04-06 | 6:00 | Cleen filters |  | x
2024-04-06 | 6:30 | minimum reparations (leakes) in the underway system
2024-04-07 | 5:00 | leave to the Marsella port
2024-04-07 | 5:45 | start underway system
2024-04-07 | 6:00 | IFCB seems that not working good
2024-04-07 | 6:50 | cytosense restart | if we keep the window from the cytosense open, no crash any more!!!!!
2024-04-07 | 7:30 | ifcb restart and working good, but i need to have stoped, the water there is very turvidity | in the next 3 days the ifcb will be stop, becouse we are in the estuari (river mouth) and we have a lot of turbidity
2024-04-08 | 6:40 | Today in see the water green but no brown (turbidity), the ifcb its running | I will turn off the ifcb when we come back to the turbidity area,
2024-04-08 | 12:30 | ifcb stoped | we come back to estuari
2024-04-08 | 14:20 | underway system shut down for cleening | we have been (and continue) in an estuary with cloudy and dirty waters, the filters need to be chqngued and cleened. | x | x | only ACS
2024-04-08 | 14:30 | turn off pump 2 also, for cleen
2024-04-08 | 16:00 | The systems keep shot down becouse we are in the very dirty zone. (Thomas indications) | we will be in very dirty water area during the night, during the day we go to port (pick up journalist), and then we return to dirty water area to do station 124.
2024-04-09 | 4:00 | we will go to the port
2024-04-09 | 5:00 | TARA ancored close to the port
2024-04-09 | 6:10 | TARA leave to the port | we will go to the station 124
2024-04-09 | 7:15 | start cytosense
2024-04-09 | 7:30 | underway system start
2024-04-09 | 8:15 | ifcb start
2024-04-10 |  | Navegation day
2024-04-10 | 15:15 | EDM Switch ON | Sincerely I forgot to turn the EDM back to ON from 07/04 (leqve to Marsell) to 10/04 at 15:15 there is no data :(
2024-04-11 | betwen 01 am - 03 am | IFCB and cytosens was stoped | we may have had a voltage failure during the night, as the IFCB and cytosense did not record data around 2am, the ifcb then continued to take data but the cytosense cracked. But the systel UDW not seems affected
2024-04-11 | 5:45 | Cytosense restart
2024-04-11 | 6:45 | Cytosense crash | system restart
2024-04-11 | 8:00 | Cytosense crash | it seems that the cytosense crashes again, I have reconnected the ethernet cable to the network, as now it seems to lose the wifi connection to the boat.
2024-04-11 | 8:30 | Cytosense restart again
2024-04-11 | 11:00 | Cytosense lost conexion again | I have discovered that if the connection with cytosense is lost, it is necessary to restart it with the red button on the connection box, otherwise it will not connect again. |  |  |  | x
2024-04-11 | 11:30 | cleen CTD and carrusel | All system had been cleen after each station
2024-04-11 | 12:00 | Stop the IFCB | ACS beam c>2 / we are close to the port of Nice
2024-04-11 | 12:15 | Cytosense is crash again | if you stay on the UDW PC with the cytosense window on, cytosense will neither close nor crash, but if you switch to the CTD PC or minimize the window, it will fail.
2024-04-11 | 12:20 | Cytosense Stop | we are close to the port of Nice
2024-04-11 | 13:20 | Arrive ubication for do photos (close to the port) | Keep close to the nice port for doing photos with dron
2024-04-11 | 14:30 | stop pump 1 and 2 and shut down UDW System