## Event log
Date | Hours (UTC) | Event | Comments | Filters cleaned (medium and thin) | 0,2µm filter changed | Cleaning optics and sensors | Niskin bottles cleaned & carousel
|  | Mob | Installation of ACS, Lisst, TSG, SBE38, PAR, EDM264, ASM charger, 0.2µm filter/ TSG and HyperBB calibrations / check IFCB | x | x | x
|  | Mob | Cleaning of debubblers, pumps, tubing between pump2 and Ulab clarinet / Tubing changed of Forepeak water circuit and between water intake and pump2 of Ulab water circuit
2024-02-19 | 7:10 | Start UDW ship (GPS SC701 and GP32, BATOS, girouette / PAR)
2024-02-19 | 11:00 | Departure from PSL
2024-02-19 | 12:43 | UDW Forepeak ON (SBE38/TSG/ACS/SUVF/HYPERBB/LISST100) | But the Flowcontrol has a new dashboard on Inlinino and periods filtred and total are reversed only ten minutes per hour are total during 2 hours
2024-02-19 | 13:53 | ACS found not saving - data gap from 13:52 to 13:53
2024-02-19 | 13:57 | Pump 2 ON/OFF | but the water circuit Ulab is leaking
2024-02-19 | 14:53 | Flowcontrol settings changed | Interval schedule (every : 0min/duration : 50min)
2024-02-19 | 15:03 | Flowcontrol settings changed | Interval schedule (every : 60min/duration : 50min)
2024-02-19 | 15:12 | Flowcontrol settings changed | Hourly schedule (every : 60min/duration : 50min)
2024-02-19 | 15:30 | Pump 2 ON/OFF | But there is always a leak on the water circuit Ulab
2024-02-19 | 15:45 | Flowcontrol settings changed | Hourly schedule (every : 10min/duration : 50min)
2024-02-19 | 16:20 | Pump 2 ON and start IFCB with a test sample
2024-02-20 | 9:10 | Start EDM
2024-02-20 | 14:50 | ACS found not saving - data gap from 14:49 to 14:50
2024-02-21 | 4:00 | Bubbles in the IFCB in 3 files | "D20240221T031911_IFCB107" / "D20240221T034019_IFCB107" / "D20240221T040128_IFCB107"
2024-02-21 | 13:26 | Stop UDW Forepeak | To replace a leaking part of tube a of ACS
2024-02-21 | 13:42 | UDW Forepeak restarted
2024-02-22 | 7:00 | Test pumps A20 and A40
2024-02-22 | 14:01 | UDW Forepeak stopped
2024-02-22 | 14:03 | IFCB stopped
2024-02-22 | 14:30 | Arrival at Malaga
|  | Stopover | Cleaning optics, TSG, filters, sensors above wet-lab / 0,2µm filter changed / caroussel rinsed and Niskin bottles cleaned | x | x | x | x
|  | Stopover | Installation of SBE9+ and CTD sensors / vertical post changed / winch pulley MKII changed
|  | Stopover | Cstar calibration and dark measures of optics sensors
|  | Stopover | DATA check
2024-02-26 | 13:50 | UDW ship stopped | to clean the PAR sensor and data check

## Note
UDW : | All instruments
UDW Forepeak (with pump SCI1) : | TSG/FlowControl/LISST/ACS/HyperBB/SUVF
UDW U-Lab (with pump SCI2) : | Fluoroprobe/Cytosense/IFCB
UDW ship : | PAR/BATOS/GPS SC701/GPS GP32/Girouette/Compas sat
Other : | EDM (aerosol) in continious