## CTD_log
UTC | Lat | Long | Time | Time |  |  |  | Cable | MAX | Secchi | Con |  | # | VR | UVP | cast | dwnload |  |  | ISUS | back | CTD | Light | Chrg |  |  | ROSETTE MEMORY IS FULL AT : | 533,333 | scans
Date | (N) | (E) | Start | End | Type | Stn | Nominal | out | Press | (m) | File |  | Niskin | volt | volt | time | time | pdfs? | UVP? | data? | up ? | smpls | Test |  | Leg | Comments | SMALL CTD MEMORY FULL AT : | 888,888 | scans
2009-10-05
2009-10-08 |  |  |  |  | Carousel | Trial 1 | 1000 |  |  |  | sbe_9c_20091201_AV4.con | tara_sbe_9C_091008_01a |  | 14.1 |  |  |  | N |  | N | [5 empty] | Bottles did not fire
2009-10-08 |  |  |  |  | Carousel | Trial 2 | 1000 |  |  |  | sbe_9c_20091201_AV4.con | tara_sbe_9C_091008_02a |  | 13.8 |  |  |  | N |  | N | [5 empty] | Do not know where bottles fired
2009-10-11 | 43 21.645 | 007 53.668 | 6:52 | 7:52 | Carousel | 12a | 1500 | 1658 | 1678 |  | sbe_9c_20091201_AV4.con | tara_sbe_9C_091011_01 | 10 | 14.3 |  | 1:00 |  | Y |  | N | Y |  |  |  | Nice - Bizerte | charger 15.6 - 15.1V
2009-10-11 | 43 20.835 | 007 53.153 | 13:48 | 13:56 | Carousel | 12t | 200 | 270 | 275 |  | sbe_9c_20091201_AV4.con | tara_sbe_9C_091011_02 | 10 | 13.9 |  | 0:08 |  | Y |  | N | Y |  |  |  | Nice - Bizerte | bottle firing test of bottle logic
2009-10-11 | 43 20.583 | 007 53.391 | 14:25 | 14:44 | Carousel | 12b | 500 | 500 | 510 |  | sbe_9c_20091201_AV4.con | tara_sbe_9C_091011_03 | 10 |  |  | 0:19 |  | Y |  | N | Y |  |  |  | Nice - Bizerte
2009-10-14 | 37 59.576 | 008 02.888 | 8:22 | 9:20 | standalone | 13 | 800 | 1000 | 507 |  | sbe_9s_091010.con | tara_sbe_9s_091014_01 | - |  |  | 0:58 | 40 mins | Y | N | N | Y |  |  |  | Nice - Bizerte | Marginal weather
2009-10-18 | [25 empty] | New Config File inc AV changes (now set to 1 Flxé & CDOM)
2009-10-20 | 39 53.534 | 012 50.846 | 15:38 | 16:18 | Carousel | 14 | 800 |  | 805 |  | sbe_9c_20091201.con | tara_sbe_9C_091020_01 | 10 | 14.9 |  | 0:40 | 45 mins | Y | Y | Y | Y |  |  |  | Bizerte - Naples
2009-10-20 |  |  | marc gone | [20 empty] | Y |  | Isus test on deck maybe 45 mins CTD power
2009-10-24 |  |  |  |  | Carousel | test | [11 empty] | N | N | Y | [5 empty] | no UVP, testing new crew + ISUS
2009-10-25 | 39 59.569 | 013 52.291 | 12:30 | 12:53 | standalone | 15 | 200 | 280 | 220 |  | sbe_9s_091204.con | tara_sbe_9s_091025_01 |  |  |  | 0:23 |  | Y | N | N | Y |  |  |  | Naples - Malta
2009-10-25 | 39 56.543 | 013 45.955 | 15:26 | 16:30 | standalone | 15 | 400 |  | 530 |  | sbe_9s_091204.con | tara_sbe_9s_091025_02 | 3 |  |  | 1:04 |  | Y | N | N | Y | 246,384 |  |  | Naples - Malta
Y
2009-10-27 | 37 29.716 | 015 29.664 | 8:25 | 8:38 | Carousel | 16 | 200 | 220 | 210 |  | sbe_9c_20091201.con | tara_sbe_9C_091027_01 |  | 14.2 |  | 0:13 |  | Y | Y | Y | Y |  |  |  | Naples - Malta
2009-10-27 | 37 30.720 | 015 30.016 | 12:47 | 13:39 | Carousel | 16 | 1000 | 1050 | 840 |  | sbe_9c_20091201.con | tara_sbe_9C_091027_02 | failed | 13.5 |  | 0:52 | 44 mins | Y | Y | Y | Y |  |  |  | Naples - Malta | Ran out of Battery power 725m upcast. FUCK. Charged 3 hours immediately after. T sensor offset after 200m
2009-10-27 | 37 17.936 | 015 24.466 | 19:21 | 19:48 | Carousel | 16 | 400 | 500 | 410 |  | sbe_9c_20091201.con | tara_sbe_9C_091027_03 | 10 |  |  | 0:27 |  | Y | Y | Y | Y |  |  |  | Naples - Malta | 400m bottle did not trip. Did not go passed 440 or up 30
[23 empty] | Y | Y
2009-10-28 | 36 16.719 | 014 18.460 | 12:31 | 12:51 | Carousel | 17 | 200 | 200 | 205 |  | sbe_9c_20091201.con | tara_sbe_9C_091028_01 |  | 14.6 |  | 0:20 | 30 mins | Y | Y | Y | Y |  |  |  | Naples - Malta
2009-10-28 | 36 14.446 | 014 18.455 | 15:08 | 15:31 | Carousel | 17 | 400 | 400 | 265 |  | sbe_9c_20091201.con | tara_sbe_9C_091028_02 |  | 14.2 |  | 0:23 |  | Y | Y | Y | Y |  |  |  | Naples - Malta | Bombed out of memory! Fuck. Reset mem.
Y
2009-11-02 | 35 45.464 | 014 15.653 | 360:00 | 8:34 | Carousel | 18 | 200 | 230 | 225 |  | sbe_9c_20091201.con | tara_sbe_9C_091102_01 |  | 14 |  | -14.6431 | 21 mins | Y | N | Y | Y |  |  |  | Malta - Malta | No UVP. Computer date accidentally set to SEPTEMBER
2009-11-02 | 35 45.633 | 014 15.129 | 12:45 | 13:21 | Carousel | 18 | 800 | 770 | 740 |  | sbe_9c_20091201.con | tara_sbe_9C_091102_02 | 10 | 13.6 | 26.6 | 0:36 | 46 mins | Y | N | Y | Y |  |  |  | Malta - Malta | No UVP. Computer date accidentally set to SEPTEMBER
2009-11-09 | [23 empty] | Y
2009-11-11 | 34 12.759 | 013 46.530 | 16:36 | 16:55 | standalone | 19 | 200 | 295 | 150 |  | sbe_9s_091204.con | tara_sbe_9s_091111_01 |  | 14.96 | - | 0:19 |  | Y | - | - | Y |  | - | - | Tripoli - Malta
2009-11-11 | 34 13.032 | 013 55.344 | 19:04 | 19:37 | standalone | 19 | 100 | 198 | 150 |  | sbe_9s_091204.con | tara_sbe_9s_091111_02 | 3 | 15 | - | 0:33 |  | Y | - | - | Y | 335,526 | - | - | Tripoli - Malta | Water not used only 4 scientists
Y
2009-11-12 | 34 27.800 | 014 55.042 | 7:57 | 8:10 | standalone | 20 | 250 | 300 | 225 |  | sbe_9s_091204.con | tara_sbe_9s_091112_01 |  | 15.4 | - | 0:13 | 15 mins | Y | - | - | Y | - | - | - | Tripoli - Malta
2009-11-12 | 34 30.279 | 014 53.949 | 11:47 | 12:14 | standalone | 20 | 100 | 130 | 110 |  | sbe_9s_091204.con | tara_sbe_9s_091112_02 | 2 | 15 | - | 0:27 | 18 mins | Y | - | - | Y | 399,212 | - | - | Tripoli - Malta
2009-11-13 | [25 empty] | Changes to Fluor offset
2009-11-14 | [13 empty] | 15.6 | 29 | [6 empty] | 77,145 | Y |  |  | Re-installed NiCads. Set ISUS to -5 to 20 umol
2009-11-15 | 37 30.422 | 017 13.423 | 8:07 | 8:54 | Carousel | 21 | 1000 | 1005 | 900 |  | sbe_9c_20091201.con | tara_sbe_9C_091115_01 |  | 15.4 | 28 | 0:47 | 60 mins | Y | Y | Y | Y | 166,177 |  |  | Malta - Dubrovnik | Long station, became short station
2009-11-15 | 37 30.922 | 017 20.425 | 11:31 | 11:52 | Carousel | 21 | 500 | 510 | 430 |  | sbe_9c_20091201.con | tara_sbe_9C_091115_02 | 10 | 14.4 | 28.6 | 0:21 | 40 mins | Y | Y | Y | Y | 210,580 |  |  | Malta - Dubrovnik | 3x Salinity Samples
2009-11-15 | [22 empty] | Y | Y |  | Confile incl new cal numbers for Cstar, FL, CDOM. ISUS back to -(-100
2009-11-16 | 39 50.153 | 017 24.291 | 8:08 | 8:30 | Carousel | 22 | 200 | 210 | 210 | 14 | sbe_9c_20091201.con | tara_sbe_9C_091116_01 |  | 14.5 | 29.5 | 0:22 | 30 mins | Y | Y | Y | Y | 237,182 |  |  | Malta - Dubrovnik
2009-11-16 | 39 48.753 | 017 24.833 | 13:32 | 14:14 | Carousel | 22 | 1000 | 740… | 740… |  | sbe_9c_20091201.con | tara_sbe_9C_091116_02 | 10 | 14.1 |  | 0:42 | 60 mins | Y | Y | Y | Y | 307,247 |  |  | Malta - Dubrovnik | CTD data went crazy, think its FLASH, so initialized. MEM=0
2009-11-16 | 39 50.128 | 017 23.571 | 20:15 | 20:37 | Carousel | 22 | 200 | 200 | 205 |  | sbe_9c_20091201.con | tara_sbe_9C_091116_03 |  | 13.9 |  | 0:22 | 20 mins | Y | Y | Y | Y | 31,951 |  |  | Malta - Dubrovnik | CTD OK!!!!!
[23 empty] | Y | Y
2009-11-18 | 42 12.321 | 017 42.841 | 8:28 | 8:40 | Carousel | 23 | 200 | 200 | 203 | 21 |  | tara_sbe_9C_091118_01 |  | 14.2 | 29.4 | 0:12 | 20 mins | Y | Y | Y | Y | 57,393 |  |  | Malta - Dubrovnik | SOMETHING FISHY GOING ON WITH BATTERIES
2009-11-18 | 42 10.462 | 017 43.163 | 12:44 | 13:07 | Carousel | 23 | 1000 | 450 | 460 |  | sbe_9c_20091201.con | tara_sbe_9C_091118_02 | 10 | 13.5 |  | 0:23 | 20 mins | Y | Y | Y | Y | 94,191 |  |  | Malta - Dubrovnik
2009-11-18 | 42 08.895 | 017 44.597 | 18:25 | 18:39 | Carousel | 23 | 200 | 200 | 203 |  | sbe_9c_20091201.con | tara_sbe_9C_091118_03 |  | 14 | 28.6 | 0:14 | 20 mins | Y | Y | Y | Y | 117,802 |  |  | Malta - Dubrovnik | External battery only. T and C some offsets…jellyfish
Y
2009-11-21 | 42 27.312 | 017 56.085 | 11:10 | 11:26 | Carousel | 24 | 250 | 280 | 285 |  | sbe_9c_20091201.con | tara_sbe_9C_091121_01 |  | 14.5 | 29.4 | 0:16 | 24 mins | Y | Y | Y |  | 146,078 |  |  | Dubrovnik - Dubrovnik | All good!
2009-11-21 | 42 27.518 | 017 58.163 | 14:02 | 14:19 | Carousel | 24 | 250 | 250 | 255 | 25 | sbe_9c_20091201.con | tara_sbe_9C_091121_02 | 10 | 14 | 28.9 | 0:17 |  | Y | Y | Y |  | 176,944 |  |  | Dubrovnik - Dubrovnik
[23 empty] | Y | Y
2009-11-23 | 39 23.263 | 019 23.458 | 9:16 | 9:31 | Carousel | 25 | 210 | 210 | 212 | 22 | sbe_9c_20091201.con | tara_sbe_9C_091123_01 |  | 14.7 | 29.4 | 0:15 | 20 mins | Y | Y | Y | Y | 201,308 |  |  | Dubrovnik - Athens | All good!
2009-11-23 | 39 24.513 | 019 22.844 | 12:42 | 13:28 | Carousel | 25 | 1000 | 1000 | 970 |  | sbe_9c_20091201.con | tara_sbe_9C_091123_02 | 10 | 14.5 | 28.5 | 0:46 | 60 mins | Y | Y | Y | Y | 271,838 |  |  | Dubrovnik - Athens
2009-11-23 | 39 19.734 | 019 27.418 | 19:47 | 20:01 | Carousel | 25 | 210 | 210 | 206 |  | sbe_9c_20091201.con | tara_sbe_9C_091123_03 |  | 14.2 | 28.4 | 0:14 | 20 mins | Y | Y | Y | Y | 303,990 |  |  | Dubrovnik - Athens | On deck test with Wetlabs caps see Wetlabs_DeckCal_LOG.xls
[23 empty] | Y | Y
2009-11-24 | 38 28.085 | 020 10.466 | 7:53 | 8:08 | Carousel | 26 | 200 | 220 | 205 |  | sbe_9c_20091201.con | tara_sbe_9C_091124_01 |  | 14.6 | 29.5 | 0:15 | - | Y | Y | Y | Y | 329,211 |  |  | Dubrovnik - Athens | All good!
2009-11-24 | 38 23.795 | 020 12.020 | 10:19 | 10:49 | Carousel | 26 | 500 | 500 | 480 | 17 | sbe_9c_20091201.con | tara_sbe_9C_091124_02 | 10 | 14.1 | 29 | 0:30 | - | Y | Y | Y | Y | 370,125 |  |  | Dubrovnik - Athens | Reset_FD on UVP. Reset Memory on rosette
2009-12-03 | 33 22.192 | 32 35.492 | 18:57 | 19:41 | Carousel | 27_r8 | 1000 |  | 882 |  | sbe_9c_20091201.con | tara_sbe_9C_091203_01 | 10 | 14.7 | 29.1 | 0:44 |  | Y | Y | Y | Y
2009-12-03 | 33 31.473 | 32 40 330 | 23:30 | 23:56 | Carousel | 27_r7 | 1000 |  | 950 |  | sbe_9c_20091201.con | tara_sbe_9C_091203_02 | 0 |  |  |  |  | Y | Y | Y | Y
2009-12-04 | 33 58.939 | 32 43.254 | 2:58 | 3:27 | Carousel | r6 | 1000 |  | 632 |  | sbe_9c_20091201.con | tara_sbe_9C_091204_03 | 10 |  |  |  |  | Y | Y | Y | Y
2009-12-04 | 33 45.334 | 32 45.466 | 5:37 | 6:26 | Carousel | r5 | 1000 |  | 330 |  | sbe_9c_20091201.con | tara_sbe_9C_091204_04 | 10 |  |  |  |  | Y | Y | Y | Y |  |  |  |  | corrupted
2009-12-04 | 33 55.548 | 32 54.674 | 9:09 | 9:49 | Carousel | 27_r4 | 1000 |  | 967 |  | sbe_9c_20091201.con | tara_sbe_9C_091204_05 | 10 |  |  |  |  | Y | Y | Y | Y
2009-12-04 | 34 00.926 | 32 53.699 | 13:03 | 13:53 | Carousel | r3 | 1000 |  | 993 |  | sbe_9c_20091201.con | tara_sbe_9C_091204_06 | 10 |  |  |  |  | Y | Y | Y | Y
2009-12-04 | 34 07.977 | 32 54.273 | 15:51 | 16:33 | Carousel | r2 | 1000 |  | 992 |  | sbe_9c_20091201.con | tara_sbe_9C_091204_07 | 10 |  |  |  |  | Y | Y | Y | Y
2009-12-04 | 34 17.319 | 32 59.601 | 20:30 | 21:07 | Carousel | r1 | 1000 |  | 987 |  | sbe_9c_20091201.con | tara_sbe_9C_091204_08 | 10 |  |  |  |  | Y | Y | Y | Y
2009-12-05 | 33 55.908 | 33 01.708 | 2:46 | 3:31 | Carousel | r9 | 1000 |  | 1006 |  | sbe_9c_20091201.con | tara_sbe_9C_091205_09 | 10 |  |  |  |  | Y | Y | Y | Y
2009-12-05 | 33 55.416 | 33 11.860 | 5:53 | 6:27 | Carousel | r10 | 1000 |  | 981 |  | sbe_9c_20091201.con | tara_sbe_9C_091205_10 | 10 |  |  |  |  | Y | Y | Y | Y
2009-12-05 | 33 55.179 | 33 22.119 | 10:17 | 11:05 | Carousel | r11 | 1000 |  | 999 |  | sbe_9c_20091201.con | tara_sbe_9C_091205_11 | 10 |  |  |  |  | Y | Y | Y | Y
2009-12-05 | 33 55.604 | 33 31.519 | 13:33 | 14:19 | Carousel | r12 | 1000 |  | 1004 |  | sbe_9c_20091201.con | tara_sbe_9C_091205_12 | 10 |  |  |  |  | Y | Y | Y | Y
2009-12-06 | 34 24.585 | 33 01.590 | 4:48 | 5:28 | Carousel | r00 | 1000 |  | 1004 |  | sbe_9c_20091201.con | tara_sbe_9C_091205_13 | 10 |  |  |  |  | Y | Y | Y | Y
2009-12-09 | 34 11.302 | 33 34.108 | 14:27 | 15:09 | Carousel | 28_r13 | 1000 |  | 1004 |  | sbe_9c_20091201.con | tara_sbe_9C_091209_14 | 10 |  |  |  |  | Y | Y | Y | Y
2009-12-14 | 33 54.881 | 35 19.005 | 11:24 | 12:04 | standalone | 29 | 1000 | 1000 | 961 |  | sbe_9s_091204.con | tara_sbe_9s_091214_01 | 0 | 15 | - | 0:40 | 18 mins | Y | Y | Y | Y |  | - | - | Beyruth - Alexandrie | Cross-calibration
2009-12-14 | 33 55.372 | 35 20.004 | 12:08 | 12:51 | Carousel | 29 | 1000 | 1000 | 972 |  | sbe_9c_20091201.con | tara_sbe_9C_091214_01 | 10 | 14.3 |  | 0:43 |  | Y | Y | Y | Y |  |  |  | Beyruth - Alexandrie | Cross-calibration
2009-12-15 | 33 55.077 | 32 53.662 | 10:45 | 10:55 | Carousel | 30 | 200 | 200 | 196 |  | sbe_9c_20091201.con | tara_sbe_9C_091215_01 | 0 | 13.9 |  | 0:10 |  | Y | Y | Y | Y |  |  |  | Beyruth - Alexandrie | detect DCM
2009-12-15 | 33 55.213 | 32 50.502 | 13:39 | 14:20 | Carousel | 30 | 1000 | 1000 | 992 |  | sbe_9c_20091201.con | tara_sbe_9C_091215_02 | 10 |  |  |  |  | Y | Y | Y | Y |  |  |  | Beyruth - Alexandrie | Sampling
2009-12-15 | 33 55.408 | 32 49.708 | 15:12 | 15:43 | Carousel | 30 | 135 | 135 | 135 |  | sbe_9c_20091201.con | tara_sbe_9C_091215_03 | 10 |  |  |  |  | Y | Y | Y | Y |  |  |  | Beyruth - Alexandrie | for biology
2009-12-15 | 33 55.471 | 32 47.088 | 16:05 | 16:18 | Carousel | 30 | 135 | 135 | 126 |  | sbe_9c_20091201.con | tara_sbe_9C_091215_04 | 10 |  |  |  |  | Y | Y | Y | Y |  |  |  | Beyruth - Alexandrie | for biology
2009-12-15 | 33 55.468 | 32 46.100 | 16:48 | 16:52 | Carousel | 30 | 135 | 135 | 120 |  | sbe_9c_20091201.con | tara_sbe_9C_091215_05 | 10 |  |  |  |  | Y | Y | Y | Y |  |  |  | Beyruth - Alexandrie | for biology
2009-12-15 | 33 55.723 | 32 44.597 | 17:10 | 17:32 | Carousel | 30 | 500 | 500 | 426 |  | sbe_9c_20091201.con | tara_sbe_9C_091215_06 | 10 |  |  |  |  | Y | Y | Y | Y |  |  |  | Beyruth - Alexandrie | for biology
Y
2010-01-09 | 27 09.3 | 034 49.8 | 7:36 | 7:49 | Carousel | 31 | 300 | 300 | 298 | 35 | sbe_9c_20091201.con | tara_sbe_9C_100109_01 |  | 14.4 | 29.1 | 0:13 |  | Y | Y | Y | Y | 383374 | Y |  | Sharm - Jeddah | Oxygen ???
2010-01-09 | 27 08.7 | 034 48.4 | 10:03 | 10:46 | Carousel | 31 | 880 | 880 | 886 |  | sbe_9c_20091201.con | tara_sbe_9C_100109_02 | 10 | 13.8 | 28.4 | 0:43 |  | Y | Y | Y | Y | 478417 |  |  | Sharm - Jeddah
[23 empty] | Y | Y
2010-01-11 | 27 21.6 | 037 13.1 | 7:22 | 7:45 | Carousel | 32 | 200 | 220 | 219 | 31 | sbe_9c_20091201.con | tara_sbe_9C_100111_01 |  | 14.5 | 29.5 | 0:23 |  | Y | Y | Y | Y | 501139 |  |  | Sharm - Jeddah | CTD memory reset after this cast
2010-01-11 | 23 23.2 | 037 12.8 | 9:43 | 10:20 | Carousel | 32 | 1000 | 950 | 952 |  | sbe_9c_20091201.con | tara_sbe_9C_100111_02 | 10 |  |  | 0:37 |  | Y | Y | Y | Y | 55548 |  |  | Sharm - Jeddah
2010-01-11 | 23 22.8 | 037 17.7 | 19:20 | 19:32 | Carousel | 32 | 200 | 220 | 208 |  | sbe_9c_20091201.con | tara_sbe_9C_100111_03 |  | 13.8 | 28.5 | 0:12 |  | Y | Y | Y | Y | 78306 |  |  | Sharm - Jeddah
Y
2010-01-13 | 21 58.8 | 038 14.1 | 8:04 | 8:27 | Carousel | 33 | 200 | 250 | 155 | Too much drift | sbe_9c_20091201.con | tara_sbe_9C_100113_01 |  | 14.8 | 29.6 | 0:23 |  | Y | Y | Y | Y | 111362 | Y |  | Sharm - Jeddah | Interesting double peak in Chl.
2010-01-13 | 22 07.4 | 038 11.9 | 11:02 | 11:32 | Carousel | 33 | 700 | 900 | 640 |  | sbe_9c_20091201.con | tara_sbe_9C_100113_02 | 10 | 14 | 27.9 | 0:30 | 1:25 | Y | Y | Y | Y | 168328 |  |  | Sharm - Jeddah | Ships Drift 2-3 kn!
Y
2010-01-20 | 18 23.8 | 039 52.6 | 4:50 | 5:10 | Carousel | 34 | 200 | 200 | 203 | Too much drift | sbe_9c_20091201.con | tara_sbe_9C_100120_01 |  | 14.6 | 29.5 | 0:20 | 45 mins | Y | Y | Y | Y | 170608 |  |  | Sharm - Jeddah
2010-01-20 | 18 23.9 | 039 51.3 | 7:47 | 8:27 | Carousel | 34 | 1000 | 1000 | 982 |  | sbe_9c_20091201.con | tara_sbe_9C_100120_02 | 10 |  |  | 0:40 | 100 mins! | Y | Y | Y | Y | 258809 |  |  | Sharm - Jeddah | 3x Salinity Samples
2010-01-20 | 18 24.1 | 039 51.0 | 8:38 | 9:21 | standalone | 34 | 1000 | 1100 | 1020 |  | sbe_9s_091216.con | tara_sbe_9s_100120_01 |  | 14.4 |  | 0:43 |  | Y |  |  | Y | 132623 |  |  | Sharm - Jeddah | Cross-calibration
2010-01-20 | 18 28.6 | 039 55.6 | 19:42 | 20:04 | Carousel | 34 | 200 | 213 | ?? |  | sbe_9c_20091201.con | tara_sbe_9C_100120_03 |  | 13.8 | 27.8 | 0:22 |  | Y | Y | Y | Y | 290152 |  |  | Sharm - Jeddah | Data corrupted after 25m, Flash Initialized, Memory =0
Y

## Plot_Settings
| max | min | DIV | div | dec |  |  | max | min | DIV | div | dec
Temp | 10 | 30 | 4 | 5 | 2 |  | Temp | 10 | 30 | 4 | 5 | 2
Sal | 33 | 40 | 7 | 5 | 2 |  | Sal | 33 | 40 | 7 | 5 | 2
density | 1010 | 1050 | 4 | 5 | 2 |  | density | 1010 | 1050 | 4 | 5 | 2
Fluor V0 | 0 | 1 | 5 | 4 | 2 |  | Fluor V0 | 0 | 1 | 5 | 4 | 2
xmiss | 75 | 100 | 5 | 5 | 2 |  | xmiss | 75 | 100 | 5 | 5 | 2
CDOM | 0 | 10 | 5 | 4 | 2 |  | CDOM | 0 | 10 | 5 | 4 | 2
BB V1 | 0 | 1 | 5 | 4 | 2 |  | BB V1 | 0 | 1 | 5 | 4 | 2
Oxy | 0 | 20 | 5 | 4 | 2 |  | Oxy | 0 | 20 | 5 | 4 | 2
T diff | -0.05 | 0.05 | 10 | 5 | 3 | changed | T diff | -0.01 | 0.01 | 10 | 4 | 3
C diff | -0.05 | 0.05 | 10 | 5 | 3 | changed | C diff | -0.01 | 0.01 | 10 | 4 | 3
UVP V6 | 0 | 5 | 5 | 5 | 3 |  | UVP V6 | 0 | 5 | 5 | 5 | 3
isus V7 | 0 | 1 | 5 | 4 | 2 |  | isus V7 | 0 | 1 | 5 | 4 | 2
nitrate | -1 | 1 | 5 | 5 | 3 |  | nitrate | -1 | 1 | 5 | 5 | 3
small CTD
[6 empty] | changed | Fluor ug/l | 0 | 1 | 5 | 4 | 2

## Cals
[8 empty] | 2009-10-14 |  | 15-Nov-09
|  | CAL SHEET | SETTINGS: | ASV = 1 |  | ASV = 4 |  | Seasave |  | Seasave |  | Comments
|  |  |  | Dark | SF | Dark | SF | Vblank | SF | Vblank | SF
FLRTD | 1536 | Fluorometer | Rosette | 0.055 | 6 | 0.011 | 25 | 0.055 | 6 | 0.051317 | 6 | Darks changed - see: Rosette_Wetlabs_Deck_Cals_091115.xls
FLCDRTD | 1539 | CDOM | Rosette | 0.037 | 25 | 0.017 | 101 | 0.037 | 25 | 0.063284 | 25 | Darks changed - see: Rosette_Wetlabs_Deck_Cals_091115.xls
FLRTD | 1537 | Fluorometer | Small CTD | 0.056 | 6 | 0.01 | 25 | 0.056 | 6 | 0.052551 | 6 | Dark changed - see: SmallCTD_FL_Cals_091111.xls
[8 empty] | Seasave |  | Seasave
|  |  |  | dark | SF |  |  | a0 | a1 | a0 | a1
BBRTD | 501b | Backscatter | Rosette | 0.089 | 0.009476 |  |  | -0.00084336 | 0.009476 | 0.00046565 | 0.009476 | Darks changed - see: Rosette_Wetlabs_Deck_Cals_091115.xls
New BB offset = 0.049142760266236
|  |  |  | Vd | Vref | Vair |  | M | B | M | B
CStar | 1269 | Transmissometer |  | 0.059 | 4.735 | 4.83 |  | 21 | -1.2618 | 21.3739 | -1.2062 | recalculated on CStarWKS.xls from WetLabs
BBFL2 | 670 | ECO triplet | (pump)