## DryLabLog
DATE | Jday | TIME | ACS | TSG | FRRF | Sent | Clean | Clean | FW | Back | COMMENTS (Saturday/Sunday in grey)
|  | UTC |  |  |  | TSG | FRRF | ACS | Flush | Up
2009-10-15 |  | 14:00 | OFF | OFF | OFF |  |  |  | Y
TIME: 15:00 | ARRIVE BIZERTE
2009-10-16
2009-10-17
2009-10-18 |  | 11:00 | [5 empty] | Y
DATE: 2009-10-19; Jday: 291; TIME: 8:00 | DEPART BIZERTE
|  | 10:00 | ON | ON | ON
DATE: 2009-10-20; Jday: 292; TIME: 8:00; Sent: Y; Clean: Y | Forgot to put slide to 2 (FRRF) until 11:30
2009-10-21 | 293 | 7:00 | OFF | OFF | OFF |  |  |  | Y |  | ARRIVE NAPLES
2009-10-22
2009-10-23
2009-10-24 | 294 | 3:50 |  |  |  |  | Y
|  | 6:45 | [7 empty] | Y
|  | 17:15 | [5 empty] | Y
DATE: 2009-10-25; Jday: 297; TIME: 2:45 | DEPART NAPLES
|  | 3:10 | ON | ON | ON
TIME: 14:25 | NMEA on TSG NOT CHANGING. Tried restarting, but still not working
We are on Station, no time to fix
TIME: 17:36 | TSG NMEA good again
DATE: 2009-10-26; Jday: 298; TIME: 7:45; Sent: Y | TSG NMEA stuck again from 01:30. Restarted
TSG NMEA stuck again from 11:00 - 17:00. Restarted
TIME: 13:00 | Found power off in Dry Lab: new batteries installed and on since 23:00
TIME: 16:24 | TSG NMEA stuck again. No luck restarting.
TIME: 17:14; ACS: OFF; TSG: OFF; FRRF: OFF; FW: Y | ARRIVE at Anchorage
2009-10-27 | 299 | 5:20 | ON | ON | ON | Y |  |  |  |  | DEPART Anchorage
TIME: 7:39 | TSG NMEA stuck again. On station, no time to fix
Tried several times to restart thru the day, no luck
DATE: 2009-10-28; Jday: 300; TIME: 3:15 | Started again
TIME: 7:15; ACS: OFF; TSG: OFF; FRRF: OFF | No water to FRRF. Lots of air in system. Stopped Pump
TIME: 10:22; ACS: ON; TSG: ON; FRRF: ON | Start pump. No water to FRRF. On station, no time to fix
TIME: 12:00 | NMEA stopped
TIME: 17:44; ACS: OFF; TSG: OFF; FRRF: OFF; FW: Y | ARRIVE at Anchorage
DATE: 2009-10-29; Jday: 301; TIME: 9:30; Sent: Y | ARRIVE LA VALETTA
TIME: 11:30; Clean: Y; Clean: Y; FW: Y | New 0.2 um Filter
TIME: 14:20 | NMEA test: direct connection to deck unit. No errors over 8 hours
2009-10-30
DATE: 2009-10-31; Jday: 303 | NMEA test: connect to splitter. ~ 7 errors over 10 hours (additional chars)
2009-11-01
2009-11-02
2009-11-03
DATE: 2009-11-04; Jday: 307; TIME: 6:00 | DEPART LA VALETTA
TIME: 6:20; ACS: ON; TSG: ON; FRRF: ON | Total Flow = 4.600 l/m Filtered Flow = 4.000 l/m
TIME: 8:00 | Sorted flow to FRRF. OK now.
DATE: 2009-11-05; Jday: 308; TIME: 7:10; Sent: Y | Sent TSG day 307
TIME: 11:45; ACS: OFF; TSG: OFF; FRRF: OFF | ARRIVE TRIPOLI
TIME: 12:50; Sent: Y; Clean: Y; FW: Y | Sent TSG day 308
|  | 14:00 | [5 empty] | Y
2009-11-06
2009-11-07
DATE: 2009-11-08; Jday: 311; TIME: 8:00; Back: Y | onto USB EGO's
TIME: 8:35 | Installed new Valve Control beta 3. Now remembers previous settings
2009-11-09
2009-11-10
DATE: 2009-11-11; Jday: 314; TIME: 7:00 | DEPART TRIPOLI
TIME: 7:40; ACS: ON; TSG: ON; FRRF: ON | NO NMEA, tried all day to fix
DATE: 2009-11-12; Jday: 315; TIME: 5:43; Clean: Y | ON but NO NMEA
2009-11-13 | 316 | 8:00 | OFF | OFF | OFF |  |  |  | Y |  | ARRIVE LA VALETTA
TIME: 3:30 | DEPART LA VALETTA
DATE: 2009-11-14; Jday: 317; TIME: 4:45; ACS: ON; TSG: ON; FRRF: ON | ACS - no continuous, schedule only TSG using Tara_No_NMEA.con
TIME: 5:00 | NMEA data logged onto Library Dell Laptop
TIME: 5:20; Clean: Y | Blockage in FRRF, now working
TIME: 8:45 | TSG back on, took serial cable for testing
DATE: 2009-11-15; Jday: 318; TIME: 11:00; Clean: Y | NB GPS DATA is being saved in FRRF *.res files!!!!
DATE: 2009-11-16; Jday: 319; TIME: 5:50 | Power outage. Restarted immediatley
TIME: 11:20 | Power outage. Restarted immediatley
TIME: 12:11 | Found FRRF failed. Outage?
2009-11-17 | 320 | 18:45 |  |  |  |  | Y
DATE: 2009-11-18; Jday: 321; TIME: 11:00 | Power Outage, reset at 11:40
|  | 21:50 |  |  |  |  | Y
2009-11-19 | 322 | 8:10 | OFF | OFF | OFF |  | Y | Y | Y | Y | Switched out ACS but connectors different.
TIME: 9:00 | ARRIVE DUBROVNIK
TIME: 18:00 | NMEA works! Wired direct to PC com, bypass switch, using yellow + blue
2009-11-20
2009-11-21
DATE: 2009-11-22; Jday: 325; TIME: 7:30 | DEPART DUBROVNIK
TIME: 8:40; ACS: OFF; TSG: ON; FRRF: ON | Flow low: filt = 2.7 total = 4.8, keeping valve on
TIME: 15:55 | GPS alarm won't turn OFF.
TIME: 17:00 | Now using UPPER GPS
DATE: 2009-11-23; Jday: 326; TIME: 6:45 | TSG file 08:40 - 20:04 before stopping
|  | 6:50 |  |  |  | Y | Y
TIME: 17:03 | No NMEA change in data since 09:00. Saving without NMEA.
DATE: 2009-11-24; Jday: 327; TIME: 6:40; Sent: Y | TSG data file only 03:00 to 09:00
|  | 18:15 |  |  |  |  | Y
DATE: 2009-11-25; Jday: 328; TIME: 8:30 | Found all off - Power outage; Restarted
|  | 15:00 | OFF | OFF | OFF |  | Y |  | Y | Y | AT ANCHOR
2009-11-26 | 329
2009-11-27 | 330 | 9:02 |  |  |  |  | Y
TIME: 10:00; Clean: Y; FW: Y | New 0.2 um Filter
DATE: 2009-11-28; Jday: 331; TIME: 9:00 | DEPART ATHENES
|  | 10:00 | ON | ON | ON |  | Y
TIME: 13:40; FRRF: ON | FRRF water stopped moving in tube. Stopped acquisition, cleanned tubes and restart acquisition
DATE: 2009-11-29; Jday: 332; TIME: 7:30; Clean: Y | restart TSG to change vizualisation settings
DATE: 2009-11-30; Jday: 333; TIME: 7:00 | No data from ACS since 16-Nov,restated acqiusition software
01-dec-09 | 334 | 8:00 |  |  |  |  | Y
DATE: 01-dec-09; TIME: 8:40 | Water is not flowing in FRRF constantly. Bubbles in CTD as well
DATE: 01-dec-09; TIME: 18:40; ACS: OFF; TSG: OFF; FRRF: OFF | ARRIVE LIMASSOL
02-dec-09 | 335 | 22:00 | ON | ON | ON |  | Y |  |  |  | DEPART LIMASSOL
DATE: 03-dec-09; Jday: 336; TIME: 13:24; Clean: Y | FRRF motor going in wrong direction (since yesterday?)
04-dec-09 | 337 | [5 empty] | Y
05-dec-09 | 338 | [5 empty] | Y
06-dec-09 | 339 | 8:00 | OFF | OFF | OFF |  | Y | Y | Y |  | ARRIVE LIMASSOL
[7 empty] | Y | N | ?
[7 empty] | Y | N | ?
Clean: Y; Clean: N; FW: ? | No report from scientists onboard
[7 empty] | Y | N | ?
[7 empty] | Y | N | ?
14-dec-09 |  | 10:35 | ON | ON | ON |  | Y | N | ? |  | DEPART BEYRUTH
17-dec-09 |  | 10:00 | OFF | OFF | OFF |  | Y | Y | Y |  | ARRIVEE PORT SAID
Suez Transit, All OFF
7th Jan | [9 empty] | Y
DATE: 8th Jan; TIME: 5:35 | Tested after layoff. All good EXCEPT ACS Laptop giving FAN ERROR
TIME: 14:30 | DEPART SHARM EL SHEIK
TIME: 15:50; ACS: ON; TSG: ON; FRRF: ON | All on and running
DATE: 9th Jan; TIME: 4:50 | All good
|  | 6:10 |  |  |  |  | Y
TIME: 17:58; Clean: Y | Found slide on 3... UG
10th Jan |  | 7:00 |  |  |  |  | Y
|  | 17:00 |  |  |  |  | Y
DATE: 2010-01-11; TIME: 4:50; Clean: Y | All good!
TIME: 22:19 | Found TSG bombed out, restarted file as 2010_01_11_a
DATE: 2010-01-12; TIME: 4:30; ACS: OFF; TSG: OFF; FRRF: OFF | Power OFF to Dry Lab
TIME: 8:36; ACS: ON; TSG: ON; FRRF: ON; Clean: Y | Power ON. ACS filtered flow = 2.7, Total = 4.8
2010-01-13 |  | 6:10 |  |  |  |  | Y
|  | 18:40 |  |  |  |  | Y
TIME: 19:20 | SeaFlow ON
2010-01-14 |  | 6:20 | OFF | OFF | OFF |  |  |  | Y
TIME: 7:30 | ARRIVE JEDDAH
|  | 9:30 | [5 empty] | Y |  | Y
DATE: 2010-01-15; TIME: 8:00; Clean: Y; FW: Y | New 0.2 um Filter
2010-01-16
2010-01-17
DATE: 2010-01-18; TIME: 7:20 | DEPART JEDDAH
TIME: 7:40; ACS: ON; TSG: ON; FRRF: ON; Clean: Y | All on All OK! SeaFlow ON, waiting for internet
|  | ~? |  |  |  |  | Y
DATE: 2010-01-19; TIME: 4:00 | All OK
TIME: 4:06; Clean: Y | Found TSG timed out + FRRF errors. 2 Power outages in 5 minutes
TIME: 4:30 | TSG timed out again. Files *_19_b.hex
|  | 16:00 |  |  |  |  | Y
DATE: 2010-01-20; TIME: 3:15; Clean: Y | All good
TIME: 3:50 | Found power off, restarted TSG + FRRF
DATE: 2010-01-21; TIME: 4:50; Clean: Y | Found power off, restarted TSG + FRRF
TIME: 8:23 | Found power off, restarted TSG + FRRF
|  | 16:55 |  |  |  |  | Y
DATE: 2010-01-22; TIME: 3:30 | Found power off, restarted TSG + FRRF
TIME: 3:50; Clean: Y | All restarted
TIME: 15:57; Clean: Y | Found FRRF not reponding. Cleaned + restarted
DATE: 2010-01-23; TIME: 4:05; Clean: Y | TSG file restarted. No power cut!
|  | 16:38 |  |  |  |  | Y
DATE: 2010-01-24; TIME: 10:55; ACS: OFF; TSG: OFF; FRRF: OFF | FRRF unresponsive.
TIME: 11:00 | ARRIVE DJIBOUTI
TIME: 11:30; Clean: Y; Clean: Y; FW: Y; Back: Y | ACS cleaned and packed for return for calibration.
DATE: 2010-03-02 | Depart Abu Dhabi
Replace ACS filter
DATE: 2010-03-02; TIME: 6:00; ACS: ON; TSG: ON; FRRF: ON; Clean: Y | Many power drops => many TSG files
DATE: 2010-03-03; TIME: 0:00; Sent: Y; Clean: Y | Many power drops => many TSG files
DATE: 2010-03-04; TIME: 0:00; Sent: Y; Clean: Y | Many power drops => many TSG files Installed backup drive and syncback.exe
2010-03-05 |  | 4:20 | OFF | OFF | OFF | Y | Y | Y | Y | Y | Found TSG software in default
DATE: 2010-03-05 | Arrivée Masqat
Vane 19 added on ACS intake
2010-03-09 |  | 15:40 | ON | ON | ON | Y | Y |  |  | Y | Depart Masqat
DATE: 2010-03-10; Sent: Y; Clean: Y; Back: Y | Many TSG restart
DATE: 2010-03-11; Sent: Y; Clean: Y; Back: Y | Many TSG restart
DATE: 2010-03-12; Sent: Y; Clean: Y; Back: Y | Many TSG restart
DATE: 2010-03-13; Sent: Y; Clean: Y; Back: Y | Many TSG restart
DATE: 2010-03-14; Sent: Y; Clean: Y; Clean: Y; Back: Y | Replace ACS filter
2010-03-15 | [5 empty] | Y | Y |  |  | Y
2010-03-16 | [5 empty] | Y | Y |  |  | Y
DATE: 2010-03-17; Sent: Y; Clean: Y; Back: Y | Clean TSG, rince ACS with fresh water
2010-03-18 | [5 empty] | Y | Y |  |  | Y
2010-03-19 | [5 empty] | Y | Y |  |  | Y
DATE: 2010-03-20; Sent: Y; Clean: Y; Back: Y | Flow not started on ACS PC
2010-03-21 | [5 empty] | Y | Y |  |  | Y
2010-03-22 | [5 empty] | Y | Y |  |  | Y
DATE: 2010-03-23; TIME: 5:00; Sent: Y; Clean: Y; Back: Y | FRRF found on position 3
|  |  | OFF | OFF | OFF | Y | Y | Y | Y | Y | Deep cleaning of TSG
Arrivée Mumbay
2010-03-28 |  | 2:00 | ON | ON | ON | Y | Y |  |  | Y | Depart Mumbay
2010-03-29 | [5 empty] | Y | Y |  |  | Y
DATE: 2010-03-30; Sent: Y; Clean: Y; Back: Y | FRRF air intake problem solved !
DATE: 2010-03-31; Sent: Y; Clean: Y; Back: Y | TSG acquisition using SEATERM (capture)
2010-04-01 | [5 empty] | Y | Y |  |  | Y
DATE: 2010-04-02; TIME: 6:00; Sent: Y; Clean: Y; Back: Y | FRRF found on position 3, most TSG data lost
2010-04-03 | [5 empty] | Y | Y |  |  | Y
2010-04-04 | [5 empty] | Y | Y |  |  | Y
2010-04-05 |  |  | OFF | OFF | OFF | Y | Y | Y | Y | Y | Arrivée Male
DATE: 2010-04-10; Jday: 99; TIME: 4:00 | Depart Male
TIME: 4:50; ACS: ON; TSG: ON; FRRF: ON | All on + OK
TIME: 5:00 | FRRF OK
TIME: 6:45 | Power Outage
TIME: 7:00 | Power ON
TIME: 15:30; Clean: Y; Back: Y | Found TSG NMEA stuck
DATE: 2010-04-11; Jday: 100; TIME: 1:13 | All OK!
TIME: 6:08 | Found FRRF failed, restarted
TIME: 14:19 | TSG - no NMEA, recycled interface box
TIME: 19:00; Clean: Y; Back: Y | Found FFRF slide on "3" / ACS frozen screen
2010-04-12 | 101 | 3:47 |  |  |  |  | Y
TIME: 3:53 | TSG new file tsg_2010_04_12_a
TIME: 13:00; Back: Y | TSG - found time stamp stuck on 04:12:31
|  | 13:15 |  |  |  |  | Y
DATE: 2010-04-13; Jday: 102; TIME: 1:42; Clean: Y | ACS - device time out error, last file at 01:39 so OK
TIME: 4:43 | Testing TSG / GPS
TIME: 13:43 | ACS - device time out error
TIME: 13:53; Clean: Y | TSG - start data saving in Seasave file
TIME: 14:04; Clean: Y; Back: Y | ACS - 3x time out errors in 10 minutes!
TIME: 18:34 | Found FRRF flow in wrong direction
DATE: 2010-04-14; Jday: 103; TIME: 2:51 | ACS - timed out / TSG - NO conductivity data
TIME: 3:56 | ACS timed out
TIME: 4:43 | ACS timed out. Restarted laptop also
TIME: 6:47; ACS: OFF; TSG: OFF; FRRF: OFF | AT ANCHOR GAN ISLAND. Work on generators needed
DATE: 2010-04-15; Jday: 104; TIME: 15:02; ACS: ON; TSG: ON; FRRF: ON | UP ANCHOR.
TIME: 15:56; Clean: Y | *Flow Low* Flitered: 2.2 l/m Total: 2.7
DATE: 2010-04-16; Jday: 105; TIME: 0:34 | ACS timed out 6 hrs lost, on top of 12 already lost. FLOW STILL LOW
TIME: 1:47 | ACS timed out
TIME: 1:58; ACS: OFF; TSG: OFF; FRRF: OFF; FW: Y | Low Flow not good for pump + generator problems = No Underway
TIME: 15:05; FRRF: ON | Still trying to find Obstruction in flow. FRRF restarted
DATE: 2010-04-17; Jday: 106; TIME: 4:02; FRRF: OFF | Working on Flow Problem
TIME: 6:03; ACS: ON; TSG: ON; FRRF: ON | FOUND FLOW OBSTRUCTION: shells in hose just by SBE45, slight discontinuity.
Might be due to dislodged filter basket in mud box???
All instruments ON. Filtered = 4.6 l/m, TOTAL = 5.2 l/m
TIME: 10:54 | ACS Timed out
TIME: 12:03 | ACS Timed out
TIME: 14:40 | ACS Timed out
TIME: 15:34 | ACS Timed out
TIME: 15:35; Clean: Y; Back: Y | Single spike in attenuation ~550um
TIME: 17:23 | FRRF turned to "2"
TIME: 17:43 | Took out ACS USB hub, Valve control + Compass now on COM5 + COM1
DATE: 2010-04-18; Jday: 107; TIME: 0:50 | ACS Timed out
TIME: 4:22 | ACS Timed out
|  | 14:41 |  |  |  |  | Y |  |  | Y
TIME: 17:02 | ACS Timed out
TIME: 20:28 | POWER OUTAGE: Change over Gen set, restart FRRF + TSG
DATE: 2010-04-19; Jday: 108; TIME: 0:15 | POWER OUTAGE: Change over Gen set, restart FRRF + TSG
TIME: 3:20 | POWER OUTAGE: Change over Gen set, restart FRRF + TSG
TIME: 3:43 | Low Disk Space: backed up + checked on backup drive PLUS onto EGO before deleting
TIME: 4:08 | ACS timed out
TIME: 7:45 | POWER OUTAGE: Change over Gen set, restart FRRF
|  | 15:25 |  |  |  |  | Y |  |  | Y
DATE: 2010-04-20; Jday: 109; TIME: 4:33; Clean: Y | All OK!
TIME: 12:04 | TSG GPS testing back on at 12:13
|  | 15:35 |  |  |  |  | Y |  |  | Y
DATE: 2010-04-21; Jday: 110; TIME: 7:21 | TSG GPS testing
TIME: 7:37 | ACS went wild, restarted laptop
TIME: 8:05 | backup started to TaraNAS, TSG + then ACS off
TIME: 11:08 | ACS back on
|  | 16:14 |  |  |  |  | Y |  |  | Y
DATE: 2010-04-22; Jday: 111; TIME: 4:55 | ACS timed out
|  | 6:19 |  |  |  |  | Y
TIME: 7:56 | Found ACS screen blank, dont know why, but programs still running
TIME: 10:18 | ACS timed out
TIME: 11:02 | Found ACS screen blank, dont know why, but programs still running
TIME: 13:05 | ACS timed out
TIME: 13:54 | ACS timed out
|  | 15:40 |  |  |  |  | Y |  |  | Y
TIME: 16:32 | ACS timed out
DATE: 2010-04-23; Jday: 112; TIME: 4:32 | ACS timed out
|  | 5:30 | OFF | OFF | OFF |  | Y |  | Y | Y | Noticed GPS wire to FRRF fallen out. No GPS since day 106. Bugger.
ARRIVE Anchorage St. Brandon
DATE: 2010-05-08; Jday: 126 | DEPART MAURITIUS
TIME: 6:30; ACS: ON; TSG: ON; FRRF: ON | Lots of bubbles on start up. All FRRF tubing very Black!
TIME: 6:48; Clean: Y | replaced tubing running into cuvette of FRRF
TIME: 7:43 | ACS screen OFF, continuous problem all day. Will not come on without restarting laptop.
TIME: 15:12 | Generator change over, restart FRRF
|  | 17:32 |  |  |  |  | Y |  |  | Y
ACS screen savers on "never", but keeps blacking out. Heat?? Continues to work though if left
Found a way to restart: Fn+F4 (sleep), then power on will restart screen
DATE: 2010-05-09; Jday: 127; TIME: 2:47 | All OK
|  | 15:54 |  |  |  |  | Y |  |  | Y
TIME: 16:14 | Generator change over, restart FRRF
DATE: 2010-05-10; Jday: 128; TIME: 6:17 | ACS timed out, not much lost. Spike in attenuation at 560nm on restart
TIME: 8:54 | Found FRRF bombed out
|  | 13:54 |  |  |  |  | Y |  |  | Y
TIME: 14:17 | Power outage, restarted FRRF
DATE: 2010-05-11; Jday: 129; TIME: 2:08 | All OK
TIME: 14:41 | Generator change over, restart FRRF
2010-05-12 | 130 | 5:39 | OFF | OFF | OFF |  | Y | Y | Y | Y
ARRIVE Reunion
DATE: 2010-05-15; Jday: 133; TIME: 13:30 | DEPART Reunion
TIME: 14:18; ACS: ON; TSG: ON; FRRF: ON; Clean: Y | Sasha Tozzi here, replaced FRRF, new tubing….
TIME: 15:30 | Power outage
TIME: 15:42 | Restart all. ACS big spike attenuation ~570nm
TIME: 16:36 | Found ACS Timed Out, restarted with no spike
TIME: 18:23 | Genrator changed, FRRF restart
2010-05-16 | 134 | 14:25 |  |  |  |  | Y |  |  | Y
TIME: 14:47 | Power outage, restart TSG + FRRF
TIME: 15:19 | Found FRRF failed, restarted
DATE: 2010-05-17; Jday: 135; TIME: 1:40; Clean: Y | All good. Couldn't wake ACS had to restart laptop
TIME: 2:45 | Power outage, all restarted
TIME: 2:55 | Power outage, ACS restarted (with Spike at ~570nm)
TIME: 19:42 | Power outage, all restarted. ACS not logging since 17:56
TIME: 19:52 | Power outage, all restarted. ACS no spike
DATE: 2010-05-18; Jday: 136; TIME: 3:36; Clean: Y | All OK
TIME: 6:55; Back: Y | Founs ACS laptop off. Restarted ACS
TIME: 14:46 | Generator change, FRRF restart
TIME: 14:59; ACS: OFF | Collars not seated well on ACS… has been leaking into bilge. Turned off ACS
TIME: 15:11; ACS: ON | ACS on
DATE: 2010-05-19; Jday: 137; TIME: 2:10; Clean: Y | All OK exccept FRRF zero point error
TIME: 8:19 | Power outage ~20 mins ago
TIME: 8:54; Back: Y | Power outage. TSG restart
TIME: 14:26 | FRRF float pt 0 zero. ACS timed out.
DATE: 2010-05-20; Jday: 138; TIME: 3:39; Clean: Y | All OK
|  | 5:23 | [7 empty] | Y
TIME: 7:37 | Power outage, restart
TIME: 8:17; ACS: OFF; TSG: OFF; FRRF: OFF; FW: Y; Back: Y | ARRIVE Diego Suarez
2010-05-23 | 141 | 11:35 | ON | ON | ON |  | Y |  | Y |  | DEPART Diego Suarez
DATE: 2010-05-24; Jday: 142; TIME: 3:00; Clean: Y | All OK
TIME: 15:26 | B/U TSG + ACS
TIME: 16:22; Back: Y | Generator change restart TSG + FRRF
DATE: 2010-05-25; Jday: 143; TIME: 3:59; Clean: Y | ACS restarted
TIME: 10:01 | Total=4.4 Filtered=3.8, PUMP STOPPED on station while trying to clear blockage(?) Was HOT
Installed "spare pump" but is loud + very high flow (Total=5.7, Filtered=4.8). Installed valve to restrict flow…
TIME: 13:36 | Spare pump soon got hot HOT. (Turned out hot normal here in hot waters!)
TIME: 16:32 | FINALLY GOT PUMP WORKING AGAIN. Julien Engineer opened up old one + its working now… maybe cleared a blockage?
TIME: 18:00; Back: Y | Power outage + restart
DATE: 2010-05-26; Jday: 144; TIME: 3:30; Clean: Y | All OK! Flow back to normal!
TIME: 8:04; ACS: OFF; TSG: OFF; FRRF: OFF; Back: Y | ARRIVE ANCHORAGE Mayotte
DATE: 23-june_10; Clean: Y; Clean: Y; FW: Y | TSG cleaned
DATE: 24_june_10; Jday: 174; TIME: 12:00 | DEPARTURE MAYOTTE
DATE: 24_june_10; Jday: 174; TIME: 12:20; ACS: ON | new filter on ACS, total =5 filtered =4.8; new laptop
TIME: 12:40; TSG: ON | TSG with new GPS , yyyy corrupted in NMEA , but seasave OK on 1998;interface on 24VDC
TIME: 13:00; FRRF: ON | filter #2 ( value declared in protocol is : 1, wrong)
TIME: 14:00 | TSG :sesave buggs , many trials then capture with Seaterm
DATE: 25-june-10; Jday: 175; TIME: 5:28 | FRRF : filter #3 ( value declared in protocol is : 1, wrong), TSG ok on seaterm
TIME: 11:00; Clean: Y; Back: Y | FRRF : filter #1 ( value declared in protocol is : 1, correct)
DATE: 26-june-10; Jday: 176; TIME: 8:00; Sent: Y | sent 5mn reduced for JJ175 (incomplete :00 to 17 UTC)
TIME: 14:35; Clean: Y; Back: Y | Syncback installed onACS laptop
DATE: 27-june-10; Jday: 177; TIME: 8:00; Sent: Y | sent 5mn reduced for JJ176 (incomplete :05 to 24 UTC)
DATE: 28-june-10; Jday: 178; TIME: 7:00; Sent: Y; Clean: Y; Back: Y | Juan de Nova mooring, sent 5mn reduced for JJ177
DATE: 29-june-10; Jday: 179; TIME: 3:44; ACS: off; TSG: off; FRRF: off | stopped all instruments ,sea water pump failure ( brushes ), put spare pump, flow to zeros since midnight????
TIME: 4:55; ACS: on; TSG: on; FRRF: on | restarted all
|  | 8:00 |  |  |  |  | Y |  |  | Y
DATE: 30-june-10; Jday: 180; TIME: 8:00; Sent: Y; Clean: Y; Back: Y | sent 5mn reduced for JJ178, not 179 ( corrupted)
DATE: 2010-07-01; Jday: 181; TIME: 8:00; Sent: Y; Clean: Y; Back: Y | sent 5mn reduced for JJ179, and 180
DATE: 2010-07-02; Jday: 182; TIME: 21:41; Clean: Y; Back: Y | restarted FRRF
DATE: 2010-07-03; Jday: 183; TIME: 4:52 | restarted FRRF
|  | 7:00 | off | off | off /on |  | Y | Y | Y | Y | stopped ACS TSG FRRF for cleaning, changed acs FILTER ( moored at Europa)
DATE: 2010-07-04; Jday: 184; TIME: 11:00; ACS: on; TSG: on; FRRF: on | started TSG ACS for CTD cast at mooring , then out to sea
DATE: 5_jul-10; Jday: 185; TIME: 16:15; Sent: Y; Clean: Y; Back: Y | restarted FRRF,sent TSG 181/182
DATE: 2010-07-06; Jday: 186; TIME: 3:54 | restarted ACS
TIME: 6:00 | power outage , restarted FRRF
2010-07-07 | 187 | 7:00 |  |  |  | Y | Y |  |  | Y
DATE: 2010-07-08; Jday: 188; TIME: 5:00; TSG: off; FRRF: off | TSG (spare) pump failure during the night
TIME: 6:00; TSG: on; FRRF: on | old (repaired ) pump back in place :OK
|  | 8:50 |  |  |  | Y | Y |  |  | Y
TIME: 15:50 | Frrf Gps failure , reboot
2010-07-09 | 189 | 6:20 | [7 empty] | Y
DATE: 2010-07-10; Jday: 190; TIME: 7:20 | reboot ACS ( vane control problem),reboot FRRF (power outage)
|  | 08::00 |  |  |  | Y | Y |  |  | Y
DATE: 2010-07-11; Jday: 191; TIME: 8:37 | reboot ACS ( display locked)
|  | 11:00 |  |  |  | Y | Y |  |  | Y
TIME: 12:44 | reboot ACS ( display locked)
DATE: 2010-07-12; Jday: 192; TIME: 8:20; Back: Y |  | s
|  | 13:40 |  |  |  | Y | Y
DATE: 2010-07-13; Jday: 193; TIME: 00 ???; ACS: off; TSG: off | 24VDC power outage ( fuse 13/14 in EE01)
TIME: 5:00; ACS: on; TSG: on | restarted ACS+TSG, new TSG file (100713)
|  | 8:00 |  |  |  |  | Y |  |  | Y

## Jday
Date |  | jday
2010-01-01 | 40179 | 0
2010-01-02 | 40180 | 1
2010-01-03 | 40181 | 2
2010-01-04 | 40182 | 3
2010-01-05 | 40183 | 4
2010-01-06 | 40184 | 5
2010-01-07 | 40185 | 6
2010-01-08 | 40186 | 7
2010-01-09 | 40187 | 8
2010-01-10 | 40188 | 9
2010-01-11 | 40189 | 10
2010-01-12 | 40190 | 11
2010-01-13 | 40191 | 12
2010-01-14 | 40192 | 13
2010-01-15 | 40193 | 14
2010-01-16 | 40194 | 15
2010-01-17 | 40195 | 16
2010-01-18 | 40196 | 17
2010-01-19 | 40197 | 18
2010-01-20 | 40198 | 19
2010-01-21 | 40199 | 20
2010-01-22 | 40200 | 21
2010-01-23 | 40201 | 22
2010-01-24 | 40202 | 23
2010-01-25 | 40203 | 24
2010-01-26 | 40204 | 25
2010-01-27 | 40205 | 26
2010-01-28 | 40206 | 27
2010-01-29 | 40207 | 28
2010-01-30 | 40208 | 29
2010-01-31 | 40209 | 30
2010-02-01 | 40210 | 31
2010-02-02 | 40211 | 32
2010-02-03 | 40212 | 33
2010-02-04 | 40213 | 34
2010-02-05 | 40214 | 35
2010-02-06 | 40215 | 36
2010-02-07 | 40216 | 37
2010-02-08 | 40217 | 38
2010-02-09 | 40218 | 39
2010-02-10 | 40219 | 40
2010-02-11 | 40220 | 41
2010-02-12 | 40221 | 42
2010-02-13 | 40222 | 43
2010-02-14 | 40223 | 44
2010-02-15 | 40224 | 45
2010-02-16 | 40225 | 46
2010-02-17 | 40226 | 47
2010-02-18 | 40227 | 48
2010-02-19 | 40228 | 49
2010-02-20 | 40229 | 50
2010-02-21 | 40230 | 51
2010-02-22 | 40231 | 52
2010-02-23 | 40232 | 53
2010-02-24 | 40233 | 54
2010-02-25 | 40234 | 55
2010-02-26 | 40235 | 56
2010-02-27 | 40236 | 57
2010-02-28 | 40237 | 58
2010-03-01 | 40238 | 59
2010-03-02 | 40239 | 60
2010-03-03 | 40240 | 61
2010-03-04 | 40241 | 62
2010-03-05 | 40242 | 63
2010-03-06 | 40243 | 64
2010-03-07 | 40244 | 65
2010-03-08 | 40245 | 66
2010-03-09 | 40246 | 67
2010-03-10 | 40247 | 68
2010-03-11 | 40248 | 69
2010-03-12 | 40249 | 70
2010-03-13 | 40250 | 71
2010-03-14 | 40251 | 72
2010-03-15 | 40252 | 73
2010-03-16 | 40253 | 74
2010-03-17 | 40254 | 75
2010-03-18 | 40255 | 76
2010-03-19 | 40256 | 77
2010-03-20 | 40257 | 78
2010-03-21 | 40258 | 79
2010-03-22 | 40259 | 80
2010-03-23 | 40260 | 81
2010-03-24 | 40261 | 82
2010-03-25 | 40262 | 83
2010-03-26 | 40263 | 84
2010-03-27 | 40264 | 85
2010-03-28 | 40265 | 86
2010-03-29 | 40266 | 87
2010-03-30 | 40267 | 88
2010-03-31 | 40268 | 89
2010-04-01 | 40269 | 90
2010-04-02 | 40270 | 91
2010-04-03 | 40271 | 92
2010-04-04 | 40272 | 93
2010-04-05 | 40273 | 94
2010-04-06 | 40274 | 95
2010-04-07 | 40275 | 96
2010-04-08 | 40276 | 97
2010-04-09 | 40277 | 98
2010-04-10 | 40278 | 99
2010-04-11 | 40279 | 100
2010-04-12 | 40280 | 101
2010-04-13 | 40281 | 102
2010-04-14 | 40282 | 103
2010-04-15 | 40283 | 104
2010-04-16 | 40284 | 105
2010-04-17 | 40285 | 106
2010-04-18 | 40286 | 107
2010-04-19 | 40287 | 108
2010-04-20 | 40288 | 109
2010-04-21 | 40289 | 110
2010-04-22 | 40290 | 111
2010-04-23 | 40291 | 112
2010-04-24 | 40292 | 113
2010-04-25 | 40293 | 114
2010-04-26 | 40294 | 115
2010-04-27 | 40295 | 116
2010-04-28 | 40296 | 117
2010-04-29 | 40297 | 118
2010-04-30 | 40298 | 119
2010-05-01 | 40299 | 120
2010-05-02 | 40300 | 121
2010-05-03 | 40301 | 122
2010-05-04 | 40302 | 123
2010-05-05 | 40303 | 124
2010-05-06 | 40304 | 125
2010-05-07 | 40305 | 126
2010-05-08 | 40306 | 127
2010-05-09 | 40307 | 128
2010-05-10 | 40308 | 129
2010-05-11 | 40309 | 130
2010-05-12 | 40310 | 131
2010-05-13 | 40311 | 132
2010-05-14 | 40312 | 133
2010-05-15 | 40313 | 134
2010-05-16 | 40314 | 135
2010-05-17 | 40315 | 136
2010-05-18 | 40316 | 137
2010-05-19 | 40317 | 138
2010-05-20 | 40318 | 139
2010-05-21 | 40319 | 140
2010-05-22 | 40320 | 141
2010-05-23 | 40321 | 142
2010-05-24 | 40322 | 143
2010-05-25 | 40323 | 144
2010-05-26 | 40324 | 145
2010-05-27 | 40325 | 146
2010-05-28 | 40326 | 147
2010-05-29 | 40327 | 148
2010-05-30 | 40328 | 149
2010-05-31 | 40329 | 150
2010-06-01 | 40330 | 151
2010-06-02 | 40331 | 152
2010-06-03 | 40332 | 153
2010-06-04 | 40333 | 154
2010-06-05 | 40334 | 155
2010-06-06 | 40335 | 156
2010-06-07 | 40336 | 157
2010-06-08 | 40337 | 158
2010-06-09 | 40338 | 159
2010-06-10 | 40339 | 160
2010-06-11 | 40340 | 161
2010-06-12 | 40341 | 162
2010-06-13 | 40342 | 163
2010-06-14 | 40343 | 164
2010-06-15 | 40344 | 165
2010-06-16 | 40345 | 166
2010-06-17 | 40346 | 167
2010-06-18 | 40347 | 168
2010-06-19 | 40348 | 169
2010-06-20 | 40349 | 170
2010-06-21 | 40350 | 171
2010-06-22 | 40351 | 172
2010-06-23 | 40352 | 173
2010-06-24 | 40353 | 174
2010-06-25 | 40354 | 175
2010-06-26 | 40355 | 176
2010-06-27 | 40356 | 177
2010-06-28 | 40357 | 178
2010-06-29 | 40358 | 179
2010-06-30 | 40359 | 180
2010-07-01 | 40360 | 181
2010-07-02 | 40361 | 182
2010-07-03 | 40362 | 183
2010-07-04 | 40363 | 184
2010-07-05 | 40364 | 185
2010-07-06 | 40365 | 186
2010-07-07 | 40366 | 187
2010-07-08 | 40367 | 188
2010-07-09 | 40368 | 189
2010-07-10 | 40369 | 190
2010-07-11 | 40370 | 191
2010-07-12 | 40371 | 192
2010-07-13 | 40372 | 193
2010-07-14 | 40373 | 194
2010-07-15 | 40374 | 195
2010-07-16 | 40375 | 196
2010-07-17 | 40376 | 197
2010-07-18 | 40377 | 198
2010-07-19 | 40378 | 199
2010-07-20 | 40379 | 200
2010-07-21 | 40380 | 201
2010-07-22 | 40381 | 202
2010-07-23 | 40382 | 203
2010-07-24 | 40383 | 204
2010-07-25 | 40384 | 205
2010-07-26 | 40385 | 206
2010-07-27 | 40386 | 207
2010-07-28 | 40387 | 208
2010-07-29 | 40388 | 209
2010-07-30 | 40389 | 210
2010-07-31 | 40390 | 211
2010-08-01 | 40391 | 212
2010-08-02 | 40392 | 213
2010-08-03 | 40393 | 214
2010-08-04 | 40394 | 215
2010-08-05 | 40395 | 216
2010-08-06 | 40396 | 217
2010-08-07 | 40397 | 218
2010-08-08 | 40398 | 219
2010-08-09 | 40399 | 220
2010-08-10 | 40400 | 221
2010-08-11 | 40401 | 222
2010-08-12 | 40402 | 223
2010-08-13 | 40403 | 224
2010-08-14 | 40404 | 225
2010-08-15 | 40405 | 226
2010-08-16 | 40406 | 227
2010-08-17 | 40407 | 228
2010-08-18 | 40408 | 229
2010-08-19 | 40409 | 230
2010-08-20 | 40410 | 231
2010-08-21 | 40411 | 232
2010-08-22 | 40412 | 233
2010-08-23 | 40413 | 234
2010-08-24 | 40414 | 235
2010-08-25 | 40415 | 236
2010-08-26 | 40416 | 237
2010-08-27 | 40417 | 238
2010-08-28 | 40418 | 239
2010-08-29 | 40419 | 240
2010-08-30 | 40420 | 241
2010-08-31 | 40421 | 242
2010-09-01 | 40422 | 243
2010-09-02 | 40423 | 244
2010-09-03 | 40424 | 245
2010-09-04 | 40425 | 246
2010-09-05 | 40426 | 247
2010-09-06 | 40427 | 248
2010-09-07 | 40428 | 249
2010-09-08 | 40429 | 250
2010-09-09 | 40430 | 251
2010-09-10 | 40431 | 252
2010-09-11 | 40432 | 253
2010-09-12 | 40433 | 254
2010-09-13 | 40434 | 255
2010-09-14 | 40435 | 256
2010-09-15 | 40436 | 257
2010-09-16 | 40437 | 258
2010-09-17 | 40438 | 259
2010-09-18 | 40439 | 260
2010-09-19 | 40440 | 261
2010-09-20 | 40441 | 262
2010-09-21 | 40442 | 263
2010-09-22 | 40443 | 264
2010-09-23 | 40444 | 265
2010-09-24 | 40445 | 266
2010-09-25 | 40446 | 267
2010-09-26 | 40447 | 268
2010-09-27 | 40448 | 269
2010-09-28 | 40449 | 270
2010-09-29 | 40450 | 271
2010-09-30 | 40451 | 272
2010-10-01 | 40452 | 273
2010-10-02 | 40453 | 274
2010-10-03 | 40454 | 275
2010-10-04 | 40455 | 276
2010-10-05 | 40456 | 277
2010-10-06 | 40457 | 278
2010-10-07 | 40458 | 279
2010-10-08 | 40459 | 280
2010-10-09 | 40460 | 281
2010-10-10 | 40461 | 282
2010-10-11 | 40462 | 283
2010-10-12 | 40463 | 284
2010-10-13 | 40464 | 285
2010-10-14 | 40465 | 286
2010-10-15 | 40466 | 287
2010-10-16 | 40467 | 288