## Sheet1
Page _____ of _____
|  |  | Fluorometer: | 10AU | [6 empty] | Date Calibrated: | 2004-06-08
|  |  | Cruise/Experiment: |  | Scattering 2004
r= |  |  | 1.929 |  |  |  |  | Chlorophyll a (ug/L)=Fs(r/r-1)(Fo-Fa)*(VolE/VolF)/dil=3.21* (Fo-Fa)*(VolE/VolF)/dil
Fs= |  |  | 1.545 |  |  |  |  | Phaeophytin (ug/L)=Fs(r/r-1)(r*Fa-Fb)*(VolE/VolF)=3.21 X (r*Fa-Fb)*(VolE/VolF)/dil
|  |  |  | (Values to be Entered) | [6 empty] | (Calculated by Spreadsheet)
Sample | Sample | date | Vol. | Vol. Extr. | Dilution | Acetone |  |  | Fo | Fa | r |  | Chlorophyll a | Phaeophytin
vial | ID | processed | Filtered | in Acetone |  | Blank | Fo raw | Fa raw | (Fo-blank) | (Fa -Blank) | (Fo/Fa) | Fo - Fa | (ug/L) | (ug/L)
1A | [13 empty] | #DIV/0!
1B | T. Pseudonana - 100% | 2004-06-17 | 200 | 10 | 0.5 | 0 | 165 | 85.9 | 165 | 85.9 | 1.9208 | 79.1 | Blank 1 | 2004-06-10 | 200 | 10 | 1 | 0 | 0.036 | 0.028 | 0.036 | 0.028 | 1.2857 | 0.008 | 0.001284 | 0.0028909
1C | T. Pseudonana - 100% | 2004-06-17 | 200 | 10 | 0.5 | 0 | 170 | 86.9 | 170 | 86.9 | 1.9563 | 83.1 | Blank 2 | 2004-06-10 | 200 | 10 | 1 | 0 | 0.152 | 0.09 | 0.152 | 0.09 | 1.6889 | 0.062 | 0.009951 | 0.0034684
2A | T. Pseudonana - 100% | 2004-06-17 | 200 | 10 | 0.5 | 0 | 167 | 86.6 | 167 | 86.6 | 1.9284 | 80.4 | Blank 3 | 2004-06-10 | 200 | 10 | 1 | 0 | 0.057 | 0.048 | 0.057 | 0.048 | 1.1875 | 0.009 | 0.0014445 | 0.0057125
2B | T. Pseudonana - 80% | 2004-06-17 | 200 | 10 | 0.5 | 0 | 127 | 66.2 | 127 | 66.2 | 1.9184 | 60.8 | T.Pseudonana-15% | 2004-06-10 | 200 | 10 | 1 | 0 | 105 | 53.6 | 105 | 53.6 | 1.959 | 51.4 | 8.2497 | -0.2577
2C | T. Pseudonana - 80% | 2004-06-17 | 200 | 10 | 0.5 | 0 | 132 | 66.1 | 132 | 66.1 | 1.997 | 65.9 | T.Pseudonana-15% | 2004-06-10 | 200 | 10 | 1 | 0 | 112 | 57.5 | 112 | 57.5 | 1.9478 | 54.5 | 8.7472 | -0.17374
3A | T. Pseudonana - 80% | 2004-06-17 | 200 | 10 | 0.5 | 0 | 134 | 69 | 134 | 69 | 1.942 | 65 | T.Pseudonana-15% | 2004-06-10 | 200 | 10 | 1 | 0 | 115 | 59.1 | 115 | 59.1 | 1.9459 | 55.9 | 8.9719 | -0.15987
3B | T. Pseudonana - 60% | 2004-06-17 | 200 | 10 | 1 | 0 | 214 | 106 | 214 | 106 | 2.0189 | 108 | Synechoccocus-50% | 2004-06-10 | 200 | 10 | 1 | 0 | 25.3 | 13.2 | 25.3 | 13.2 | 1.9167 | 12.1 | 1.9421 | 0.026129
3C | T. Pseudonana - 60% | 2004-06-17 | 200 | 10 | 1 | 0 | 213 | 109 | 213 | 109 | 1.9541 | 104 | Synechoccocus-50% | 2004-06-10 | 200 | 10 | 1 | 0 | 27 | 14.2 | 27 | 14.2 | 1.9014 | 12.8 | 2.0544 | 0.062884
4A | T. Pseudonana - 60% | 2004-06-17 | 200 | 10 | 1 | 0 | 205 | 106 | 205 | 106 | 1.934 | 99 | Synechoccocus-50% | 2004-06-10 | 200 | 10 | 1 | 0 | 27.9 | 14.9 | 27.9 | 14.9 | 1.8725 | 13 | 2.0865 | 0.13516
4B | T. Pseudonana - 30% | 2004-06-17 | 200 | 10 | 1 | 0 | 145 | 74.7 | 145 | 74.7 | 1.9411 | 70.3 | Synechoccocus-100% | 2004-06-10 | 200 | 10 | 1 | 0 | 68.6 | 35.8 | 68.6 | 35.8 | 1.9162 | 32.8 | 5.2644 | 0.073541
4C | T. Pseudonana - 30% | 2004-06-17 | 200 | 10 | 1 | 0 | 157 | 79.2 | 157 | 79.2 | 1.9823 | 77.8 | Synechoccocus-100% | 2004-06-10 | 200 | 10 | 1 | 0 | 75.4 | 39.6 | 75.4 | 39.6 | 1.904 | 35.8 | 5.7459 | 0.15864
5A | T. Pseudonana - 30% | 2004-06-17 | 200 | 10 | 1 | 0 | 148 | 75.4 | 148 | 75.4 | 1.9629 | 72.6 | Synechoccocus-100% | 2004-06-10 | 200 | 10 | 1 | 0 | 60.4 | 31.5 | 60.4 | 31.5 | 1.9175 | 28.9 | 4.6384 | 0.058342
5B | Blank 1 | 2004-06-10 | 200 | 10 | 1 | 0 | 0.036 | 0.028 | 0.036 | 0.028 | 1.2857 | 0.008 | 0.001284 | 0.0028909
5C | Blank 2 | 2004-06-10 | 200 | 10 | 1 | 0 | 0.152 | 0.09 | 0.152 | 0.09 | 1.6889 | 0.062 | 0.009951 | 0.0034684
6A | Blank 3 | 2004-06-10 | 200 | 10 | 1 | 0 | 0.057 | 0.048 | 0.057 | 0.048 | 1.1875 | 0.009 | 0.0014445 | 0.0057125
6B | T.Pseudonana-15% | 2004-06-10 | 200 | 10 | 1 | 0 | 105 | 53.6 | 105 | 53.6 | 1.959 | 51.4 | 8.2497 | -0.2577
6C | T.Pseudonana-15% | 2004-06-10 | 200 | 10 | 1 | 0 | 112 | 57.5 | 112 | 57.5 | 1.9478 | 54.5 | 8.7472 | -0.17374
7A | T.Pseudonana-15% | 2004-06-10 | 200 | 10 | 1 | 0 | 115 | 59.1 | 115 | 59.1 | 1.9459 | 55.9 | 8.9719 | -0.15987
7B | Synechoccocus-50% | 2004-06-10 | 200 | 10 | 1 | 0 | 25.3 | 13.2 | 25.3 | 13.2 | 1.9167 | 12.1 | 1.9421 | 0.026129
7C | Synechoccocus-50% | 2004-06-10 | 200 | 10 | 1 | 0 | 27 | 14.2 | 27 | 14.2 | 1.9014 | 12.8 | 2.0544 | 0.062884
8A | Synechoccocus-50% | 2004-06-10 | 200 | 10 | 1 | 0 | 27.9 | 14.9 | 27.9 | 14.9 | 1.8725 | 13 | 2.0865 | 0.13516
8B | Synechoccocus-100% | 2004-06-10 | 200 | 10 | 1 | 0 | 68.6 | 35.8 | 68.6 | 35.8 | 1.9162 | 32.8 | 5.2644 | 0.073541
8C | Synechoccocus-100% | 2004-06-10 | 200 | 10 | 1 | 0 | 75.4 | 39.6 | 75.4 | 39.6 | 1.904 | 35.8 | 5.7459 | 0.15864
9A | Synechoccocus-100% | 2004-06-10 | 200 | 10 | 1 | 0 | 60.4 | 31.5 | 60.4 | 31.5 | 1.9175 | 28.9 | 4.6384 | 0.058342
9B
9C
10A
10B
10C